## Slide 1: GRWG Report and Briefing
Dohyeong Kim

## Slide 2: Overview
GRWG Chairing
Deliverables
GSICS product and re-analysis correction
Challenges
  References
  Expansion
  Consistency
GRWG Actions Review

## Slide 3: GRWG Chairing
GSICS Research Working Group
Chair: Dohyeong Kim
Vice-Chair: Tim Hewison
Vice-Chair: Scott Hu
UV Sub-Group
Chair: Rose Munro
IR Sub-Group
Chair: Tim Hewison
VIS/NIR Sub-Group
Chair: Dave Doelling
Microwave Sub-Group
Chair: Ralph Ferraro

## Slide 4: Definition of GSICS Deliverables
Standards, conventions,
GSICS Products for users of satellite data, including calibration corrections/coefficients
GSICS Algorithms, which describe inter-calibration processes, (described by ATBD)
GSICS Monitoring Reports, assessments
GSICS Reference datasets, including Solar spectrum, …
GSICS Tools for use by inter-calibration developers, (GIRO, SBAF, …)
GSICS recommended standards, conventions and guidelines,
GSICS User Services, information
Monitoring assessment reports
Intercalib. Algorithms
Pro- ducts corrections
Calibration references
Calibration datasets
Software and hardware tools

## Slide 5: Generation of GSICS Products
GSICS products
  GEO imagers
  LEO imagers
  Users selection of GSICS products
Re-Analysis Correction
13:00 | Tim Hewison | EUMETSAT | Developing GSICS products for GEO imagers | 7b
 | Fred Wu |  | – including diurnal cycles | 7bb
 | Dohyeong Kim |  | – accounting for seasonal variations | 7bc
 | All (incl Na Xu) | All | – Review Plans for GEO-LEO IR products | 7bd
 | All | All | – new algorithms | 
14:20 | CMA? |  | Developing GSICS products for LEO imagers | 7c
 | Aisheng Wu |  | – including VIIRS/MODIS | 
 |  |  | – extending coverage below 3.6µm | 
 | Tim + Igor |  | – including SLSTR | 
8:30 | Rob Roebeling/Tim Hewison | EUMETSAT | Ongoing need for Re-Analysis Corrections | 9aa
14:40 | Tim Hewison | EUMETSAT | Aid Users Selection of GSICS Products | 3ka

## Slide 6: Challenges - References
Multiple References
  Moving references
  Merging or Single
  Handling Transitions
  Traceability
  The Moon
  The Sun
15:30 | Tim Hewison |  | Reference Traceability and Uncertainty | 7d
 | Authors? |  | - Developing Report - review actions | 
 | Tony Reale |  | - Comparisons with GRUAN sondes | 
 | Dave Tobin? |  | - CrIS | 
 | Denis Jouglet? |  | - IASI | 
 | Tom Pagano (remote) | JPL | - AIRS Error Budget | 
16:30 | Chengli Qi | CMA | Strategy for hyperspectral GEO sounders | 7e
10:40 | S. Wagner/M. Takahashi | EUMETSAT/JMA | Moving toward inter-calibration using the Moon as a transfer | 8f
11:00 | Lin Chen | CMA | Prelimilary results of CMA ground-based Lunar observation | 8g
11:20 | LCWS organisers | GSICS | Workshop activities | 8h
16:00 | Kurt Thome | NASA | Debrief on IVOS discussion on Reference Solar Spectrum | 8r
16:20 | Bertrand Fougnie | CNES | Vicarious Calibration for Sentinel-3 & Blending methods | 8s
16:50 | All |  | Merging products DCC+Lunar | 8t

## Slide 7: Challenges - Expansion
References
  Sounders
  Hyperspectral
  High-Resolution
  CLARREO
New Instruments
Coordinate with CEOS
Interaction with ISCCP
9:30 | Constantine Lukashin | NASA LaRC | CLARREO Pathfinder inter-calibration in reflected solar: project status | 1d | 0:20
9:50 | Joe Taylor | CIMSS/SSEC | CLARREO IR Sensor, Calibration Accuracy and Traceability | 1e | 0:20
10:10 | Dave Tobin | CIMSS/SSEC | CLARREO IR Intercalibration | 1f | 0:20
10:50 | Tony Reale | NOAA | GRUAN and GSICS | 1g | 0:20
11:10 | Wes Berg | CSU | GPM(TBD) | 1h | 0:20
11:30 | Bob Holz | UW/SSEC | Intercal activities and products within the Atmospheres SIPs | 1i | 0:20
11:50 | Andy Heidinger | NOAA ASPB | Update on PATMOS-X products | 1j | 0:20
13:10 | Tim Hewison | EUMETSAT | Workshop on best practices on pre-flight and onboard calibration | 9g | 0:20
11:10 | Ken Knapp |  | Interaction with ISCCP | 9f | 1:00
13:10 | Fred Wu | NOAA | Advanced next generation GEO imagers | 3j
16:30 | Chengli Qi | CMA | Strategy for hyperspectral GEO sounders | 7e

## Slide 8: GRWG Coordination
GSICS Exec Panel
GSICS Coordination Center
GSICS Research Working Group
GSICS Data Working Group
UV Sub-Group
IR Sub-Group
WGCV IVOS
WGCV MWSG
GPM X-CAL
WGCV ACSG
VIS/NIR Sub-Group
Microwave Sub-Group

## Slide 9: Challenges - Consistency
Between Algorithms
  Merging Results
Traceability and Uncertainty
Formats
16:10 | Seb Wagner | EUMETSAT | Strategy for combining corrections for VIS/NIR+IR channels | 3m
16:40 | Tim Hewison | EUMETSAT | Use of NWP+RTM as inter-calibration tool – with MWSG | 3n
15:30 | Tim Hewison |  | Reference Traceability and Uncertainty
 | Authors? |  | - Developing Report - review actions
 | Tony Reale |  | - Comparisons with GRUAN sondes
 | Dave Tobin? |  | - CrIS
 | Tom Pagano (remote) | JPL | - AIRS Error Budget
16:50 | All |  | Merging products DCC+Lunar | 8t

## Slide 10: Linking the GEO ring
Comparing GEO-LEO and GEO-GEO Differences
To Validate Uncertainty estimates
Ensure consistency
Generate global L2 products
Ensure consistency

## Slide 11: GSICS Web Meetings 2016/17
2017-02-14 | GRWG | Reference solar spectrum
2017-01-19 | GRWG/GDWG | Planning Agenda for 2017 GRWG/GDWG annual meeting
2017-01-11 | GRWG MW Subroup | Microwave Sub-Group web meeting
2016-12-06 | GRWG VNIR Subgroup - S.Wagner | Planning 2017 Lunar Calibration Workshop
2016-12-01 | GRWG VIS/NIR+UV - D.Doelling | Reference solar spectrum to convert from radiance to reflectance + SBAF tool
2016-10-25 | GRWG MW Subgroup | Microwave Sub-Group web meeting
2016-09-08 | GRWG IR Subgroup | IR Reference Traceability Report - Define channel binning and spectral conversion methods
2016-08-30 | GRWG VNIR Subgroup | Lunar Calibration
2016-08-11 | Users | 2016 GSICS Users Workshop
2016-07-26 | GRWG MW Subgroup | Microwave Sub-Group web meeting
2016-07-05/06 | GRWG MW - Cheng-Zhi Zou | CEOS-GSICS Microwave Coordination Meeting
2016-06-21 | GRWG IR Subgroup | IR Reference Traceability Report - Agree structure, authors and templates
2016-04-21 | GRWG MW Subgroup | Microwave Sub-Group web meeting

## Slide 12: GRWG Actions

## Slide 13: Actions on GSICS from CGMS during 2016/17
GSICS members, GSICS EP | WGII/4 | A44.04 | GSICS to review the GDWG Terms of Reference and associated indicated levels of effort of the members | CLOSED (6d)
GRWG | WGII/4 | A44.05 | GRWG to discuss with ISCCP (SCOPE-CM Project 9) a detailed project proposal for the use of GSICS methodologies to produce a GSICS-compliant ISCCP dataset for evaluation | CLOSED (9f)
GSICS | WGII/4 | R44.02 | GSICS to report to SCOPE-CM projects on its plan to intercalibrate the geostationary ring using hyperspectral IR sounders as transfer function | Open
GSICS | WGII/4 | R44.03 | GSICS member agencies to identify roles and responsibilities and funding needs to support the geostationary ring GSICS corrections including the processing of retrospective data going back to NASA EOS AIRS (2002). | Open
CGMS agencies | WGII/4 | R44.04 | CGMS agencies should employ the GSICS Correction as part of their operational procedures | 
Actions
Recommendations

## Slide 14: Actions on GRWG Chair
Action Ref | Description | Assigned to | Due Date | State
GRWG_14.15 | GRWG Chair to investigate the possibility to form a sub-group to develop inter-calibration products based on double difference comparisons with model data (NWP/RAOB+RTM). | Tim Hewison | 01 May 2015 | CLOSE?
GRWG_14.38 | Tim Hewison to provide a one-page summary GEO/LEO IR products for QA4EO? best practices showcase. | Tim Hewison | 01 May 2015 | Late
GRWG_15.2 | GRWG Chair to add a meeting on NWP in the agenda of the next GSICS web meetings in 2015/2016 | Tim Hewison Dohyeong Kim | 29 Feb 2016 | Late
GRWG_15.56 | GRWG Chair to coordinate review by all GPRCs of requirements for inter-calibration references for GEO-LEO IR products. | Tim Hewison | 29 Feb 2016 | CLOSE?
EP_GRWG_16.08 | GRWG to review the calibration issues in the draft input to the WMO Vision of WIGOS space-based observing system in 2040 and report to the EP. | Tim Hewison Dohyeong Kim | 31 Oct 2015 | Closed (GSICS-EP-17)
EP_GRWG_16.09 | The GRWG Chair (or EP Chair ?) to invite the CEOS WGCV to work on a joint statement on procedures, best practices and calibration resources required to ensure consistency of data records through accurate and homogeneous calibration, as an input to the Architecture for Climate Monitoring from Space. | Tim Hewison Dohyeong Kim | 31 Jul 2015 | pending
EP_GRWG_16.10 | All satellite operators to evaluate their requirements for GSICS resources, products and services to serve the needs of their internal users (for NRT products or climate applications such as SCOPE-CM projects): identify application areas, draft requirement indicating the characteristics of the product needed, quality criteria and delivery mode | Tim Hewison Dohyeong Kim | 31 Jan 2016 | Can be closed (3ka)

## Slide 15: Actions on GRWG Chair
Action Ref | Description | Assigned to | Due Date | State
GSICS_15.1 G.2 A43.16 | GSICS to work with CEOS/WGCV to: Describe the processes to be followed to ensure consistent calibration meeting climate requirements Describe the required infrastructure (space-based and surface-based) supporting these processes Review the analysis of calibration-related tasks in the logical analysis of the Architecture (with a view to provide a joint input to the Architecture for Climate Monitoring from Space) and report to CGMS-44 | Tim Hewison, Ken Holmlund Dohyeong Kim | 29 Feb 2016 | pending
GSICS_15.2 WGII/3 A43.03 | GSICS to document and implement its approach to manage changes in reference instruments | Tim Hewison Dohyeong Kim | 29 Feb 2016 | Closed (CGMS-44)
GSICS_15.3 WGII/3 A43.01 | GSICS to establish the requirements for absolute lunar calibration and prepare a white paper describing the tentative way to meet those requirements in case they go beyond those lunar calibration capabilities. | Tim Hewison Dohyeong Kim | 29 Feb 2016 | Closed (CGMS-44)

## Slide 16: Actions on GRWG during 2016/17
Action Id | Summary | Lead | Due Date | Status
GWG.2016.2b.1 | GCC to set up GRWG/GDWG web meeting on instrument performance monitoring. | GCC | June 2017 | Closed
GRWG.2016.2d.1 | Tim & Dohyeong to review outstanding actions on Tim Hewison and decide which to transfer to GRWG Chair. | Dohyeong, Tim | June 2017 | Closed
GRWG.2016.2j.1 | Tim to share housekeeping link for IASI monitoring | EUM(Tim) | June 2017 | Closed
GRWG.2016.2k.1 | CMA to report at the 2017 annual meeting about the comparison in the RSB of the various instruments. | CMA | June 2017 | Pending
GWG.2016.2m.1 | GCC to contact IMD and coordinate interactions re: sharing and implementing GEO-LEO code. | GCC | June 2017 | Closed
GVNIR.2016.2n.1 | Dave to provide MODIS data to ISRO to perform inter-calibration using DCC. | NASA(Dave) | June 2017 | Pending
GWG.2016.2t.1 | GCC (Manik to coordinate) to develop a prototype template for product landing pages to be linked to the GSICS product catalog. | GCC(Manik) | June 2017 | Closed
GWG.2016.2u.1 | GCC to coordinate input from product creators/developers to identify the family of monitored and reference instruments their product is applicable to. | GCC | June 2017 | Closed
GIR.2016.3c.1 | Rob to consider including an analysis of GEO-ring bias monitoring statistics provided by ECMWF as part of IOGEO. | EUM(Rob) | June 2017 | Pending
GIR.2016.3c.2 | EUMETSAT to coordinate input for GEO-ring test dataset from all geostationary satellite operators | EUM(Rob) | 2016-09-01 | Pending
GIR.2016.3e.1 | Tim Hewison to consider revising terminology used in the current “Primary GSICS Corrections”, during demonstration phase. | EUM(Tim) | June 2017 | Closed
GIR.2016.3n.1 | Fred to report at next meeting on cooperation with KMA on black body calibration correction. | NOAA(Fred) | June 2017 | Pending

## Slide 17: Actions on GRWG during 2016/17
Action Id | Summary | Lead | Due Date | Status
GIR.2016.3o.1 | Arata to check how the cold end corrections are behaving using AIRS. | JMA(Arata) | June 2017 | Pending
GIR.2016.3o.2 | Arata to use the various regression methods for both radiance and brightness temperatures and process the corrections as derived from AIRS and report back. | JMA(Arata) | June 2017 | Pending
GIR.2016.3p.1 | Rose to communicate the constraints for Metop-A end-of-life activities. Can we accommodate additional manoeuvres? | EUM(Rose) | June 2017 | Closing
GIR.2016.3p.2 | CrIS team (POC: Likun) to work on the inter-comparison between CrIS and TANSO-FTS and report back to GRWG. | CrIS team(Likun) | June 2017 | Pending
GIR02016.3p.3 | EUM + CNES (POC: Denis Jouglet (CNES) and Dorothee Coppens (EUM)) to work on the inter-comparison between CrIS and TANSO-FTS. | EUM(Dorothee), CNES(Denis) | June 2017 | Pending
GIR.2016.3p.4 | JAXA to provide info about TANSO FTS sampling (POC: Kei Shiomi) | JAXA(Kei) | June 2017 | Pending
GIR.2016.3q.1 | Likun Wang to coordinate a team to continue to monitor CrIS, IASI and AIRS and report to GSICS. | NOAA(Likun) | June 2017 | Pending
GIR.2016.3r.1 | Manik to circulate draft manuscript on SRF retrieval method | NOAA(Manik) | June 2017 | Pending
GIR.2016.3s.1 | Dave Tobin to repeat inter-calibration uncertainty analysis for CLARREO PATHFINDER on ISS and report. | CLARREO group (Dave Tobin) | June 2017 | Closed
GRWG.2016.3s.2 | GRWG Chair to check the interest and availability of key representatives for a workshop on hyperspectral instruments as inter-calibration references. | GRWG Chair | June 2017 | Pending
GVNIR.2016.4a.1 | Aisheng and Tom to interact in order to investigate the discrepancy between the lunar calibration results and the Earth View results on both Terra and Aqua MODIS. | NASA(Aisheng), JAXA(Tom) | June 2017 | Pending
GVNIR.2016.4a.2 | Tom Stone to contact NASA (POC: Jim Butler) about the possibility of extending the USGS analysis of MODIS lunar observation data to study the divergence of sensor responses exhibited by lunar and solar diffuser/vicarious calibration techniques. | USGS(Tom) | June 2017 | Pending

## Slide 18: Actions on GRWG during 2016/17
Action Id | Summary | Lead | Due Date | Status
GVNIR.2016.4d.1 | GSICS/WMO to provide a support letter for the ARCSTONE mission. | GSICS/WMO | June 2017 | Pending
GVNIR.2016.4f.1 | Seb to verify that the policy reflects the needs of an Agency implementing a modification to the GIRO to ensure it is assessed against the benchmark. | EUM(Seb) | June 2017 | Closed
GVNIR.2016.4h.1 | Bertrand to investigate if this is possible for CNES to provide NOAA with Pleiades Moon data in order to support the characterization of uniform target sites. | CNES(Bertrand) | June 2017 | Pending
GVNIR.2016.4h.2 | NOAA and EUMETSAT to liaise for comparison with time series of MSG full disk Moon irradiance measurements over same time period. NOAA to report back in one year time. | NOAA, EUM | June 2017 | Pending
GVNIR.2016.4n.1 | Dave will work with KMA to implement the GSICS DCC process to promote KMA to demonstration product. | NASA(Dave) | June 2017 | Pending
GVNIR.2016.4o.1 | Dave to provide information on Aqua MODIS for GOES instruments. | NASA(Dave) | June 2017 | Pending
GVNIR.2016.4p.1 | Dave to coordinate the writing of a paper on the GSICS DCC GEO-LEO algorithm. | NASA(Dave) | June 2017 | Pending
GWG.2016.7b.1 | GCC to coordinate input from GPRCs to attempt to identify at least one user for NRT, RAC and climate applications and interact with users to establish draft user requirements. (note: this will provide input to Action EP_GRWG_16.10). | GCC | June 2017 | Closed
GIR.2016.7b.2 | Tim Hewison to resolve use of GSICS products for Meteosat IR with FIDUCEO. | EUM(Tim) | June 2017 | Closed
GVNIR.2016.7d.1 | NASA(Dave) to work with KMA for KMA to enter DCC demo-phase. | NASA(Dave) | June 2017 | Pending
GVNIR.2016.7d.2 | Dave to contact IVOS Chair and ACC to coordinate a recommended update to reference solar spectrum to convert from radiance to reflectance by setting up web meeting. | NASA(Dave) | June 2017 | Pending
GRWG.2016.7f.1 | Tim/Rob (EUM) to forward draft requirements for pre-launch characterisation to WMO | EUM(Tim/Rob) | June 2017 | Closed

## Slide 19: Actions on GRWG during 2016/17
Action Id | Summary | Lead | Due Date | Status
GVNIR.2016.7h.1 | Seb to provide supporting slides to Dave Doelling as chair of the VIR/NIR sub-group to be presented at the Users’ WS (upon availability of the feedback from Marine Application). | EUM(Seb) | June 2017 | Closed
GWG.2016.7h.2 | Larry to coordinate with the JPSS meeting organisers to organise a dedicated time-slot for the GSICS Users’ WS optimising attendance and promote through meeting agenda. | GCC(Larry) |  | Closed
GWG.2016.7h.3 | GCC to check the possibility to have remote access through WebEx | GCC |  | Closed
GVNIR.2016.7i.1 | Dave to contact Nigel about joint web meeting. | NASA(Dave) | June 2017 | Pending
GVNIR.2016.7i.2 | Seb to rescope the web meeting on lunar calibration. | EUM(Seb) | June 2017 | Closed
GIR.2016.7i.3 | Tim to contact Sasha regarding the opportunities using NWP bias monitoring statistics. | EUM(Tim) | June 2017 | Closed
GWG.2016.7i.4 | GCC to add a webex meeting for a user feedback (? probably not needed). Or organise one on changing reference and ensure traceability (to be organised by Dave) . | GCC | June 2017 | Pending
GVNIR.2016.7i.5 | Dave to provide EUMETSAT with VIIRS data to generate inter-calibration of all SEVIRI warm channels using the DCC method. | NASA(Dave) | June 2017 | Closed
GVNIR.2016.7i.6 | Dave to organise a web meeting about the publication on DCCs. | NASA(Dave) | June 2017 | Pending
GDWG.2016.7j.1 | Peter to set-up a template for the agency report, which would help focusing on GSICS activities. | EUM(Peter) | June 2017 | Closed
GWG.2016.7j.2 | GCC (Larry) to contact NIST to organise the next GRWG/GDWG annual meeting. | GCC(Larry) |  | Closed
GWG.2016.7j.3 | Dave to contact D. Tobin (CLARREO group) to check the possibility to organise the meeting in NOAA, Madison. | NASA(Dave) |  | Closed

## Slide 20
Thank you

## Slide 21: Other GRWG Actions Still Open
Action Ref | Description | Assigned to | Due Date | State
GRWG_14.1 | Bruce Wielicki (NASA) to investigate availability of lunar observation data from CLARREO demonstrator test flight and share these with CNES and USGS and notify CNES of future balloon flights so Pleiades observations can be synchronised. | Bruce Wielicki | 01 May 2015 | Closed – Not available
GRWG_14.4 | Bertrand Fougnie to provide smoothed DCC BRDFs derived from PARASOL observations. | Bertrand Fougnie | 01 May 2015 | Late
GRWG_14.7 | Fangfang Yu to propose what the variables should be in the NetCDF? file to provide information on the calibration diurnal v ariation, and report to GRWG. - Reassigned to ManikBali? in May 2014. | Manik Bali | 01 May 2015 | Late
GRWG_14.8 | CMA and JMA to present their analysis on GEO-GEO IR products at the next meeting. | Scott, Masaya | 01 May 2015 | Closed - - Presented in Delhi meeting
GRWG_14.9 | CMA to present plans for developing inter-calibration products for GEO hyperspectral IR sounder. | Scott | 01 May 2015 | Late
GRWG_14.14 | XingMing? Liang to report the requirement from GSICS to support MICROS. | Xing Ming Liang | 01 May 2015 | Late
GRWG_14.16 | CMA to provide ATBD for FY-3C IR product. | CMA | 01 May 2015 | Late

## Slide 22: Other GRWG Actions Still Open
Action Ref | Description | Assigned to | Due Date | State
GRWG_14.20 | KMA to send products to the EUMETSAT GSICS Data and Products server until the CMA collaboration server is available. | KMA | 01 May 2015 | Closed
GRWG_14.27 | All GPRCs to review their GSICS websites to take into account of the new developments in GSICS as these websites will be reviewed in the next joint meeting. | ALL, GPRC | 01 May 2015 | Closed - duplicate
GRWG_14.28 | IMD to update their website to provide GSICS information. This will be provided on the WMO for inclusion into their website | IMD | 01 May 2015 | Closed - duplicate
GRWG_14.29 | Masaya Takahashi to check for a document regarding minimum content for GPRC GSICS webpage. If this document does not exist, then he shall author one and upload it to the Wiki. | Masaya Takahashi | 01 May 2015 | Closed
GRWG_14.31 | EUMETSAT to prepare a proposal for automating the GPPA and demonstrate this in a Webex meeting. | EUMETSAT | 01 May 2015 | Late
GRWG_14.32 | Xu Na (CMA): report at the next meeting on the work done on SRF retrieval using hyperspectral instruments. | Xu Na | 01 May 2015 | Closing?
GRWG_15.45 | CMA to report back on their investigations on SRF retrieval. | CMA | 29 Feb 2016 | Closing?
GRWG_14.33 | EUMETSAT to share with IMD plans for reprocessing of the archive data (re-calibration) | EUMETSAT | 01 May 2015 | Closed
GRWG_14.35 | EUMETSAT/NOAA/NASA/JMA to perform analysis to evaluate the optimal temporal resolution for a DCC product. GPRCs are invited to report at the next web-meeting on the DCC method. | EUMETSAT, NOAA, NASA, JMA | 01 May 2015 | Late
GRWG_14.39 | CMA to investigate hosting a joint GSICS/CEOS-IVOS workshop to promote SI traceable measurements in orbit. | CMA | 01 May 2015 | Closing

## Slide 23: Other GRWG Actions Still Open
Action Ref | Description | Assigned to | Due Date | State
GRWG_14.41 | KMA to investigate the feasibility of providing GSICS with its BRDF model and report. | KMA | 01 May 2015 | Closed (2017)
GRWG_15.5 | KMA to present the use BJ Sohn's DCC algorithm to build a BRDF model | KMA | 29 Feb 2016 | Closed (2017)
GRWG_15.21 | KMA to deliver their RTM DCC BRDF model | KMA | 29 Feb 2016 | Late
GRWG_15.3 | IMD to report on results of investigation into suitability of Rann of Kutch as a test site for INSAT-3D calibration, following ground characterisation, and share details with GSICS by email | IMD | 29 Feb 2016 | Closed
GRWG_15.4 | D. Jouglet to investigate the availability of POLO in SADE database and report to GSICS. | CNES | 29 Feb 2016 | Late
GRWG_15.9 | JAXA to correspond with Microwave Sub-Group to consider whether GSICS products could/should be generated for active instruments such as DPR. | JAXA | 29 Feb 2016 | Late
GRWG_15.12 | NOAA to report on plans to incorporate GOES-R/ABI in ICVS. | Fred Wu | 29 Feb 2016 | Late
GRWG_15.13 | NOAA to provide their GEO-LEO IR algorithm code to IMD. | Fred Wu | 29 Feb 2016 | Late
GRWG_15.14 | Dave to investigate the use of MIIC to generate DCC data for near-real-time processing of DCC using VIIRS. | Dave Doelling | 29 Feb 2016 | Late
GRWG_15.15 | Dave to investigate potential to transfer this technology to other data centres. | Dave Doelling | 29 Feb 2016 | Late

## Slide 24: Other GRWG Actions Still Open
Action Ref | Description | Assigned to | Due Date | State
GRWG_15.17 | Rob to propose new terminology, based on the term "homogenised" or "MODIS (or whatever)-equivalent. | Rob Robelling | 29 Feb 2016 | Closed
GRWG_15.18 | EUMETSAT to circulate Rob's review of FCDR inter-calibration requirements to GRWG/GDWG, identifying which type of inter-calibration product could meet each of these. | Tim Hewison | 29 Feb 2016 | Close?
GRWG_15.19 | A. K. Sharma to interact with GDWG to provide INSAT-3D SRFs. | AK Sharma | 29 Feb 2016 | Closed
GRWG_15.20 | EUMETSAT to interact with KNMI to see if they could process the SCIAMACHY data to have the SBAFs for the last two bands (beyond 1900nm). NASA is ready to provide the code. | Tim Hewison | 29 Feb 2016 | Closed
GRWG_15.22 | Jack Xiong (NASA) to deliver the MODIS spectral response to the GSICS wiki | Jack Xiong | 29 Feb 2016 | Closed
GRWG_15.24 | Fred to implement Sebastien's deseasonalisation method and compare with Fangfang's and report back | Fred Wu | 29 Feb 2016 | Closed
GRWG_15.25 | NASA to consider providing centralised processing of MODIS DCC data | NASA | 29 Feb 2016 | Late
GRWG_15.26 | Sebastien Wagner (EUMETSAT) to present at a further web meeting on DCC the extracted time series for the NIR16 channel. | Sebastien Wagner | 29 Feb 2016 | Late
GRWG_15.27 | Lin Chen and Sebastien Wagner to circulate statistics of mode/mean/median for review by email. | Sebastien Wagner | 29 Feb 2016 | Late
GRWG_15.33 | Dave Doelling to ask Constantine Lukashin to participate in meeting on lunar inter-calibration accounting for spectral differences. | Dave Doelling | 29 Feb 2016 | Late

## Slide 25: Other GRWG Actions Still Open
Action Ref | Description | Assigned to | Due Date | State
GRWG_15.34 | Dave Doelling to check availability of lunar observations in the Hyperion dataset by 1 April 2015. | Dave Doelling | 29 Feb 2016 | Late
GRWG_15.35 | Jack Xiong and Dave Doelling to report plans to investigate the double difference between MODIS and VIIRS lunar observations in preparation to transfer the calibration reference and at web meeting. | Jack Xiong | 29 Feb 2016 | Late
GRWG_15.36 | Dave Doelling to investigate whether CLARREO could fund dedicated observation campaigns to tie lunar irradiance models to an absolute SI-traceable scale. | Dave Doelling | 29 Feb 2016 | Late
GRWG_15.37 | Sebastien Wagner to circulate survey on participation in the planned activities to develop lunar inter-calibration to members of lunar calibration community. | Sebastien Wagner | 29 Feb 2016 | Late
GRWG_15.38 | Sebastien Wagner to organize a web meeting to report on the progress made on inter-calibration using the Moon (between October and December 2015). | Sebastien Wagner | 29 Feb 2016 | Closed
GRWG_15.39 | NOAA to update the product user guide for GOES-IASI products to inform about the range of diurnal applicability | FredWu | 29 Feb 2016 | Late
GRWG_15.42 | KMA to investigate the possibility to extract the data before the MBCC is applied, and in collaboration with NOAA to assess the impact of MBCC on the data. KMA to report back at the next GSICS annual meeting. | KMA | 29 Feb 2016 | closed
GRWG_15.43 | ISRO to explore NOAA MBCC more into detail and to apply it. ISRO to report back at the next GSICS annual meeting. | ISRO | 29 Feb 2016 | Late
GRWG_15.44 | ISRO to report back on their investigations on SRF retrieval. | ISRO | 29 Feb 2016 | Late

## Slide 26: Other GRWG Actions Still Open
Action Ref | Description | Assigned to | Due Date | State
GRWG_15.47 | JMA to investigate and provide a report on the uncertainty analysis to support progress to Pre-Operational mode. | Masaya Takahashi | 29 Feb 2016 | Late
GRWG_15.49 | IMD/ISRO to contact the IMD NWP and NCMRWF about double differencing of geostationary ring. | IMD, ISRO | 29 Feb 2016 | Late
GRWG_15.50 | Tim to conduct a survey to identify a date among GPRC so that they produce the GSICS corrections for that date and provide them to Dave. - Reported on 20160302 | Tim Hewison | 29 Feb 2016 | Closed
GRWG_15.51 | Dave to report on the analysis of GEO-GEO double-differences. | Dave Doelling | 29 Feb 2016 | Late
GRWG_15.52 | Tim to provide SBAF tool to support the analysis of GEO-GEO double-differences | Tim Hewison | 29 Feb 2016 | Late
GRWG_15.53 | NASA-MODIS (Jack) to consider investigating alternative regression algorithms in radiance instead of Tb and report at next GRWG annual meeting | Jack Xiong | 29 Feb 2016 | Closed
GRWG_15.54 | CMA to report on generalising regression in GEO-LEO IR products to include polynomial terms and report by next GRWG meeting | Scott | 29 Feb 2016 | Late
GRWG_15.55 | NOAA to investigate inter-channel calibration with IASI. | Fred Wu | 29 Feb 2016 | Late
GRWG_15.57 | Denis Jouglet to review capabilities of IASI and AIRS and CrIS? to meet the requirements for inter-calibration references for GEO-LEO IR products. | CNES | 29 Feb 2016 | Late
GRWG_15.58 | Fred to invite Pagano and Yong Han to join this review as relevant instrument experts | Fred Wu | 29 Feb 2016 | Closed

## Slide 27: Other GRWG Actions Still Open
Action Ref | Description | Assigned to | Due Date | State
GRWG_15.59 | Dave to investigate how to share the existing data set for MODIS 0.6µm band (2002-end of 2009) with the GRWG. | Dave Doelling | 29 Feb 2016 | Closed
GRWG_15.60 | Larry Flynn (NOAA) to consider mechanisms to provide delayed CrIS? data for FY-2 inter-calibration | Larry Flynn | 29 Feb 2016 | Late
GRWG_15.61 | Rob to propose the maximum frequency on the update requirement for non-routine events | Rob Roebelling | 29 Feb 2016 | Closed
GRWG_15.62 | Manik to interact with Jérôme to push forward the development of the expert system as a tool to select inter-calibration reference instruments | Manik Bali | 29 Feb 2016 | Closed
GRWG_15.63 | Tim to provide to Manik a list of parameters from his scoring proposal to include them into the expert system. | Tim Hewison | 29 Feb 2016 | Late