## Slide 1: Infrared Sub-Group Report Tim Hewison
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:

## Slide 2: IR Sub-Group Membership
GEO-LEO IR products – first GSICS product
IR Sub-Group last to form
  In July 2015
Membership somewhat nebulous
  Includes many participants from usual GSICS members – and a few others

## Slide 3: Current Sub-Group activities:
Promote GEO-LEO IR products to Operational + Support & Further Development
  a) For IR channels of GEO imagers – Tim, Masaya, Dohyeong, Hyesook, Minju, Manik, Fangfang
  b) GEO IR Sounders (broad-band) , Fangfang
  c) Preparation for hyperspectral IR - CMA?
Development of LEO-LEO IR products for
  a) imagers – Likun, Manik (MetopA/AVHRR), Tim, Fred ?, Fangfang
  b) Hyperspectral IR (incl CLARREO) - Likun, Dave T.,
Deployment of Prime GSICS Corrections – Tim , Masaya, Fangfang
Diurnal calibration variations - Masaya , Fangfang, Dohyeong, Hyesook, Minju
Report on Reference Sensor Traceability and Uncertainty – Tim, Likun, Dave T.
Development of NWP inter-calibration method , Fangfang
GEO-GEO comparisons - Dave, Hidehiko, Dohyeong, Hyesook, Minju , Fangfang
Instrument specification, pre-launch char., cal/val testing - Likun , Fangfang
Broadband Reference IR inter-calibration – Dave, Rob, Likun
Spectral Response Function retrieval - Manik

## Slide 4: I need a hero
Other participants welcome to join these activities
Difficult to lead all activities
  Consider assigning Principal Investigators/Champions
  If it becomes difficult to manage any of these activities within the IR Sub-Group, the chair should consider establishing a dedicated Sub-Group to address them.

## Slide 5: IR Sub-Group Agenda
GEO-LEO IR
  GEO-ring test data to support SCOPE-CM IOGEO
  Promotion of products through GPPA
  Handling GEO diurnal calibration variations
  New inter-calibration algorithms
Wed pm | GRWG: IR Sub-Group | 
 | Chair: Tim Hewison | 
13:00 | Tim Hewison | Developing GSICS products for GEO imagers
 | Fred Wu | – including diurnal cycles
 | Dohyeong Kim | – accounting for seasonal variations
 | All (incl Na Xu) | – Review Plans for GEO-LEO IR products
 | All | – new algorithms

## Slide 6
GPRC | Monitored Instrument | Reference Instrument | GSICS NRT Correction | GSICS Re-Analysis Correction | GSICS Bias Monitoring
EUMETSAT | Meteosat-8-11/SEVIRI Meteosat-7/MVIRI | Metop-A/IASI | Operational Demo | Operational Demo | Plots RAC
JMA | MTSAT-2 Imager | IASI (+ AIRS) | Demo | Demo | Plots RAC
NOAA | GOES-13 & -15 Imager GOES-11 & -12 Imager | IASI (+ AIRS) | Pre-op | Pre-op Demo | Prototype
 | GOES Sounder | IASI (+ AIRS) | Development | Development | In development
CMA | FY2C – E | IASI (+ AIRS) | Development | Development | Prototype
KMA | COMS-1 | IASI | Prototype | Prototype | 
ISRO | INSAT-3D | IASI | Prototype | Prototype | 
GSICS GEO-LEO IR Product Status 2017-02
Full GSICS Product Catalog available at http://www.star.nesdis.noaa.gov/smcd/GCC/ProductCatalog.php

## Slide 7: GEO Imagers Spectral Coverage
 | Meteosat/FCI |  |  | GOES-R/ABI |  |  | Himawari-8/AHI |  |  | FY-4A/AGRI |  |  | KOMPSAT-2A/AMI |  |  | INSAT-3DR/Imager |  | 
 | lmin | lnom | lmax | lmin | lnom | lmax | lmin | lnom | lmax | lmin | lnom | lmax | lmin | lnom | lmax | lmin | lnom | lmax
SWIR | 3.60 | 3.80 | 4.00 | 3.80 | 3.90 | 4.00 | 3.74 | 3.85 | 3.96 | 3.50 | 3.75 | 4.00 | 3.60 | 3.85 | 4.10 | 3.80 | 3.90 | 4.00
MWIR | 5.80 | 6.30 | 6.80 | 5.70 | 6.15 | 6.60 | 6.07 | 6.25 | 6.44 | 5.80 | 6.25 | 6.70 | 5.72 | 6.24 | 6.76 |  |  | 
 | 7.10 | 7.35 | 7.60 | 6.80 | 7.00 | 7.20 | 6.89 | 6.95 | 7.01 | 6.90 | 7.10 | 7.30 | 6.70 | 6.95 | 7.20 | 6.50 | 6.80 | 7.10
 |  |  |  | 7.30 | 7.40 | 7.50 | 7.27 | 7.35 | 7.44 |  |  |  | 7.01 | 7.35 | 7.70 |  |  | 
LWIR | 8.50 | 8.70 | 8.90 | 8.30 | 8.50 | 8.70 | 8.44 | 8.60 | 8.76 | 8.00 | 8.50 | 9.00 | 8.35 | 8.60 | 8.85 |  |  | 
 | 9.51 | 9.66 | 9.81 | 9.60 | 9.70 | 9.80 | 9.54 | 9.63 | 9.72 |  |  |  | 9.39 | 9.63 | 9.87 |  |  | 
 | 10.15 | 10.50 | 10.85 | 10.05 | 10.30 | 10.55 | 10.30 | 10.45 | 10.60 | 10.30 | 10.70 | 11.10 | 9.99 | 10.43 | 10.87 | 10.30 | 10.80 | 11.30
 | 12.55 | 12.30 | 12.55 | 10.80 | 11.20 | 11.60 | 11.10 | 11.20 | 11.30 | 11.50 | 11.00 | 12.50 | 10.70 | 11.20 | 11.70 | 11.50 | 12.00 | 12.50
 | 13.00 | 13.30 | 13.60 | 11.80 | 12.30 | 12.80 | 12.20 | 12.35 | 12.50 | 13.20 | 13.50 | 13.80 | 11.69 | 12.30 | 12.92 |  |  | 
 |  |  |  | 13.00 | 13.30 | 13.60 | 13.20 | 13.30 | 13.40 |  |  |  | 12.93 | 13.30 | 13.68 |  |  | 

## Slide 8: IR Sub-Group Agenda
GEO-LEO IR
  GEO-ring test data to support SCOPE-CM IOGEO
  Promotion of products through GPPA
  Handling GEO diurnal calibration variations
  New inter-calibration algorithms
LEO-LEO IR
  Inter-calibration algorithms
  Hyperspectral gap-filling methods
  Establishing user requirements
  Developing first demonstration products?
Wed pm | GRWG: IR Sub-Group | 
 | Chair: Tim Hewison | 
14:20 | CMA? | Developing GSICS products for LEO imagers
 | Aisheng Wu (Remote) | – including VIIRS/MODIS
 |  | – extending coverage below 3.6µm
 | Tim + Igor | – including SLSTR
14:20 | CMA? | Developing GSICS products for LEO imagers
 | Aisheng Wu (Remote) | – including VIIRS/MODIS

## Slide 9: IR Sub-Group Agenda
GEO-LEO IR
  GEO-ring test data to support SCOPE-CM IOGEO
  Promotion of products through GPPA
  Handling GEO diurnal calibration variations
  New inter-calibration algorithms
LEO-LEO IR
  Inter-calibration algorithms
  Hyperspectral gap-filling methods
  Establishing user requirements
  Developing first demonstration products?
Reference Sensor Traceability and Uncertainty – 2 web meetings in 2016
  Sensor calibration Error budgets
  Inter-comparisons
  Report
Wed pm | GRWG: IR Sub-Group | 
 | Chair: Tim Hewison | 
15:30 | Tim Hewison | Reference Traceability and Uncertainty
 | Authors? | - Developing Report - review actions
 | Tony Reale | - Comparisons with GRUAN sondes
 | Dave Tobin? | - CrIS
 | Denis Jouglet? | - IASI
 | Tom Pagano (remote) | - AIRS Error Budget

## Slide 10: IR Sub-Group Agenda
GEO-LEO IR
  GEO-ring test data to support SCOPE-CM IOGEO
  Promotion of products through GPPA
  Handling GEO diurnal calibration variations
  New inter-calibration algorithms
LEO-LEO IR
  Inter-calibration algorithms
  Hyperspectral gap-filling methods
  Establishing user requirements
  Developing first demonstration products?
Reference Sensor Traceability and Uncertainty
  Sensor calibration Error budgets
  Inter-comparisons
  Report
Hyperspectral GEO IR sounders comparisons
Wed pm | GRWG: IR Sub-Group | 
 | Chair: Tim Hewison | 
16:30 | Chengli Qi | Strategy for hyperspectral GEO sounders

## Slide 11: IR Sub-Group Agenda
GEO-LEO IR
  GEO-ring test data to support SCOPE-CM IOGEO
  Promotion of products through GPPA
  Handling GEO diurnal calibration variations
  New inter-calibration algorithms
LEO-LEO IR
  Inter-calibration algorithms
  Hyperspectral gap-filling methods
  Establishing user requirements
  Developing first demonstration products?
Reference Sensor Traceability and Uncertainty
  Sensor calibration Error budgets
  Inter-comparisons
  Report
Hyperspectral GEO IR sounders comparisons
SRF retrievals
Wed pm | GRWG: IR Sub-Group | 
 | Chair: Tim Hewison | 
 | Tim + Manik? | SRF retrievals - with input from Ruediger Lang
17:00 | Na Xu | Prelaunch SRF evaluation and correction

## Slide 12: IR Sub-Group Agenda
GEO-LEO IR
  GEO-ring test data to support SCOPE-CM IOGEO
  Promotion of products through GPPA
  Handling GEO diurnal calibration variations
  New inter-calibration algorithms
LEO-LEO IR
  Inter-calibration algorithms
  Hyperspectral gap-filling methods
  Establishing user requirements
  Developing first demonstration products?
Reference Sensor Traceability and Uncertainty
  Sensor calibration Error budgets
  Inter-comparisons
  Report
Hyperspectral GEO IR sounders comparisons
SRF retrievals
Supporting FCDR generation
Fri am | Plenary - Briefs and De-briefs | 
 | Chair: Larry Flynn | 
08:30 | Rob Roebeling/Tim Hewison | Ongoing need for Re-Analysis Corrections

## Slide 13: Actions on IR Sub-Group
Action Id | Summary | Lead | Expected Completion | Actual Completion | Deliverable Usage | Status
GIR.2016.3c.1 | Rob to consider including an analysis of GEO-ring bias monitoring statistics provided by ECMWF as part of IOGEO. | EUM(Rob) | 2017-annual meeting |  | Not possible in 2017. | Pending
GIR.2016.3c.2 | EUMETSAT to coordinate input for GEO-ring test dataset from all geostationary satellite operators | EUM(Rob) | 9/1/2016 | Ftp structure setup. Met-7 & -9 recal data available - can upload (incl link to GSICS corrections). |  | Pending
GIR.2016.3e.1 | Tim Hewison to consider revising terminology used in the current "Primary GSICS Corrections", during demonstration phase. | EUM(Tim) | 2017-annual meeting | In revised GPPA submission 2017-05-23 | Primary GSICS Corrections now defined wrt "Anchor References". | Closed
GIR.2016.3n.1 | Fred to report at next meeting on cooperation with KMA on black body calibration correction. | NOAA(Fred) | 2017-annual meeting |  |  | Pending
GIR.2016.3o.1 | Arata to check how the cold end corrections are behaving using AIRS. | JMA(Arata) | 2017-annual meeting |  |  | Pending
GIR.2016.3o.2 | Arata to use the various regression methods for both radiance and brightness temperatures and process the corrections as derived from AIRS and report back. | JMA(Arata) | 2017-annual meeting |  |  | Pending
Show entries
Search:

## Slide 14: Actions on IR Sub-Group
Action Id | Summary | Lead | Expected Completion | Actual Completion | Deliverable Usage | Status
GIR.2016.3p.1 | Rose to communicate the constraints for Metop-A end-of-life activities. Can we accommodate additional manoeuvres? | EUM(Rose) | 2017-annual meeting | 2017 EUMETSAT Agency Report | Update on Metop-A End of Life included in Agency Report | Closed
GIR.2016.3p.2 | CrIS team (POC: Likun) to work on the inter-comparison between CrIS and TANSO-FTS and report back to GRWG. | CrIS team(Likun) | 2017-annual meeting |  |  | Pending
GIR.2016.3p.3 | EUM + CNES (POC: Denis Jouglet (CNES) and Dorothee Coppens (EUM)) to work on the inter-comparison between CrIS and TANSO-FTS. | EUM(Dorothee), CNES(Denis) | 2017-annual meeting |  | Delayed at EUM until later in 2017 | Pending
GIR.2016.3p.5 | JAXA to provide info about TANSO FTS sampling (POC: Kei Shiomi) | JAXA(Kei) | 2017-annual meeting |  |  | Pending
GIR.2016.3q.1 | Likun Wang to coordinate a team to continue to monitor CrIS, IASI and AIRS and report to GSICS. | NOAA(Likun) | 2017-annual meeting |  |  | Pending
GIR.2016.3r.1 | Manik to circulate draft manuscript on SRF retrieval method | NOAA(Manik) | 2017-annual meeting |  |  | Pending
Show entries
Search:

## Slide 15: Actions on IR Sub-Group
Action Id | Summary | Lead | Expected Completion | Actual Completion | Deliverable Usage | Status
GIR.2016.7b.2 | Tim Hewison to resolve use of GSICS products for Meteosat IR with FIDUCEO. | EUM(Tim) | 2017-annual meeting | FIDUCEO are using some GSICS methods to derive calibration coefficients for Meteosat. No further action reqrd. |  | Closed
GIR.2016.7i.3 | Tim to contact Sasha regarding the opportunities using NWP bias monitoring statistics. | EUM(Tim) | 2017-annual meeting | Closed by email MICROS team do not have resources to support this at present. |  | Closed
GIR.20160908.1 | Denis Jouglet (CNES) to apply spectral averaging method to calculate static weightings for generating 10cm-1 pseudo channels for AIRS-IASI comparison … | CNES(Denis) | 2017-annual meeting |  |  | Pending
GIR.20160908.2 | Dorothee Coppens (EUMETSAT) to look at impact of CrIS responsivity changes related to apodisation. | EUM(Dorothee) | 2017-annual meeting |  |  | Pending
GIR.20160908.3 | Dave Tobin (SSEC) to regenerate comparison results in 10K bins over 3 year period, describe method &share raw SNO results. | NOAA(Dave) | 2017-annual meeting |  |  | Pending
GIR.20160908.4 | Tim Hewison (EUMETSAT) to regenerate comparison results in 10K bins &redo double-difference analysis, expressing results in BT, radiance and % radiance. | EUM(Tim) | 2017-annual meeting | Closed 2017-03-15 | Spreadsheet | Closed
Show entries
Search:

## Slide 16
Thank You for your contributions!