## Slide 1: NOAA-KMA Collaboration on Imager Midnight IR Calibration Anomaly
Xiangqian Wu
2017-03-22, GSICS WG Meeting, Madison, WI

## Slide 2: Problem
Calibration of Imager infrared channels is unstable around satellite midnight.
Thermal stress plays a major role.

## Slide 3
~40ºK “now”
Complicated seasonal variations of diurnal heating
Long term trend
~60ºK some other days
One Week
One Month
One Year
One Satellite
D. Han
Goes-12 Scan Mirror Temperature
GOES Blackbody Contamination

## Slide 4: Motivation
As similar instruments have been in operation at KMA (2010-2018) and NOAA (1994-2024), this collaboration may lead to mutual benefits to both agencies including:
Immediate benefits for ongoing operations;
Potential benefits in re-calibration for climate applications;
Directly applicable to JMA’s MTSAT-2 (2010 – 2015) – contributions to international community;
Risk reduction for Advanced Imager (ABI/AMI/AHI) – benefit to future satellite programs.

## Slide 5: Goal
Quantitative characterization of midnight IR calibration anomaly (MICA or MIRCA)
  A name different from MBCC, an existing algorithm and product.
  Need more attention on this.
Identification of the root cause.
Mitigation
Implementation

## Slide 6: Assets
MBCC, when formulated in late 1990’s, was based on very limited understanding of impacts on products.
The advent of GSICS since 2007 would be a tremendous help.
But NOAA no longer has the raw data after the MBCC implementation in 2004.
KMA possesses the ability of parallel processing, thus the untinted data.
NOAA has related technical expertise.

## Slide 7
GOES Blackbody Contamination
GOES-8 Midnight. While the cool down before midnight may be attributed to SST diurnal variation, the warm up after midnight but before sunrise is puzzling.

## Slide 8
GOES Blackbody Contamination

## Slide 9
GOES Blackbody Contamination

## Slide 10
GOES Blackbody Contamination

## Slide 11
GOES Blackbody Contamination

## Slide 12
GOES Blackbody Contamination

## Slide 13
GOES Blackbody Contamination

## Slide 14
Not a problem without this varying radiator
GOES Blackbody Contamination
TBB

## Slide 15
OK if =1 or Tenv=TBB
Less true for GOES
TBB
TBB
Tenv
GOES Blackbody Contamination

## Slide 16
GOES Blackbody Contamination

## Slide 17
GOES Blackbody Contamination

## Slide 18: Existing MBCC
When not under thermal stress:
  Derive m from space counts and blackbody counts and radiance;
  Relate mMBCC with m and Tmirror by regression;
When under thermal stress:
  Derive m from space counts and blackbody counts and radiance;
  Compute mMBCC from Tmirror;
  Decide whether to use m or mMBCC.

## Slide 19: MBCC Performance Evaluation – GOES-11 Imager IR Channels
Ch2 Ch3 Ch4 Ch5
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Jan
Feb
Mar
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec
Diurnal variation varies at different channel and different season

## Slide 20
Channel | ΔTb4:00am,0:00am (K) | Channel | ΔTb4:00am,0:00am (K) | Channel | ΔTb4:00am,0:00am (K)
Ch1 | +0.25 | Ch7 | +0.54 | Ch13 | +0.33
Ch2 | +0.22 | Ch8 | +0.49 | Ch14 | +0.38
Ch3 | +0.25 | Ch9 | +0.67 | Ch15 | +0.61
Ch4 | +0.37 | Ch10 | +0.39 | Ch16 | +0.28
Ch5 | +0.24 | Ch11 | +0.44 | Ch17 | +0.51
Ch6 | +0.51 | Ch12 | +0.53 |  | 
Impact of the midnight calibration anomaly for GOES-11 Sounder IR channel 1 through Ch17. ΔTb4:00am,0:00am = ΔTb4:00am - ΔTb0:00am
Yu and Wu, 2013 TGRS
No MBCC applied to the Sounder IR channels

## Slide 21: GEO-GEO Comparison During GOES-15 PLT Period
GEO-GEO collocation
  Spatial collocation
  Temporal difference: < 5 minutes
  Geometric alignment: viewing zenith angle difference < 1%
GOES 13: -75o
GOES-15: -89.5o

## Slide 22: GEO-GEO Comparison
BRDF
Midnight
Midnight
Midnight
Midnight
No correction was made for SRF difference
Note: the GEO-GEO inter-comparison was conducted before the SRF shifts for G15 Ch3 and Ch6
Yu

## Slide 23: GEO-GEO Radiance Comparison
Yu

## Slide 24
Full-System
Full-Aperture
Scan Mirror Emissivity

## Slide 25: Nominal

## Slide 26: Actual
Radiative Equilibrium

## Slide 27: It boils down to …

## Slide 28: Plan and Schedule
Characterization
  Data collection (temperature, count, …)
  Data analysis
Identification / Confirmation