## Slide 1
S. Wagner, B. Viticchie, T. Hewison – EUMETSAT
T. Stone – USGS
Definition of a benchmark for the GIRO

## Slide 2: Scope and purpose
  Definition of a reference synthetic dataset
  Assessment of the GIRO performances with respect to the current lunar calibration reference model ROLO:
    Verification / Validation of new developments
    Uncertainty assessment
     Traceability
  Uncertainty assessment / traceability to the GIRO for local implementations
  Possibility to perform a similar assessment for newly developed model with respect to the GIRO

## Slide 3: Parameters to vary
Geometry:
  Time: possibly the complete 18-year cycle with “feasible” time step (TBD)
     Libration + phase coverage
  Satellite position: (x=0., y=0., z=0.) or at the surface of the Earth + In orbit (propagation) at 800km
   Extract the case to cover the parameter space
Spectral Response Functions:
  Central wavelengths as for existing Ocean Color sensors + geostationary imagers + additional bands in between the ROLO bands (in particular for short wavelengths)
  Narrow + large SRFs
  Spectral resolution down to 1nm (TBC)

## Slide 4: Parameters to vary
Spectral Response Functions shapes:
  Gaussian,
  Truncated Gaussian,
  Square,
  Slope on the left side
  Slope on the right side
  Additional shape

## Slide 5: Cases
Test to cover the space of librations/longitudes/latitudes
  One squared SRF at 550nm with 1nm (TBC) or close to monochromatic
Spectral tests:
  On a reduced sub-set of geometries

## Slide 6: Next steps
Set the framework for the cases:
  Define the SRFs
  Define the geometries:
    Large number of cases
     Define a template file + code to adjust the template to the various cases + scripts to run the benchmark
Preparation of the documentation
Run the benchmark with the ROLO and GIRO to finalise the traceability
Prepare a paper to serve a reference for the GIRO

## Slide 7: Planning
Set the framework for the cases
Preparation of the documentation
     Early August 2017
Finalising the traceability of the GIRO to the ROLO
 Early September 2017
 Would allow others groups to test their implementations against the GIRO
 Discussions at the LCWS ?
Prepare a paper to serve a reference for the GIRO
     2018

## Slide 8
Thank you