## Slide 1: Introduction to Chinses Project: Solar Bands Calibration Based on Lunar Radiance Source
13-16 November 2017, Xi’an, China
Peng ZHANG
National Satellite Meteorological Center,
China Meteorological Administration
(NSMC/CMA)

## Slide 2: Outline
Project Background
Moon Prediction
Ground-based Lunar Observation
Lunar Modeling
Application to FY satellite
Summarization

## Slide 3
FY-2E
86.5
FY-2G
105
FY-2D
123.5
FY-3B
FY-3A
FY-2F
112
FY-3C
Tansat
FY-4A
104.5
FY Program: 8 on the orbit, 5 in operation, 1 in trial operation
Joint program: TanSat in commission test
1. Project Background

## Slide 4
Launched Satellites
Before 2000s: emphasizing to develop the satellite
2000 – 2010 : emphasizing the transition from the R&D to the operational satellite
After 2010s : emphasizing the calibration and validation for the operational satellite

## Slide 5
Observed DN
RT Calibration
On-orbit operational calibration
SDR
Prelaunch Calibration
laboratory test with on board calibration System
Offline Calibration/ Re-Calibration
Validation and Correction with SI-traceable Reference
FCDR
On-orbit Performance Monitoring
Calibration Procedure

## Slide 6
Spectrum | On board Calibration System | Instrument | Accuracy of RT Calibration
UV | Solar + diffuser mercury lamp | TOU/FY-3 SBUS/FY-3 | 5% ～ 10%
SRB | VOC | MERSI/FY-3 | can’t work Field Calibration per year, 7% Lunar Calibration since FY-3C, 3% ～ 5%
 | halogen tungsten lamp | ERM/FY-3 | ?
 | absolute radiometers | SIM/FY-3 | ?
TEB | blackbody | VISSR/FY-2 VIRR/FY-3 MERSI/FY-3 IRAS/FY-3 | 0.5 ～ 1K
 | blackbody | ERM/FY-3 | 0.5K ～ 1K
WM | blackbody | MWTS/FY-3 MWHS/FY-3 MWRI/FY-3 | 1K ～ 2K
Status of RT Calibration

## Slide 7
Joint Project
  FY Polar Satellite Program
  National High Technology Research & Development Program of China (863 program)
National Satellite Meteorological Center (NSMC), CMA
National Astronomical Observatories Of China (NAOC), CAS
Jilin University
Nanjing University
Changchun Institute of Optics, Fine Mechanics and Physics (CIOMP), CAS
Xi'an Institute of Optics and Precision Mechanics (XIOPM), CAS
Anhui Institute of Optics and Fine Mechanics (AIOFM), CAS
Shanghai Institute of Technical Physics (SITP), CAS

## Slide 8
Key Issues to be involved
Grant time: 2015.04
Moon prediction, registration for FY satellite
High-precision ground-based lunar observation
Lunar Modeling (Irradiance Model + Radiance Model)
Radiometric calibration based on reflected lunar light for FY satellite

## Slide 9
2. Moon Prediction
Ground-based /Space-based
lunar observation
Lunar prediction (phase angle + geometry condition) based on the NASA JPL SPICE tool and ephemeris, which can be used for ground/space-based lunar observation.
Phase angle
View angle
Solar incidence angle

## Slide 10
Guiding satellite conducts a lunar observation
Matched Lunar Image
Lunar image observed by FY-2G on Feb. 7 2015 after changing observation area
Lei Yang (CMA): Moon prediction, registration and navigation for FY satellite

## Slide 11
FY-3C lunar observation mode and data
lunar image observed by different FY-3C/MERSI bands
FY-3 visible band calibration
R H Wu (CMA): Lunar data preparation for MERSI/TanSat

## Slide 12
3. Ground-based Lunar Observation
Lunar Spectral Imager | Specification
Spectral range | 400-1000nm
Spectral channels | >260
Spectral sampling width | 2-10nm
Field of view | 0.7 degree
Instantaneous Field of view | 0.0056 degree
Pixels across track | 253
Lunar spectral imager

## Slide 13
Lingshang Experiment（24 June ～ 3 July, 2015)
Dunhuang Experiment（20 Aug ～ 3 Sept, 2015)
Lijiang Experiment (17 Dec, 2015 ～ 1 March, 2016)
Lingshang, Beijing
Dunhuang, Gansu
Lijiang, Yunnan

## Slide 14
 | Instrument | manufacturer | Spectrum | Experiment
Lunar | Lunar Spectral Imager | CIOMP | 400-1000nm with 2~10nm | Lingshan, Dunhuang, Lijiang
 | Lunar Spectral Imager | SITP | 450nm~1000nm with 2~8nm | Lingshan, Dunhuang
 | Lunar Spectral Imager | XIOPM | 900nm~2500nm, 60 channel | Lijiang
 | Lunar Spectral Photometer | CIOMP | 350-1100nm with 1~5nm | Lingshan, Dunhuang, Lijiang
 | Lunar photometer | CIMEL | 10 channel | Dunhuang, Lijiang
Atmosphere | Lidar | 704 | 532nm; 1064nm | Lijiang
 | CE318 Sun photometer | CIMEL | 9通道 | Lingshan, Dunhuang, Lijiang
 | Radiosonde | VISALA |  | Lijiang
Ref. | ASD FieldSpec® 3 | ASD | 350-2500nm | Lingshan, Dunhuang, Lijiang

## Slide 15
Lunar radiance observation experiment at Lijiang, Yunnan
Lijiang Radar Station
Jade Dragon Snow Mountain
Lunar imager
high-spectral lunar photometer
AOTF imager
CE318U Lunar-photometer
HSFTS

## Slide 16
Lunar Spectral Imager
400nm-1000nm continuous spectrum lunar image
CCD
Spectral imager
Y. Wang, Y. Huang, S.R. Wang, Z.F Li, Z.H. Zhang, X.Q. Hu, P. Zhang, 2017: Ground-based Observation System Development for the Moon Hyper-spectral Imaging. Publications of the Astronomical Society of the Pacific, 129:055002(13pp).

## Slide 17
(1) wavelength
(2) time
（1）2015.12.23 : 440，500，677，870nm
（2）500nm: 2015.12.21，201512.23，2015.12.26, 2016.2.17
consistency stability of lunar observation instruments
Normalized signals
Signal comparison between CE318-lunar and lunar imager

## Slide 18
Model validation and Comparison Using ground-based measurement
ROLO model——GIRO model
Bias between model and measured data by instrument:
International:
Accuracy: on-orbit 5-10%, ground-based 13%
Uncertainty: 1-1.5%
Lijiang：
Difference: 7-12%
Uncertainty: 1-3%
Xiuqing Hu (CMA): Ground-based Lunar observation and results in Lijiang, China

## Slide 19
L. Zhang, P. Zhang*, X.Q. Hu, L. Chen, M. Min, 2017: A novel hyperspectral lunar irradiance model based on ROLO and mean equigonal albedo. Optik – International Journal for Light and Electron Optics, 142, 657-664.

## Slide 20
4. Lunar Modeling
Data name | Type | Time range | Size | Application
SP | lunar satellite observation data | 2007-2009 | 1.4TB | Model development
M3 | lunar satellite observation data | 2008-2009 | 4.8TB | Model development
CE spectral data | lunar satellite observation data | 2007-2010 | 1.3TB | Model development
FY-3C/MERSI | lunar observation data from Earth LEO satellite | 2013-2014 | 500GB | Operational calibration
MODIS | lunar observation data from Earth LEO satellite | 2000-2004 | 100GB | Operational calibration
FY-2 | lunar observation data from Earth LEO satellite | 2012-present | 1.2TB | Operational calibration
Apollo soil data | lunar soil spectrum | - | 100M | Model Validation
Simulated lunar soil data | lunar soil spectrum | - | 400GB | Model Validation
Ground-base lunar observation data | Lunar observation data | 2015.12-2016.3 | 12.5TB | Model Validation
Lunar image data | Cover 100% lunar surface | - | 800GB | Model Validation
Lunar elevation data | Cover 100% lunar surface, with resolution=500m and 20m | - | 500GB | Model Validation
Mineral distribution | Simulating lunar spectral data | - | 200GB | Model Validation

## Slide 21
CE-2 full lunar surface DEM within 7m resolution
Rainbow Bay color map
Tycho crater terrain color map
Cited from NAOC
CE-1 DEM within 500m resolution
DEM uses a lunar sphere surface based on a reference plane with a radius of 1737.4km. Accuracies of plane position and DEM: 445m (1σ) and 60m (1σ)

## Slide 22
LUT Target Selection: DEM-STD
4o*4o
2o*2o
1o*1o
20o*20o
10o*10o

## Slide 23
LUT Target Selection: REDF-STD
20o*20o
10o*10o
4o*4o
2o*2o

## Slide 24
Based on DEM and RADF
15ON-25ON
15OE-25OE
15ON-25ON
15OW-25OW
15OS-25OS
15OW-25OW
25OS-35OS
15OW-25OW

## Slide 25
10*10 gridded lunar model
Lunar albedo (a) simulated results, (b) observed result by imager at Lijiang, Yunnan province at Local time 22:21, Feb 19 of 2016
Lunar diameter=10916 km, 1.0°=10916/360≈30km
Model Resolution
752.8nm
（b）
（a）
512.6nm
L. Zhang (CMA): New Lunar model establishment based SELENE/SP observation with incorporated into lunar DEM data

## Slide 26
5. Application to FY satellite
Forcast the Moon Event
Extract the Moon
from the image
Calculation the position
information
ROLO Model
Time Period | Lunar Events | Phase angle from
Jan.2010-Otc.2014 | 130（49 without straylight,81 with straylight） | -96.84°~93.48°
FY-2 visible band calibration

## Slide 27
Blue window: Lunar and DCC are consistent during this period
Red window: Lunar and DCC are not consistent
DCC
Moon
Line Chen(CMA): Lunar data preparation for FY-2

## Slide 28
MERSI trend of Lunar irradiance band ratio
FY-3 visible band calibration

## Slide 29
band | Monomial coef | zeroth order coef | F test significance level | Degradation/year/%
1 | -6.56E-05 | 9.28E-01 | 0.00230 | 2.58
2 | 1.44E-05 | 1.02E+00 | 0.15822 | -0.51
3 | ---- | ---- | ---- | ----
4 | 2.15E-06 | 7.62E-01 | 0.88208 | -0.1
6 | -5.08E-05 | 3.93E-01 | 0.00223 | 4.72
7 | -9.16E-06 | 1.60E-01 | 0.24369 | 2.09
8 | -2.55E-04 | 6.40E-01 | 0.00000 | 14.55
9 | -1.80E-04 | 7.82E-01 | 0.00009 | 8.42
10 | -9.40E-05 | 9.59E-01 | 0.00057 | 3.58
11 | -4.16E-05 | 9.33E-01 | 0.03141 | 1.63
12 | -2.38E-06 | 1.02E+00 | 0.93479 | 0.09
13 | -1.00E-05 | 9.63E-01 | 0.45506 | 0.38
14 | -1.60E-05 | 9.34E-01 | 0.40373 | 0.63
15 | -1.09E-05 | 8.64E-01 | 0.44799 | 0.46
16 | -6.73E-05 | 7.03E-01 | 0.03354 | 3.49
17 | 2.29E-05 | 5.99E-01 | 0.16314 | -1.4
18 | -1.74E-05 | 6.34E-01 | 0.71147 | 1
19 | -1.65E-05 | 5.23E-01 | 0.00784 | 1.15
20 | -1.04E-05 | 3.97E-01 | 0.52340 | 0.96
图9 深对流云方法针对通道6和通道7的跟踪结果
Fig. 9 results of Band 6 and 7 by DCC method
Wu R H, Zhang P, Yang Z D, Hu X Q, Ding L and Chen L. 2016. Monitor radiance calibration of the remote sensing instrument with reflected lunar irradiance[J]. Journal of Remote sensing, 20(2): 278-289.

## Slide 30
From this project
CMA initiate lunar calibration algorithm development and make it as one of main calibration methods for all FY optical sensor onboard GEO and LEO satellites.
Initiate to establish the ground-based measurement system of the radiance and irradiance of full disk moon using the hyper-spectral imager and photometer which was developed and keeping improvement step by step.
Conduct the validation and comparison of lunar model using the ground-based measurement data through data processing chain. The result shows that difference from current model is 5~10% and less than 2% uncertainty.
Attempt the lunar model establishment based on the observation from lunar orbit satellites such as IIM/ChangE and SP/SELENE satellites.
Above all are the fundamental jobs for establish Chinese space-borne calibration system based on lunar observation
6. Summarization

## Slide 31
Future Plan
Conduct more and more measurements by ground-based and space-borne methods, especially long term automatic observation.
Further improve Lunar Radiance Model and Lunar Irradiance Model.
Develop utilization of lunar observation in other alternative application in space-borne sensor characterization.

## Slide 32
谢谢！