## Slide 1: Study on validation of spectral band adjustment factors using lunar hyperspectral measurements
Activity 4: GOME2
Matthijs Krijger
Ralph Snel
Pieter van der Meer
Study funded by

## Slide 2
The GOME-2 Lunar observations
Ruediger Lang, Roger Huckle, Christian Retscher, Gabriele Poli, Rasmus Lindstrot, Antoine Lacan, Ed Trollope and Rosemary Munro

## Slide 3: Teaser

## Slide 4
Lunar Irradiance

## Slide 5: Lunar Reflectance

## Slide 6: Content
GOME2
GOME2 Lunar observations
Lunar Irradiance derivation
Lunar variation model
Issues
Results
Comparison GIRO

## Slide 7: SCIAMACHY

## Slide 8: Objective Activity 4
Derive stable lunar irradiance from GOME2

## Slide 9: GOME2

## Slide 10: The GOME-2 UVN instrument on Metop Measuring atmospheric composition
Wavelength [nm]
GOME-2 main channel transmittance
Aerosol
O3
HCHO
SO2
BrO
OClO
NO2
(O2)2
O3
H2O
O2
I/I0
GOME-2:
series of 3 instruments on Metop (Metop A launched in 10/2006)
sun-synchronous orbit, 09:30
412 orbits (29 days) repeat cycle
Global coverage 1.5 days
240 nm to 800 nm
0.25 to 0. 5 nm spectral resolution (FWHM)
4 channels with 4098 energy measurements of polarisation corrected radiances (40 x 80 km2)
2 channels with 512 energy measurements of linear polarised light in perpendicular direction (S/P) (40 x 10 km2)
Orbit file sizes
GOME-2 L1B ~ 1GB
IASI L1C ~ 2GB
240
790

## Slide 11: Sun Mode
Diffusor
GOME2
NOTE:
“Irradiance” is Lunar Irradiance
not solar irradiance unless explicit

## Slide 12: Earth Mode
Scanning Mirror
GOME2

## Slide 13: Lunar Mode
Fixed Mirror
GOME2

## Slide 14: Lunar Mode
Moon
IFOV
Moon motion

## Slide 15: Nominal Lunar Measurement

## Slide 16: Measurements

## Slide 17: Irradiance Derivation
(all per nm per m2)
R = #photons/sec/sr
S = #photons = R*(L*B)*T
Sum Scan ΣR
I = #photons/sec
I = ΣS / (B/V)
I = ΣR*L*B*T / (B/V)
I = ΣR*L*V*T

## Slide 18: Modelling Lunar Variation

## Slide 19: 4 Models
GOME2 Irradiance
GOME2 Reflectance
GOME2/GIRO Irradiance
GOME2/GIRO Reflectances

## Slide 20: Model (for each wavelength)
P[0]*
1+P[1]* (√(lunar_phase)- √(65°))
1+P[2]*Libration_latitiude
1+P[3]*Libration_longitude
1+P[4]*Solar_longitude
Exp(MJD*P[5]+MJD^2*P[6]*MJD^3*P[7])
Distance_sun_moon^P[8]
Distance_sat_moon^P[9]
MJD-4720
(Dec 2012)
Fixed
Fixed
Not used
Reproduces GIRO

## Slide 21: Fitting
Weight invalid measurements to zero
Fit degradation relative to GIRO (seed)
Fit model (incl degradation) relative to GIRO
Add distance dependence (P[8:9]=-2)
Fit model (incl degradation) to data
Remove channel overlaps
Both for Reflectance and Irradiance

## Slide 22: P[0]
MJD 4720, No libration, Phase 65°

## Slide 23: Issues
Degradation
Missing Data
Pointing
Duration
Background
Straylight

## Slide 24: Degradation

## Slide 25: Fitted Degradation
Wav [nm]
Conclusion: Degradation is there, but can be fitted

## Slide 26
Lunar Slit Model
Model
as verification
Max
lunar signal

## Slide 27
Sample contaminated Lunar measurement
Channel averages

## Slide 28
Remaining
signal
Scatter
Signal as function of solar position relative to satellite

## Slide 29
Straylight Spectra compared to know sources
Outside
Central
Not Earth
Looks like sun
Incorrect background
Not Moon

## Slide 30
Impact estimate
Conclusion: Straylight will impact relative accuracy
Note: Straylight not random error!

## Slide 31: Results

## Slide 32: Model (for each wavelength)
P[0]*
1+P[1]* (√(lunar_phase)- √(65°)) [radians]
1+P[2]*Libration_latitiude [degrees]
1+P[3]*Libration_longitude [degrees]
1+P[4]*Solar_longitude
Exp(MJD*P[5]+MJD^2*P[6]*MJD^3*P[7])
Distance_sun_moon^P[8]
Distance_sat_moon^P[9]
MJD-4720
(Dec 2012)
Fixed
Fixed
Not used
Reproduces GIRO

## Slide 33
Dec 2012, No libration, Phase 65°
Lunar Reflectance
Lunar Irradiance

## Slide 34: Compare to GIRO

## Slide 36
/√radian

## Slide 37
/Deg

## Slide 38
/Deg

## Slide 40: SCIAMACHY vs GOME2
550nm
Libration
Lunar phase

## Slide 41
550nm
GOME2 very small phase and libration range compared SCIAMACY

## Slide 42: Conclusions
Issues
  Degradation
  Missing Data
  Pointing
  Duration
  Background
  Straylight
Stable lunar irradiance derived
Differences relative GIRO due limited geometries

## Slide 43: Thank you!

## Slide 44: Extra Slides

## Slide 45: Channel Edges

## Slide 49
GOME-2 Level-0 to 1b specifications: PGS 7
Lunar observation geometry: Section 5.2.8

## Slide 50
GOME-2 Level-0 to 1b specifications: PGS 7/PFS 9
Lunar observation geometry: PGS Section 5.7.2 (AG.2)
Geometries provided in the
L1B product
MDR-1B-Moon / GEO_MOON

## Slide 51
GOME-2 optical layout
Scanning grating spectrometer with a random-access linear silicon photodiode array
Earthshine
Sun I0 (daily)
Spectral Light Source
SLS (daily)
White Light Source
WLS (daily)
Solar diffuser
Calibration
Unit
Common (Earth/Solar/Cal) path
Scan Mirror

## Slide 53: Spectral variation
Blue | = Kepler crater
Green | = Mare Humorum
Red | = Oceanus Procellarum
Date: 04 March 2005 Satellite: Rosetta Depicts: Three lunar spectra Copyright: ESA
Three spectra of three different regions on the Moon:

## Slide 54: GOME2A
Simular results (not shown here)
Additional uncertainty
  Step-function degradation (2nd Throughput test)
  Calibration problem early mission

## Slide 55: Recommendations
Degradation
  Fact of life
Missing Data
  Check Lv0/1 for missing data
Pointing
  Check Flight Dynamics
Duration
  Extend lunar measurement by 30-60sec both direction
Background
  Investigate background from Lv0 (not Lv1)
Straylight
  Investigate straylight at Lv0