## Slide 1
Data Preparation for Using the ROLO / GIRO Model
Objectives of the session, and topics for presentation and discussion:
Methods for measuring lunar irradiance from images
  to identify potential sources of error
  covering all aspects of lunar irradiance measurements from images
Comparisons of lunar irradiance measurements to model outputs
  individually, for each instrument
  collectively, to identify common characteristics that may indicate potential errors in the lunar model
New developments toward advancing lunar models for a calibration reference

## Slide 2: Lunar Irradiance Measurements from Images
The irradiance summation equation:
We will discuss each component of the equation as applied for preparing data for using the GIRO or ROLO, including oversampling:
Oversampling η
Method used for determining the oversampling factor
Accounting for non-uniform spatial sampling
  e.g. motion of the Moon disk relative to the line of sight, including rotation
  potential rotating or accelerating scans

## Slide 3: Lunar Irradiance Measurements from Images
Radiance Li
Level of image processing, e.g. raw DN (level 0), level 1A, level 1B
Calibration used to convert DN to physical units
Dark/space-level evaluation and subtraction
Handling extraneous signals, e.g. ghost images, stray light, electronic crosstalk, light from the Earthlimb
Pixel IFOV Ωi
Method for evaluating, and uncertainty in its value
Possible dependence on the detector position in the focal plane array
Moon pixel selection Np
Method for determining pixels on the Moon, e.g. limb-fitting, threshold
Method for eliminating cosmic hits
Other requirements for using the GIRO or ROLO
Determining the observation time and spacecraft position
Finding Moon images in a data archive

## Slide 4: Part 2: Lunar Model Development
Current status of ROLO and its future development at USGS
Validation against ROLO: the GIRO benchmark
  currently in development phase
  to be used by GSICS lunar model developers
New models developed using recent lunar measurements
  including radiance models