## Slide 1: Inter-calibration Using the Moon to Bridge Instruments with Different Relative Spectral Responses in RSB
Lu Zhang, Peng Zhang , Xiuqing Hu, Lin Chen
National Satellite Meteorological Center （NSMC）

## Slide 2: Outline
Introduction
Methodology
Validation
Summary

## Slide 3: Introduction
.
...
.
Using lunar as a target for inter-calibration
Different relative spectral responses , Inter-band calibration
2. Different observation geometry of lunar

## Slide 4: Methodology
Different relative spectral responses
The Spectral Band Adjustment of RSRs by Apollo sample reflectance
Flowchart for spectral band adjustment of RSRs by Apollo sample reflectance

## Slide 5: Methodology

## Slide 6: Methodology
Using Model of Lunar Irradiance as a Bridge to inter-calibrate Sensors
Double-difference：
Double-ratio：

## Slide 7: Methodology
MODIS long stability

## Slide 8: Methodology
MODIS long stability

## Slide 9: Validation
SeaWiFS between MODIS
Use of the Moon for calibration and characterization of MODIS, SeaWiFS, and VIRS,Barnes, W,2006, 98-119

## Slide 10: Validation
SeaWiFS between MODIS
Use of the Moon for calibration and characterization of MODIS, SeaWiFS, and VIRS,Barnes, W,2006, 98-119

## Slide 11: Validation
ALI between MODIS
https://www.moon-cal.org/facility/observatory.php

## Slide 12: Validation
ALI between MODIS
https://www.moon-cal.org/facility/observatory.php

## Slide 13: Summary
Which satellite’s lunar observation are used as a benchmark?
The satellite’s lunar observation in many observation geometry.
The more bands of satellite have are better.
How large the different of observation geometry is appropriate?
The threshold value is testing.

## Slide 14: The end