## Slide 1: Interband calibration with PROBA-V
Stefan Adriaensen (VITO)
2nd GSICS/CEOS Lunar Calibration Workshop, Xi’an, China 13/11/20117 – 16/11/20117

## Slide 2: PROBA-V instrument
No active thermal control
No on-board calibration lamp
No solar diffuser
Design complexity
  3 Cameras
  2 focal planes:
    VNIR with 3 bands
    SWIR with 1 band but staggered strips

## Slide 3: PROBA-V Calibration
Absolute
Interband
Oceans
Deserts
DC Clouds
Antarctica
Greenland
Inter-pixel
Temporal
*Sterckx et al. IJRS, 2014; Sterckx et al. , TGARS, 2013; Govaerts et al., RSL, 2013
OSCAR* (Optical Sensor Calibration with simulated Radiances)
Relies on combination of various vicarious calibration methods to reduce uncertainty in the calibration results and to verify the different requirements
Yaw steering maneuver

## Slide 4: DCC interband calibration
Interband stability and calibration covered with DCC method
Requirement 3% interband stability
RED band is used to retrieve COT using libRadtran
TOA radiances are then retrieved for BLUE and NIR
Only VNIR bands are covered by the method :
    BLUE / RED
    NIR / RED

## Slide 6: DCC Results : 2015-2017 CENTER
BLUE
NIR

## Slide 7: BLUE and NIR / RED VITO LUNAR MODEL : 2014-2017

## Slide 8: BLUE and NIR / RED VITO LUNAR MODEL : 2014-2017
BLUE
NIR

## Slide 9: BLUE and NIR / RED GIRO : 2014-2017

## Slide 10: BLUE and NIR / RED GIRO : 2014-2017
BLUE
NIR

## Slide 11: Conclusion
Lunar interband calibration is not implemented as operational calibration method
Current results show accepable values within requirements
It has the potential :
      adding confident to the current calibration method DCC
      expanding interband to SWIR