## Slide 2: Scoring Reference Instruments
Scoring with Oscar

## Slide 3: Do we need to keep score?
Previously, proposed [2014-07-23]…
Selecting Anchor Reference
  Scoring all potential reference sensors
  Based on performance against requirements
  Based on contribution to uncertainty
  Still needed? If so, …
Could use WMO OSCAR to keep score
  But not all parameters included in database
  Could define scores offline & enter manually
  Visualise available references over long time series

## Slide 4: Application of OSCAR Gap Analysis
It is not practical to maintain all the factors of uncertainty and systematically derive the « score » in OSCAR
GSICS can compute the « score » outside of OSCAR,
  using its weighted combination of normalized criteria
The GSICS score is entered in OSCAR as instrument « property » for candidate reference sensors
«Intercalibration Reference» mission is created in OSCAR
Instruments are rated (from 1 to 5) for this mission according to their GSICS score (from 1 to 0)
GSICS owns the scoring algorithm and provides updates

## Slide 5
This allows drawing a Gap Analysis for GSICS Inter-calibration References
The advantage of using OSCAR is to link the scoring information, provided by GSICS, with the OSCAR information about instrument launch plans and status.
The advantage of using OSCAR is to link the scoring information, provided by GSICS, with the OSCAR information about instrument launch plans and status.
Notes: The advantage of using OSCAR is to link the scoring information, provided by GSICS, with the OSCAR information about instrument launch plans and status.

## Slide 6
Notes: Among the « gap Analysies by type of mission » we can select « GSICS IR Intercalibration » mission, which is defined in a short sentence, with a possibility to filter the result to only some of the spectral bands of the relevant instruments.

## Slide 7
Actual or firmly planned availability of sensors contributing to « GSICS IR Intercalibration » mission.
Notes: The instruments which have a positive score appear on the Gap Analysis chart, with the colour code corresponding to their GSICS score.
The grey bar at the bottom enables shifting the chart time window . Scrolling to the left will display early years where only HIRS data are available, while scrolling to the right will show future sensors of JPSS/CrIS and METOP/IASI-NG.
The time chart shows the actual or firmly planned availability of sensors contributing to « GSICS IR Intercalibration » mission.
Non-functional sensors or future sensors with no confirmed launch plan are thus excluded.

## Slide 8
A table displays all sensors specified to contribute to the mission, including non-functional ones or future sensors with no confirmed launch plan (e.g. CLARREO/Infrared spectrometer )
Notes: The CLARREO-1A Infrared spectrometer cannot be shown on the time chart since there is no confirmed operating period, but is listed in the table below the chart.
In spite of its excellent performance in the 5 -8 and 8 – 15 µm it is rated only 2 because the 3-5 µm is missing.

## Slide 9: Discussion
Previously, proposed [2014-07-23]…
Selecting Anchor Reference
  Scoring all potential reference sensors
  Based on performance against requirements
  Based on contribution to uncertainty
  Still needed? If so, …
Could use WMO OSCAR to keep score
  But not all parameters included in database
  Could define scores offline & enter manually
  Visualise available references over long time series
  How to pursue this offer?

## Slide 10: Dealing with Multiple References
IR Sub-Group Discussion:
Dealing with Change
(IR Reference Sensors)

## Slide 11: IR Sub-Group Discussion
Multiple hyperspectral reference sensors:
  IASI on Metop-A, -B,
  CrIS on SNPP, NOAA20
  AIRS on Aqua
  HIRAS?

## Slide 12: GEO-LEO IR Update - CrIS
Accept CrIS as GSICS Reference?
Is its calibration „in family“?
  (wrt IASI-A/B)
Is its calibration stable?
  (wrt IASI-A/B)
  Is its data freely available?
    With sufficient latency?
  What other questions should we ask?

## Slide 13: IR Sub-Group Discussion
What to do for GEO-LEO IR Products?
  NRTC
    Just switch RefA->RefB
    Switch RefA->RefB+∆
    Just average all* Refs (within limits)
    Full Prime GSICS Corrections
  RAC
    Useful for case studies?
  Re-processing, Re-calibration, FCDR, …?

## Slide 14: Dealing with Multiple References for FCDR Generation
∆A2B2
∆A1B1
Define ∆ Corrections
  Based on stable overlaps
Apply to all* references
  * at least all with stable references
Merge together
  Applying delta corrections
“Prime GSICS Correction”
Version changes:
Or Split time series
  When reprocessing impossible (e.g. onboard changes)
Reprocess whole dataset
  Where possible
Need to regenerate FCDR
  When any component changes
  Introduce review cycles
RefAv1
RefBv2
Time
RefBv1
RefAv2

## Slide 15: Dealing with Change
IASI on-board processing change
  Step change in Reference sensor record
Split before/after change
  Treat as separate sensors?
Automatically check for step changes
But what about drifts?