## Slide 1: Infrared Sub-Group Report Tim Hewison
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:

## Slide 2: Review Scope of the IR Sub-Group
The scope of the IR Sub-Group was agreed to be:
Counterpart of VIS/NIR, Microwave and UV Sub-Groups - For satellite instruments channels in thermal infrared
To establish user requirements for inter-calibration
Cooperate with instrument calibration groups - To communicate relevant information to the users - To help them understand the root cause of observed biases and develop fixes
Review existing, or Develop new inter-calibration - algorithms, procedures, corrections, etc. - to meet these
To define and promote calibration standards, tools and datasets, and best practices - Including selection of inter-calibration reference

## Slide 3
GPRC | Monitored Instrument | Reference Instrument | GSICS NRT Correction | GSICS Re-Analysis Correction | GSICS Bias Monitoring
EUMETSAT | Meteosat-8-11/SEVIRI | Metop-A/IASI Metop-B/IASI | Operational | Operational | RAC Plotting Tool
JMA | MTSAT-2 Imager? Himawair-8-9/AHI? | IASI (+ AIRS) +CrIS? | Demo? | Demo? | RAC Plotting Tool JMA Web
NOAA | GOES-11 & -12 Imager GOES-13 & -15 Imager GOES-16-17/ABI? | IASI (+ AIRS) | ? Pre-op ? | Demo Pre-op ? | ? Prototype Web? RAC Plotting Tool
 | GOES Sounder | IASI (+ AIRS) | Development | Development | In development
CMA | FY2C,E,F,G/VISSR FY2C/IRAS FY4A/GIIRS? | IASI (+ AIRS) | Development | Development | CMA Web CMA Web ?
KMA | COMS | IASI | Prototype | Prototype | KMA Web
ISRO | INSAT-3D/Imager INSAT-3D/Sounder | IASI-A | Demo | Demo | ISRO Web
GSICS GEO-LEO IR Product Status 2018-02
Full GSICS Product Catalog available at http://www.star.nesdis.noaa.gov/smcd/GCC/ProductCatalog.php

## Slide 4: Review Current Sub-Group activities
Promote GEO-LEO IR products to Operational + Support & Further Development
  a) For IR channels of GEO imagers – Tim, Masaya, Dohyeong, Hyesook, Minju, Manik, Fangfang
  b) GEO IR Sounders (multispectral) , Fangfang
  c) Preparation for hyperspectral IR - CMA?
Development of LEO-LEO IR products for
  a) imagers – Likun, Manik (MetopA/AVHRR), Tim, Fred ?, Fangfang
  b) Hyperspectral IR (incl CLARREO) - Likun, Dave T.,
Deployment of Prime GSICS Corrections – Tim , Masaya, Fangfang
Diurnal calibration variations - Masaya , Fangfang, Dohyeong, Hyesook, Minju
IR REFerence Uncertainty TraceABiLity rEport (IRRefUTable) – Tim, Likun, Dave T.
Development of NWP inter-calibration method - Fangfang
GEO-GEO comparisons - Dave, Hidehiko, Dohyeong, Hyesook, Minju , Fangfang
Instrument specification, pre-launch char., cal/val testing - Likun , Fangfang
Multispectral Reference IR inter-calibration – Dave, Rob, Likun
Spectral Response Function retrieval - Manik

## Slide 5: Inputs from KMA
Continue to collaborate with NOAA for the diurnal variation of IR channels
Continue to use the IASI/CrIS for AMI next year.
GEO-GEO direct comparison between COMS/MI(AMI next year) and AHI

## Slide 6: Inputs from EUMETSAT
Continue generating GEO-LEO IR Corrections for current GEO imagers (Hewison)
Consider starting to develop multispectral LEO-LEO GSICS products for SLSTR.(Hewison)
Consider continuing development of GSICS Prime Corrections and/or developing blended NRT reference products – subject to discussion at this year’s meeting (Hewison).
Continue my involvement in IRRefUTable (Hewison)
Start to develop an SRF retrieval algorithm (Hewison)

## Slide 7: Input from NOAA
1) Vector-based fast and accurate satellite collocation software (Wang)
2) CrIS spectral gap-filling method and coefficients (Xu)
3) Creating calibration link between CrIS and GPS RO measurements (Wang)
4) Inter-comparing NOAA-20 and SNPP CrIS : a) Direct inter-comparison b) through AIRS, IASI, and ABI as a transfer target (Wang)
5) Best Practice for Hyperspectral IR Sounder SDR Ground Processing (up to discussion results) (Wang)

## Slide 8: Inputs from NASA (Jack Xiong)
Continue working on MODIS-VIIRS inter-calibration
Working on SNPP and NOAA-20 VIIRS Inter-calibration

## Slide 9: Inputs from CMA(Hu)
Inter-comparing IRAS/FY3, GRIIS/FY4 with CrIS, IASI, and AIRS and report to GSICS
Testing CrIS gap-filling coefficients and method
Testing new collocation method is tested for other GPRO to check the impact of inter calibration of GEO LEO, LEO LEO.
Continue working on FY4 and FY2 broadband instrument comparison
IR Hyperspectral uncertainty evaluation caused from polarization should be investigated within GSICS community in the near future

## Slide 10: Inputs from CNES
CNES will continue to perform inter-calibration between the 3 IASIs, and between each one with AIRS and CRIS (Denis Jouglet).
Will report IASI-C Cal/Val activities to the sub-group, if needed (Denis Jouglet).

## Slide 11
Thank You for your contributions!