## Slide 1: GSICS VIS/NIR GEO ring considerations
Oct 17, 2019
David Doelling, Rabi Palikonda

## Slide 2: VIS/NIR GEO ring considerations
Calibration, must calibrate to the same reference
  This is the easy part, GEO/LEO-reference.
Spectral band differences, a reference SRF needed for each band
  Each surface type and cloud (scene type), would have its own spectral adjustment to the reference band
Parallax, navigation shifts, Use a geo-rectified grid
  Need to map to a common grid and account for cloud height
BRDF/glint, what is a suitable reference view?
  IR you could adjust the BT to a nadir view
  In the visible you have to worry about 3 angles, glint is a function of the sensor location.

## Slide 3
The CERES Ed4 GEO calibration was referenced to Aqua-MODIS C6.1 and the solar constant was based on the MODIS solar spectra
  https://cloudsway2.larc.nasa.gov/cgi-bin/site/showdoc?mnemonic=CALIB-ED4
  Realtime updated every 2 months: https://cloudsway2.larc.nasa.gov/cgi-bin/site/showdoc?mnemonic=CALIB-UPRT

## Slide 4: Vegetation BRDF effects
Backscatter is brighter than forward scatter
Forward scatter
Back scatter
Forward scatter
Back scatter
shadows
No shadows

## Slide 5: Vegetation BRDF effects
Backscatter is brighter than forward scatter
Forward scatter
Back scatter
Forward scatter
Back scatter
shadows
No shadows

## Slide 6: GOES-11/12 mosaic over the US
https://cloudsway2.larc.nasa.gov/cgi-bin/site/showdoc?mnemonic=SCIAMACHY-SPECTRA-ENHANCED
• For this case the SRFs are very similar
• Any change in the reflectance is mostly due to angular differences
• 0.0033 reflectance difference

## Slide 7: GOES-11/GOES-12 Visible, Sep. 26, 2006, 14:45
Line of matching VZA, where the two satellite images are pasted together
Images taken at the same GMT, at matching VZA the time is the same, therefor the SZA is the same
GOES-11
GOES-12

## Slide 8: GOES-11/GOES-12 Visible, 20:45Z, Sep. 26, 2006, 20:45
GOES-11
GOES-12

## Slide 9: GOES-11/GOES-12 Visible, 18:45Z, Sep. 26, 2006
Sun
Local noon
Sat1
75°W
Sat2
135°W
Both satellite have same SZA, VZA, and RAZ, geometry at local noon

## Slide 10: GOES-11/GOES-12 Visible, 20:45Z, Sep. 26, 2006, 20:45
GOES-11
GOES-12
Back scatter
Forward scatter

## Slide 11: GOES-17/16 mosaic over the US
• For this case the SRFs are very similar
• Any change in the reflectance is mostly due to angular differences
• 0.0001< reflectance difference

## Slide 12: GOES-17/GOES-16 Visible, Oct 7, 2019, 16:45
Line of matching VZA, where the two satellite images are pasted together
Images taken at the same GMT, at matching VZA the time is the same, therefor the SZA is the same
GOES-11
GOES-12
GOES-17
GOES-16
Backscatter
Forward scatter

## Slide 13: GOES-17/GOES-16 Visible, Oct 7, 2019, 18:45
Sun
Local noon
Sat1
75°W
Sat2
135°W
Both satellite have same SZA, VZA, and RAZ, geometry at local noon
GOES-17
GOES-16

## Slide 14: GOES-17/GOES-16 Visible, Oct 7, 2019, 20:45
GOES-17
GOES-16
Backscatter
Forward scatter

## Slide 15: GOES-15/16 mosaic over the US
• For this case the SRFs differ
• 0.0293 reflectance difference
• GOES-15 brighter than GOES-16

## Slide 16: GOES-15/GOES-16 Visible, Oct 7, 2019, 16:45
GOES-15
GOES-16
Backscatter
Forward scatter

## Slide 17: GOES-15/GOES-16 Visible, Oct 7, 2019, 18:45
Sun
Local noon
Sat1
75°W
Sat2
135°W
•Here there is a faint line where the satellites intersect due to the spectral difference between GOES-15 and 16.
• GOES-15 was predicted to be brighter and is
GOES-15
GOES-16

## Slide 18: GOES-15/GOES-16 Visible, Oct 7, 2019, 20:45
GOES-15
GOES-16
Backscatter
Forward scatter

## Slide 19: Spectral difference between GOES-15 and GOES-17 over same domain
• For this case the SRFs differ
• 0.0298 reflectance difference
• GOES-15 brighter than GOES-17

## Slide 20: Comparison of SCIA reflectance by azimuth angle
Backscatter
Forward scatter
Backscatter is 0.02 brighter than forward scatter over vegetation

## Slide 21: GOES-15/GOES-17 Visible, Oct 7, 2019, 16:45 GMT
GOES-17 135°W
GOES-15 128°W
The GOES-15 minus GOES-17 visible 4-km reflectance difference is mostly spectral

## Slide 22: GOES-15/GOES-17 Visible, Oct 7, 2019, 18:30 GMT

## Slide 23: GOES-15/GOES-17 Visible, Oct 7, 2019, 20:30
The land reflectance is increasing (bottom image)
The GOES 15 minus 17 reflectance increases as the image is more in backscatter due to the vegetation hotspot.

## Slide 24
Oct 7, 2019
1° lat/lon averaged grid,
The clouds can be compared at the 1002 km scales, at 4-km the cloud differences were noisy
Note that for forward scatter there is very little G17 – G15 difference. The differences become more negative for back scatter.
The maritime stratus is burning off during the day and cloud properties are changing over time

## Slide 25
Smaller particles are brighter, water clouds
Bands are located, where there is the greatest stratification of particle size
Cloud spectra a function of particle size

## Slide 26: Parallax demonstration
Will be looking for the parallax effect at the location in blue

## Slide 27: Parallax Error
cloud
SAT
10 km
45°
VZA nadir
EARTH
10 km
In this case the cloud is mapped 10km further North than clear sky underneath cloud
VZA=45°

## Slide 28: Parallax Error
cloud
SAT #1
10 km
45°
VZA nadir
EARTH
10 km
Satellite #1 and #2 see the cloud 20km apart
SAT #2

## Slide 29: Parallax, GOES-13 (75°W) CONUS, Aug 21, 2013, 20:32 GMT
Equal angle latitude and longitude grid
Satellite projection
46.5°N 86.5°W, VZA=54.66°

## Slide 30: Parallax, GOES-14 (105°W) Rapid Scan, Aug 21, 2013, 20:33 GMT
Equal angle latitude and longitude grid
Satellite projection
46.5°N 86.5°W, VZA=56.49°

## Slide 31: Parallax, GOES-15 (135°W) NH, Aug 21, 2013, 20:30 GMT
Equal angle latitude and longitude grid
Satellite projection
46.5°N 86.5°W, VZA=71.08°

## Slide 32: GEO Sunglint probability
Colorcoded with VIS count
Sunglint probability 0-100%
MTSAT-1R June 11, 2008, 23:30 GMT

## Slide 33: GEO Sunglint, close up
Waves
clouds
Smooth water
MTSAT-1R Jan. 24, 2008, 6:30 GMT
Dependent on wind speed

## Slide 34
sunglint
Aqua MODIS orbit mosaic

## Slide 35: Conclusions
GEO L1B -> calibration -> GEO cloud retrievals
  The GEO ring composite is between the calibration and cloud retrievals
To create the GEO ring composite, the calibration, scene dependent spectral difference and BRDF, as well as parallax must be taken into account
GEO calibration is the easy part
The spectral band and BRDF is typically part of the retrieval code and is highly dependent on scene type
For parallax the cloud top height, cloud shadow and navigation errors must be known
Many GEO bands were designed for cloud/land/aerosol/ocean color retrievals
  Need to make sure that during harmonization, the band information is not diluted

## Slide 36: Himawari-8 band 3 (0.65µm) faint vertical lines
usually at 3 GMT

## Slide 37: Backup

## Slide 38
Sept 26, 14:45, 18:45 (noon), 20:45
GOES-W/E, GOES10/12 May 2003- May 2006, GOES-11/12 June 2006-Mar 2010, GOES-11/13 May 2010-Nov 2011, GOES-15/13 Dec 2012-Dec 2017, GOES-15/16 Jan 2018 – July 2019,
GOES-15/16 and GOES-17/16 for Oct 7, 2019, and GOES-15 and GOES-17 domain difference.
GOES-13/16 Dec 2017-Jan 2018 over same domain
GOES-15/17 July 2019 over same domain