## Slide 1
Tim Hewison, Sebastien Wagner, Rose Munro, Bertrand Fougnie, Christophe Accadia, Viju John, Ken Holmlund, Dorothée Coppens,
Prepared for web meeting
2019-11-22
EUMETSAT proposed items for 2020 GSICS Working Groups Meeting

## Slide 2: Plenary Discussion
EUMETSAT Agency Report
Feedback from ISCCP-NG workshop
  impetus for GSICS to develop inter-calibration methods for all channels of advanced GEO imagers
Feedback from Workshop on SI-traceable Space-based Climate Observing System
  Coordination with CLARREO & TRUTHS missions
  Development of methods to tie GSICS products to absolute SI-scale
Plans for Pre-flight Characterisation & Calibration Workshop
GSICS Plotting Tool enhancements
Adoption of FIDUCEO vocabulary
Heikki Pohjola (WMO) requested 20min slot
Notes: Likun/Dorothée to revise

## Slide 3: VIS/NIR multispectral session
Lunar Calibration
  Development of lunar inter-calibration algorithm
  Plans for Lunar Calibration Workshop
DCC
  – extension to other channels (in VIS/NIR/SWIR)
Rayleigh Scattering algorithm
Pseudo Invariant Calibration Sites
  – data exchange (open action)
Polarimeter Inter-calibration
  EUMETSAT to propose to specialist meeting 2020Q3/Q4
  To review existing activities and propose strawman algorithm by 2021

## Slide 4: Infrared Session
GEO-LEO IR
  Progress towards operational status
  Further developments of GEO-LEO IR algorithm
Reference Sensors:
  Migration / Update on IASI-A/B/C
  Plans for rapid validation of FY-3E/HIRAS calibration
Definition of strawman GEO-GEO algorithm
LEO-LEO IR
  Update on SLSTR-IASI

## Slide 5: Microwave
Plans to develop inter-calibration algorithm for microwave imagers:
  Wes Berg report on GPM XCAL algorithm & lessons learnt
  EUMETSAT propose workshop
    to explore the implementation of the GPM XCAL algorithms to inter-calibrate other microwave imagers
Harmonisation of microwave humidity sounders
  for FCDR generation

## Slide 6: UV/VIS/NIR/SWIR Spectrometer
Plans to develop inter-calibration algorithm for SWIR sounders (CO2, CH4)
  Rose to expand…