## Slide 1: AHI/B07(3.9mm) Tb bias for cold scene
Meteorological Satellite Center of JMA
Arata Okuyama
GSICS GRWG web meeting on 13 January 2021

## Slide 2: Tb bias on AHI/B07 (3.9mm)
The IR cal/val based on IASI shows there is a negative Tb bias around a cold scene for AHI/B07 (3.9mm).
The bias appears in both of results using IASI-A and -B. (IASI-C is not implemented yet.)
There is no apparent negative bias for the results using AIRS and SNPP/CrIS.
IASI-B based radiance
H8/AHI radiance
IASI-B based Tb [K]
H8/AHI – IASI-B Tb [K]
220
260
240
280
300

## Slide 3: Tb bias on AHI/B07 vs HSSs
vs Metop-A/IASI
vs SNPP/CrIS
vs Aqua/AIRS
vs Metop-B/IASI
LEO based Tb [K]
H8/AHI – LEO Tb [K]
H8/AHI – LEO Tb [K]
H8/AHI – LEO Tb [K]
H8/AHI – LEO Tb [K]
LEO based Tb [K]
LEO based Tb [K]
LEO based Tb [K]

## Slide 4: Tb bias on AHI/B07 at 220K Trend
2015
2016
2017
2018
2019
2020
vs Metop-A/IASI
vs SNPP/CrIS
vs Aqua/AIRS
vs Metop-B/IASI
Negative bias
Negative bias
220K

## Slide 5: Uniformity check by CoV (coef. of variation)
As Fangfang pointed, the Tb bias for IASI for cold scene does not appear under adequate filtering by CoV (sd/ave) of radiance same as ABI.
No filtering by cov
Cov < 0.25
Cov < 0.05
For cold scene, the GEO-LEO Tb on the collocation data shows dependency on the cov of radiance.
Only the filtering by std. dev. of rad. is applied.
IASI-B
H8/AHI – IASI-B Tb [K]
Cov
Cov
All Tb
Tb < 230K

## Slide 6: Dependency of the Tb bias on cov
But, why do only the results using IASI show the Tb bias for cold scene?
AIRS
SNPP/CrIS
N20/CrIS
IASI-A
IASI-B
Dec. 2020
Dec. 2020
Dec. 2020
Dec. 2020
May 2020

## Slide 7: Where is the negative bias area?
Metop-A/IASI (cloudy sky)
Metop-B/IASI (cloudy sky)
Oct. 2020
Nov. 2020
Dec. 2020
mean Tb
mean DTb
The negative bias (dark blue) area:
  corresponds to low Tb areas.
  isn’t localized.
mean Tb
mean DTb
持ち時間２０分ですので、本スライドは軽く見せるだけに留めます。

## Slide 8: Where does the negative bias appear?
The negative bias seems to be less dependent on the parameters such as zenith angles.
(Minor dependency on longitude and observation time?)
Latitude [deg]
Longitude [deg]
Zenith angle (LEO) [deg]
Zenith angle (GEO-LEO) [deg]
Observation time [HH]
-30 -20 -10 0 10 20 30
110 120 130 140 150 160 170
-10 -5 0 +5 +10
0 10 20 30 40
10 11 12 13 14
H8/AHI – IASIB Tb [K] vs…
1-29 Dec. 2020, the collocation data with GEO/LEO_Tb < 230K
Dec. 2020
持ち時間２０分ですので、本スライドは軽く見せるだけに留めます。

## Slide 9: Each channel of the hyper-sounder data
Before, I only had seen the plots (left) by the super-channel and AHI Tb bias.
This time, I focused on each channel data of the hyper-sounder at a collocation point (right).
This AIRS case shows good agreement between the AIRS each channel measurement and AHI observation.
AIRS based Tb [K]
AIRS and AHI Tb bias
AHI/B07
H8/AHI – AIRS_based_Tb[K]
AHI obs. Tb
AIRS Tb
AIRS each channel data
pick up AIRS measurement at this collocation data 
23-25 Dec. 2020
Wavelength [um]

## Slide 10: more examples by AIRS with ~220K
consistent with AHI observation.

## Slide 11: SNPP/CrIS cases with ~220K
CrIS covers
l > 3.9um
Similar to AIRS, consistent with AHI observation.

## Slide 12: Metop-A/IASI cases with ~220K
IASI data has more fluctuation than AIRS and CrIS,
and it has negative radiance values in some channels.
Negative radiances

## Slide 13: Metop-B/IASI cases with ~220K
also fluctuated,
and negative radiance values in some channels.

## Slide 14: The fluctuation on IASI measurement
1) The negative radiances:
are observed for some channels in the cold scene.
are not limited by specific channels.
less for longer wavelength.
IASI-B
~220K
~230K
~250K
No negative-radiance
2) The radiance with fluctuation:
can be seen in colder scenes.
Both of IASI-A and –B show these aspects.
457 / 1054 negative
79 / 1054 negative
No negative radiances for longer wavelength

## Slide 15: 1) How do we process the negative values?
* Gap channel: A virtual channel to complement an absence of HSS channel data. It’s composed by RTM computation based for several atmospheric profiles.
In JMA’s implementation, the observation by the channels with the negative radiance is replaced by the “gap channel” radiance.
Does the gap channel bring error?  wouldn’t be expected.
  For the cold scene, the estimated Tb bias of w/o compensated by the gap channel method is larger than that of w/ compensation .
Thus, the bias could not be caused by the negative radiance but by the fluctuation of the radiance.
w/ the gap channel compensation
w/o the gap channel compensation
IASI-B based Tb [K]
IASI-B based Tb [K]
AHI –IASI-B Tb [K]
時間次第で省略するかも

## Slide 16: 2) How much does the radiance fluctuate in the band?
LBLRTM computation for atmospheric profiles with thick cloud around upper air shows almost constant radiance for the 3.9um band.
AHI/B07
Thick cloud at 194.36 hPa of Tropic
Thick cloud at 194.36 hPa of US Std
Thick cloud at 478.54 hPa of Tropic
Thick cloud at 478.54 hPa of US Std
Wavelength [um]
4
6
8
10
3.7 3.8 3.9 4.0 4.1
Simulated Tb by LBLRTM
時間次第で省略するかも

## Slide 17: Summary
AHI/B07 shows negative Tb bias in cold scenes under the validation using IASI-A/-B. (IASI-C is not checked yet.)
The negative Tb bias does not seen under the application of the uniformity check by cov.
   Is the strict uniformity check necessary also for AHI? Even though no collocation data remains under the condition?
There are negative radiance values and fluctuations on some of IASI channels at collocation data in cold scenes.
Is there any existing research which reports calibration characteristics of IASI for cold scenes for shorter wavelength?

## Slide 18: Backup

## Slide 19: Radiance plot of each channel