## Slide 1: GOES-13 and GOES-16 3.8µm and 11µm BT direct comparisons to stress the importance of scene dependent SBAFs
David Doelling and Conor Haney
GSICS IR subgroup meeting
Nov 2, 2023

## Slide 2: Motivation
Can the same nighttime cloud retrieval algorithm be used between GOES-16 and GOES-13 utilizing only the 3.8µm (SIR) and 11µm (WN) channels?
  The goal is continuity cloud properties between GOES 2nd (GOES-8 to 15) and 3rd generation (GOES-16 to 19) for the CERES project
During December 2017 the GOES-13 and GOES-16 GEO satellites were both located at 75° W
  Both GEO domains are angle matched
The GOES-13 and GOES-16 sensor differences
  SIR and WN IR channels are spectrally different
  The SIR and WN channels pixel resolution is 4x2.3-km for GOES-13 and 2x2-km for GOES-16
  GOES-13 scans FD from North to South in 26 minutes
  GOES-16 scans a FD image every 15 minutes
Comparison of GOES-13 and GOES-16 0.1° gridded BT for Jan 1, 2018, 5:45 GMT (both sensors)

## Slide 3: Spectral Response functions

## Slide 4
mean 2-km reflectance
darkest 0.5-km reflectance within a 2-km footprint
brightest 0.5-km reflectance within a 2-km footprint
courtesy of Andy Heidinger

## Slide 5
G16 BT

## Slide 6
G16 HOT-COLD BT pixel in 0.1° grid

## Slide 7
G13 HOT-COLD BT pixel in 0.1° grid

## Slide 9
reduced colorbar range

## Slide 10
SE corner has some visible light

## Slide 11: • The next slides have BTsigma<0.25K homogeneity filtering applied • no land and ocean separation or VZA stratification

## Slide 12
G16 BT
BTsigma<0.25K

## Slide 13
G16-G13 BTD
BTsigma<0.25K

## Slide 15
Land
Land
ocean
0°<VZA<40°
40°<VZA<90°
most spatial homogeneous (SDV) 0.1° gridded regions G-13 and G16 scatter plot
3.7µm

## Slide 16
Land
ocean
0°<VZA<40°
40°<VZA<90°
most spatial homogeneous (SDV) 0.1° gridded regions G-13 and G16 scatter plot
11µm

## Slide 17
Land
ocean
0°<VZA<40°
40°<VZA<90°
most spatial homogeneous (SDV) 0.1° gridded regions G16 minus G13 BTD density plot
11µm

## Slide 18
Land
ocean
0°<VZA<40°
40°<VZA<90°
most spatial homogeneous (SDV) 0.1° gridded regions G16 minus G13 BTD density plot
3.7µm

## Slide 19: Conclusions
The world is partly cloudy, if the satellite has differing spatial resolutions, must locate the spatially homogeneous gridded BT to identify inter-calibration events
To account for IR sensor spectral differences, the scene type specific SBAF must be utilized