## Slide 1: JMA Agency Report 2021
OKUYAMA Arata
Meteorological Satellite Center of JMA

## Slide 2: JMA GSICS Corrections
Status of GSICS Correction by JMA
  The following Corrections are available from the GSICS server in EUMETSAT
  Near-Real Time Correction
    Himawari-8 / AHI / IR based with reference to IASI-A/-B, AIRS: Demo. phase
    MTSAT-2 / IMAGER / IR with reference to AIRS, IASI-A: Demo. phase
  Re-analysis Correction
    Himawari-8 / AHI / IR with reference to IASI-A/-B, AIRS: Demo. phase
    MTSAT-2 / IMAGER / IR with reference to AIRS, IASI-A: Demo. phase

## Slide 3: JMA GPRC web pages
Landing page (cal. portal)
  Calibration monitoring
    New validation approach (ray-matching) will be added in 2Q this year.
  Navigation monitoring
  Event logging
  Instrument information
Event logging
  Information of incomplete imagery
  Processing Events
  Data Outage
Landing page:
https://www.data.jma.go.jp/mscweb/en/oper/calibration/calibration_portal.html
Event logging:
https://www.data.jma.go.jp/mscweb/en/oper/event_H8.html

## Slide 4: Support to GDWG Activities
A landing page of JMA/MSC is updated responding to the update of WMO/OSCAR.
  WMO/OSCAR page structure is updated in the last October. JMA/MSC landing page (calibration portal page) has some links to the WMO/OSCAR. The links are updated. (in response to an action in CGMS)
  The CGMS action also recommend for members to make SRF information available on their landing page. We confirmed that JMA/MSC landing page has the information.