## Slide 1: GRWG Summary Decisions, Actions, Recommendations

## Slide 2: We are…
Happy international women day for Ladies!

## Slide 3: Mini Conference
ESA | ESA EO Programme
ESA | ESA CCI (Climate Change Initiative) Programme
NOAA | GOES-16/-17 ABI Calibration Performance and Updates
ESA | Fiducial Reference Measurements Concept
ESA | Aeolus Mission Status
ESA | Toward FCDR and uncertainties information for Altimetry
VITO | Lunar Calibration Update
ECMWF | ECMWF Copernicus Activities Related to Inter-calibration
NPL | Quality Assurance for EO and CEOS Activities
Fiducial Reference and Quality Assurance for EO mission and FCDR reqirement is Key issue in this mini-conference
  Ground-based and Space-base Reference Measurement （FRM, GRUAN, CPF, TRUTH…)
  Model calculation （RTTOV, ERA-5… ）

## Slide 4: Plenary(Agency report)
METOP-C : Commissioning test (IASI-C)
GOES-17 : overview of cal/val Activities, LHP Anomaly
GK-2K : GK2A status is under in-orbit-test .
FY-3D/FY-4A/FY-2H : Finished Commissioning test and data dissemination to outside
GCOM-C/SGLI and GOSAT-2
NIST air-LUSI and NIST star
ROSHYDROMET IKFS-2 and MSU-GS

## Slide 5: Plenary(WG report)
MWSG has grown and is still expanding. Continue to engage with other communities. Focus on methods to characterize MW sensors. Developing best practice, for example MW SNO. Matrix of deliverable products.
IRSG focuses on hyperspectral instruments and multispectral band instruments, and pointed out several emerging issues, including gap filling , collocation , RTM convolution.
VNIR SG has generated new SBAF, NPP-VIIRS NOAA V2 product as the GSICS official VIS/NIR Reference, Rethinking L1B calibrated radiance datasets. Lunar Calibration Status, DCC Calibration , Combine the multiple calibration approaches .
UV SG is leading the project on the ground-based characterization and A workshop is planned for Feb 2020. Proposed to re-name the sub-group as Reflective Solar Spectromenter . The main focus of the group is trace gases; the instruments are of high spectral resolution (sub-nm); and polarization

## Slide 6: Plenary (WG report/Briefing)
A.GWG.2019.3b.1 | Action: Scott to ensure that POC for SWTT from each agency be nominated. |  | 
R.GIR.2019.3d.1 | Recommendation: Dave D. to clarify whether his concern or suggestion about SBAF has been fully addressed. |  | 
R.GIR.2019.3d.2 | Recommendation: Likun to clarify whether or to what extent GitHub should be used instead of GSICS Wiki. |  | 
R.GIR.2019.3d.3 | Recommendation: Ed K. to contact Masaya T. about sharing SRF information in MWSG. |  | 

## Slide 7: Special session on re-cal/re-processing
FIDUCEO = systematic use of metrology principles for climate data records based on EO data. Current FCDRs: AVHRR FCDR,HIRS,MW sounders,Meteosat VIS; typical TCDRs:Surface Temperature,UTH, albedo + aerosol.
GEO-Ring: SCOPE-CM/IOGEO, Rob presented the summary of the methods deployed by the various participants for VIS, IR and WV calibration. In particular there is a clear wish to pursue inter-agency collaborations.
JMA：Re-calibrating WV/IR channels of GMS/MTSAT imagers using HIRS/2, AIRS, and IASI.
Inter-calibration for climate monitoring system - collaboration with ISCCP. Knapp provided a very useful feedback on the use of GSICS data, including accessibility, ATBD usefulness, data contents and design of the GSICS websites.
NOAA S-NPP/VIIRS v2 Processing: The main difference between the v1 and v2 were presented: solar spectrum, bias correction, filters for bias corrections (Kalman filter) combining lunar cal, DCC, solar diffuser, SNOx.

## Slide 8
China reprocessing: CMA's recalibration/reprocessing activities. FY-1, -2, -3 reprocessing for FCDR generation for VNIR, IR and MW. Expected accuracy levels after reprocessing were listed for the various spectral regions. Rapid processing technologies are needed to support such an intensive reprocessing activity. Data record duration: 1999-2020.
O-B: Long-term calibration monitoring using UKMO NWP. Only clear sky data are kept for the analysis using RTM simulation. The satellites/instruments in scope: Met-8,9,10,11 SEVIRI, Metop-A/B IASI and HIRS, Aqua AIRS, NOAA 17 and 19 HIRS, AATSR. it is also possible to look at scan biases and scene dependences.
R.GWG.2019.3j.1 | Rob Roebeling (EUMETSAT) to consider removing seasonal cycles from IOGEO time series in order to check the stability. |  | 
A.GDWG.2019.3l1 | GDWG to check how to split follow up actions between GDWG and GRWG to address the feedback |  | 
A.GRWG2019.3m.1 | NOAA Sirish to report back on outcome of comparison of VIIRS v2 versus NASA SIPS dataset. |  | 
A.GRWG2019.3n.1 | ECMWF to clarify time scale with the partner agencies for input data needed for ERA-6 activities. |  | 
A.GMW2019.3o.1 | MW subgroup to follow up the possibility to define best practices for such an approach. |  | 
A.GRWG2019.3p.1 | Tim Hewison (EUMETSAT) to set-up a web meeting to initiate a discussion on establishing a strawman algorithm for GEO-GEO inter-comparisons. |  | 
Special session on re-cal/re-processing

## Slide 9: Plenary Cross-cutting Topics
GSICS Annual Report - way forward
WMO CIMO Guide Updating; PART III: Space-based observation
New WMO GSICS Portal website
Collaboration with CGMS Space Weather Coordination Group
D.GWG2019.3q.1: | Decisions: GSICS Annual Reports should contain the following information: Mean Bias & SD - 1 year (or shorter in special cases) & Drift and Time series plots - full operational lifetime | 

## Slide 10: GRWG (VIS/NIR-lunar calibration)
Evaluation of GCOM-C/SGLI Lunar Calibration Using GIRO
Sentinel-3 lunar acquisitions
air-LUSI: Measuring Lunar Spectral Irradiance from a High-altitude Aircraft
Update on Lunar Measurements in China
Lunar Calibration of GOES-16/17 ABI
Prototype for MTF Using the Moon + Discussion
Lunar Irradiance Measurements and Modeling Using an Aerosol Photometer
TSIS-1 total and spectral solar irradiance observations

## Slide 11: GRWG (VI/NIR-sub-group)
MODIS/VIIRS VIS/NIR calibration status
NOAA STAR VIIRS Reprocessing Status and Updates
Ice radiance technique for calibration monitoring and intercomparison
Discussion of NOAA V2 calibrated NPP-VIIRS datasets for GSICS
Evaluating NOAA-20 and SNPP VIIRS Radiometric Consistency for VNIR Bands
Use of VIIRS in AHI vicarious calibration
Impacts of I01 and M05 of S-NPP/VIIRS on AHI-VIIRS Ray-matching
SBAF tool update
OLCI-A/OLCI-B intercalibration with DCC in tandem phase
SLSTR VIS/SWIR channel calibration (including Deserts and Sun-Glint methods)
Towards harmonization of multi-sensor high resolution time series: the Belharmony approach
Review atmospheric radiative transfer models suitable for vicarious calibration
DCC calibration paper discussion, and next years web meeting discussions, Rayleigh scattering, DCC implementation in the NIR

## Slide 12: GRWG (MW sub-group) (1/4)
1. The calibration of newest MW sensors (NOAA-20, MetOp-C, AMSR-2, MWRI & MWRS) appear to be the best to date - newly launched sensors, agencies adopting GSICS methods.
2. Stability of orbits in newer satellites appear to be paving the way for future references, esp. temp. sounding channels (Cheng-Zhi)
3. Bringing closure on RTM differences may shed light on their use in DD techniques, although still needs to be some uniformity on how input data are used (i.e., we still seem to have not quite conquered filtering for clouds and other contaminants - could be a future MW group activity?)
4. The NWP community is providing greater insight on sensor calibrations (Qifeng, Fabien, Alan, etc.), the OMB with the clear sky radiance fitting well, confirm another possible reference to evaluate and characterize the instruments.

## Slide 13: GRWG (MW-sub group) (2/4)
5. GSICS MW deliverable - X-Cal MWI calibrations. Closure is coming soon, still need to iron out content provided and whether their methods could be duplicated by other agencies, and whether actual code could be shared (a CGMS matter?)
6. We discussed MWI constellation gap and what its impacts are (Mitch, Alan, Fabien). There are EDR's that are unique to MWI, although MWS could fill in some gaps, esp. in weather applications. There are suggestions to dive deeper in particular areas such as snow and ice
(Mitch, a new CGMS group?). It was also noted that impact studies could demonstrate more than impact at 500 mb anomaly scores - what about particular devastating storms were MWI observations were critical in storm intensity and track?
7. GSICS MW could provide a short summary paper on impact of MWI gap and possible solutions
8. A Strawman draft of a plan to develop inter-calibration products for microwave imagers is outlined. This is initiating the outline of the GSICS MW response to WIGOS2040 to be reported on at CGMS-47

## Slide 14: GRWG (MW-sub group) (3/4)
R.GMW.2019.5j.1 | Shengli Wu (CMA) to analyse SNOs as a function of radiance and latitude | 
A.GMW2019.3o.1 | MW subgroup to follow up the possibility to define best practices for such an approach (this came out of talk 3o by Saunders) | 
A.GMW.2019.5m.1 | Action: Bomin Sun (NOAA) to repeat analysis of time series with regular operational RS92 radiosondes and report comparison of results with those from GRUAN sondes. | 
A.GMW.2019.5m.1 | Action: Rachel Kroodsma (NASA) to contact Wes Berg about sharing university code with CMA | 
A.GMW.2019.5m.2 | Action: Shengli Wu (CMA) to attempt to apply X-Cal algorithms to MWRI and report on completeness of algotihm description (by 2019-09) and results (by 2020-03). | 

## Slide 15: GRWG (MW-sub group) (4/4)
A.GMW.2019.5m.3 | Ralph Ferraro (NOAA) to re-send details of GPM X-Cal LUT deliverable to MWSG members for comment | 
A.GMW.2019.5o.1 | Isaac Moradi (UMD) to will address large differences between N20 & SNPP WV channels with LBL model and compare the massive ensemble over the tropics. | 
A.GWG.2019.5p.1 | Mitch to propose a international cooperation on sea ice products to CGMS. | 
A.GWG.2019.5t.1 | Manik Bali (NOAA) to circulate white paper on microwave imager inter-calibration to all agencies for review/contribution | 
A.GMW.2019.5x.1 | RALPH TO DRAFT ACTION TO TAKE THIS FORWARD! | 
Decision: D.GMW.2019.5m.1 | GPM X-Cal to be accepted as GSICS Deliverables, subject to positive feedback on completeness of algorithm description. A full GSICS product would need uncertainties to be included. | 

## Slide 16: GRWG (IR-sub group)-1/3
A.GIR.2019.7f.1 | Xu Liu to apply convolution error analysis to all ABI IR channels | 
A.GIR.2019.7f.1 | Xu Liu to work with NOAA and EUMETSAT to apply gap-filling method to extend IASI coverage for AVHRR and SLSTR SW channels | 
A.GIR.2019.7g.1 | NOAA(Mitch ) will confirm the person who do NWP double difference for Hyperspectral instruments | 
A.GIR.2019.7g.2 | Bill from ECMWF will also offer results of NWP double difference for Hyperspectral instruments | 
A.GIR.2019.7i.1 | Minu Gu (KMA) to check whether homogeneity tests limit cold end of dynamic range for WV and SWIR channels. | 
A.GIR.2019.7j.1 | Likun Wang (NOAA) to check "massive means" method to compare CrIS on SNPP and N20. | 

## Slide 17: GRWG (IR-sub group)-2/3
A.GIR.2019.7k.1: | NOAA (Fangfang Yu) generates GSICS correction for GOES-16 and -17 correction coefficients. NOAA to generate NRTC & RAC for ABI | 
R.GIR.2019.7k.1 | Switch to IASI-B asap as Anchor reference for NRTC and RAC products | 
A.GIR.2019.7k.1 | Yusuke Yogo investigates the weighting regression when switching X and Y. | 
A.GIR.2019.7k.2 | Fred wu shares the conference paper on spectral adjustment during the web meeting. | 
A.GIR.2019.7s.1: | CMA will propose a baseline GEO-GEO algorithm through a FY-2 and FY-4 inter-comparison. | 
A.GIR.2019.7s.2: | Tim will set up the web meeting to discuss GEO-GEO algorithms. | 

## Slide 18
A.GIR.2019.7u.1: | Fangfang to work with KMA to extend 3.9 micron cold bias analysis to AMI. |  | 
A.GIR.2019.7u.2: | Likun to investigate ABI resampling issue with VIIRS if GOES-R team can provide the spatial kernel functions. |  | 
A.GIR.2019.7v.1: | Hui Xu to develop IASI SW extension based on cloudy and land scenes (in addition to clear oceans) |  | 
GRWG (IR-sub group)-3/3

## Slide 19: GRWG (UV-sub group)
A.GUV.2019.8A.1: | On UVSG to participate in GSICS Rayleigh calibration meeting, relevant to their planned inter-calibration approaches. |  | 
A.GUV.2019.8A.1: | On Larry Flynn, NOAA, to investigate acquiring Mg II Index and Sun Spot time series as GSICS deliverables. |  | 
A.GUV.2019.8b.1: | On Rose Munro, EUMETSAT, to circulate proposals for a new subgroup name. |  | 
The UV sub-group session was focussing on two main areas. The first was to provide a summary of current on-going activities with a particular focus on the on-going activities at NOAA and with a second focus on reference solar irradiance spectra, paying particular consideration to the spectral aspects. Participation by Odele Coddington (LASP) and Julian Gröbner (PMD), supporting the spectral solar irradiance discussion, was much appreciated and the productive contact that has been initiated will be continued.
The second focus was to discuss the proposal to rename the UV sub-group to better reflect the defacto scope of the UVSG which is (inter-)calibration of UV-Vis-NIR-SWIR spectrometers. This proposal has been positively received and endorsed. This will be taken forward. The presentation by R. Munro also provided an introduction to the special session on incorporating inter-calibration of SWIR spectrometers.

## Slide 20: GRWG (UV-sub group)
Dave Crisp (NASA) provided an extensive and very interesting overview of the challenges and opportunities in (inter-)calibration of SWIR spectrometer.
Specific detailed points it was agreed that the inter-calibration of SWIR spectrometers would be addressed within the UVSG, also taking into account the planned renaming of the UVSG to better reflect the defacto scope of the activities.
Agreed that GSICS can make a very positive contribution to the inter-calibration of SWIR spectrometers, an area of increasing importance taking into account the increasing number of GHG missions, in-orbit, in development of planned. The group was also encouraged to raise the importance of (inter-)calibration for this class of instruments in other international fora.
Special session on incorporating inter-calibration of SWIR spectrometers
A.GUV.2019.8f.1: | To arrange a UVSG web meeting to further discuss specific opportunities and priorities for SWIR spectrometer inter-calibration within the frame of GISCS. |  | 

## Slide 21: Plenary (cross cutting issue)
GSICS Requirements on Instrument Performance Monitoring
Preparation for forthcoming meetings (e.g. SI-traceable Reference Instrument WS, Lunar Calibration WS) SWTT initiation
How to update actions in GSICS Action Tracker
Mission-Integration Calibration Monitoring & Inter-Calibration System (MICMICS)
CLARREO Pathfinder - Updates

## Slide 22
2019 working Plan from each agency
Products

## Slide 23
Thank you