## Slide 1: Report from ISRO Annual Meeting of GRWG/GDWG, Frascati, Italy 4-8 March 2019
Pradeep Thapliyal, Munn Shukla, Nitant Dube
Space Applications Centre (ISRO)
India

## Slide 2
ISRO Current satellites for Earth Observations
00
01
02
03
04
05
06
07
08
09
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
YEAR...
KALPANA-1 (VHRR)
INSAT-3A (VHRR, CCD)
INSAT-3D (IMAGER & SOUNDER)
INSAT-3DR (IMAGER & SOUNDER)
Oceansat-2 (OCM, SCAT, ROSA)
GEO
LEO
INSAT-3DS (IMAGER & SOUNDER)
GISAT (MX-VNIR, HyS-VNIR, HyS-SWIR, MX-LWIR)
MT (MADRAS, SAPHIR, ScaRaB, ROSA)
SARAL (ALTIKA, ARGOS)
Resourcesat-2 (LISS-3/4, AWiFS)
RISAT-1 (C-SAR)
Land & Water
Atmosphere & Ocean
CARTOSAT-2 (PAN)
CARTOSAT-1 (Stereo PAN)
Cartographic
SCATSAT-1 (Scatterometer)
Resourcesat-2A (LISS-3/4, AWiFS)
CARTOSAT-2E (PAN)
Oceansat-3 (OCM, LWIR, SCAT)
CARTOSAT-3 (PAN)
NISAR
NASA-ISRO
CNES-ISRO
CNES-ISRO
00
01
02
03
04
05
06
07
08
09
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
YEAR...
NEMO-AM (MADPI)

## Slide 3
Main contribution to GDWG actions
  GSICS Website development – Demo version operational (web page address: https://mosdac.gov.in/gsics - need to be corrected at WMO site)
  INSAT-3DR NRTC demo products added in GSICS Website
  THREDDS server setup completed (Webex meeting on 23 Jan 2019)
  GSICS Plotting tool under development – awaiting RAC products

## Slide 4
Main contribution to GRWG actions
  Intercalibration procedure established for INSAT-3D Imager and Sounder (NRTC) –Demo phase
  Intercalibration procedure is operational for INSAT-3DR Imager
  INSAT-3D/3DR RAC products - under development
  Results from vicarious calibration of INSAT-3D/3DR radiances using in-situ upper air observations over ISRO cal-val site Kavaratti island were analysed.
  GEO-GEO inter-comparison of INSAT-3D/3DR and MSG-SEVIRI carried out
  INSAT-3D/3DR Visible channel calibration using DCC method is in implementation phase – in collaboration with Dave Doelling, NASA
  INSAT-3D/3DR Visible channel calibration using ray-tracing method is in near completion phase.

## Slide 5: ISRO GSICS website

## Slide 6
ISRO GSICS Plotting Tool (INSAT-3D)

## Slide 7: Issues
Retention of residual biases after GSICS correction
  Currently diagnosing the problem
  Exploring effect of conversion in radiance unit
  Non-linearity in the GSICS correction – exploring various possibility to incorporate the non-linear correction

## Slide 8
Thanks