## Slide 1: JAXA Agency Report 2019
Hiroshi Murakami, Misako Kachi, Takashi Maeda,
Kei Shiomi, Takeo Tadono, Yuki Kaneko, Kosuke Yamamoto
JAXA

## Slide 2: Presentation Overview
Agency’s GSICS Activities, Action & Achievements Summary
Agency’s support to GDWG Activities
Agency’s support to GRWG Activities
Agency’s Instruments Updates & Planned launches – relevant to GSICS if any
Introduce/Confirm the Agency’s Personnel supporting GSICS
Agency’s GSICS activities to be discussed in this joint meeting.

## Slide 3: Agency’s GSICS Activities, Action & Achievements Summary
Current GSICS Activities
  GCOM-C/SGLI lunar calibration using GIRO
  GOSAT-2 was launched on October 29, 2018; GOSAT-2/CAI-2 lunar calibration using GIRO
  Cross-calibration between GCOM-C and AHI
  Cross-calibration among passive microwave imagers (AMSR2, AMSR-E, GMI, TMI)
  Cross-calibration between TRMM/PR and GPM/DPR
Action Status
  None

## Slide 4: Continuity of the GPM/DPR and the TRMM/PR
Both GPM/DPR’s calibration factors and TRMM/PR’s calibration factors were changed in 2017.
After the algorithm update in Oct. 2018, the GPM/KuPR V06 and the TRMM/PR V8(GPM TRMM V06) show better continuity on surface precipitation rate.
KuPR V6
KuPR V5
PR V7
PR V8
Over-land surface precipitation rates averaged in 35S-35N.
KuPR V6
KuPR V5
PR V7
PR V8
Over-ocean surface precipitation rates averaged in 35S-35N.

## Slide 5: Support to GRWG Activities
Main contribution to GRWG actions
  GCOM-C/SGLI lunar calibration using GIRO
    all SGLI GLOD data (once/month in Jan 2018 –Jan 2019) have been submitted)
    (the details will be presented in the VIS/NIR Sub-Group session tomorrow);
  GOSAT-2/CAI-2 lunar calibration using GIRO
    GOSAT-2 was launched on October 29, 2018.
    CAI2 first lunar calibration on December 23, 2018
  GCOM-C/SGLI thermal infrared cross calibration with sounders
    AIRS, IASI, CrIS
  GCOM-C/SGLI cross calibration with Himawari-8/AHI
    Over the ocean and water-cloud
  Participation to MW SubGroup (telecons and presentations)

## Slide 6: SGLI Lunar CAL by GIRO
VNR-NP Nadir relative trend (Normalized 2018/2/1)
[only Roll angle =0 or +1deg]
IRS-SWI relative trend (Normalized 2018/2/1)
(After phase angle dependence correction)
1.01
1.00
0.99
0.98
0.97
0.96
0.95
Relative SGLI/GIRO
Relative SGLI/GIRO
the details will be presented by Mr. T. Hashiguchi in the VIS/NIR Sub-Group session tomorrow
Launch
+7±3deg
VNR-NP
(push-broom type)
IRS-SW03(1.6um)
(whisk-broom type)
2018/9/25
2018/9/25

## Slide 7: GOSAT-2 Lunar CAL by GIRO
CAI2 radiance compared with GIRO (Very Preliminary)
We will investigate the pitch rate from a satellite attitude, image lines and an IRU rate.
Band1 (340nm)
Band6 (380nm)
GOSAT-2 was launched on October 29, 2018.
CAI2 has been operated the lunar calibration for radiometric calibration by along-track (AT) scans (satellite pitch rotations) once a month since December. The lunar phase angle is targeted around 7 deg.
CAI2 observes at 340, 380, 440, 550, 670, 870, and 1630 nm and compered with GIRO. 340nm is compared with the extrapolated model.
CAI2 first lunar calibration by AT scan on December 23, 2018
Illustration of GOSAT-2 lunar calibration

## Slide 8: SGLI CAL: TIR cross calibration by satellite sounders
Feb
Jul
AIRS
CrIS
IASI
Difference<0.003% (~0.24K@300K*)
*10W/m2/sr/um(@300K) *0.003 *8K/(W/m2/sr/um)=0.24K
 | AIRS |  |  | IASI |  |  | CrIS |  | 
 | TI01 | TI02 | N | TI01 | TI02 | N | TI01 | TI02 | N
2018/1 |  |  |  | 0.9983 | 1.0012 | 38758 |  |  | 
2018/2 | 0.9967 | 0.9995 | 13238 | 0.9987 | 1.0012 | 42458 | 0.9969 | 0.9995 | 8330
2018/3 | 0.9968 | 0.9996 | 18933 | 0.9990 | 1.0015 | 69500 | 0.9972 | 0.9988 | 21338
2018/4 | 0.9976 | 1.0003 | 13972 | 0.9992 | 1.0016 | 54608 | 0.9973 | 0.9997 | 12859
2018/5 | 0.9977 | 1.0001 | 6697 | 0.9993 | 1.0014 | 30452 | 0.9975 | 0.9998 | 9044
2018/6 | 0.9983 | 1.0002 | 14585 | 0.9996 | 1.0013 | 55470 | 0.9983 | 1.0000 | 18759
2018/7 | 0.9977 | 0.9998 | 13950 | 1.0001 | 1.0015 | 55226 | 0.9984 | 1.0000 | 11862
2018/8 | 0.9980 | 1.0002 | 16852 | 0.9996 | 1.0012 | 47999 | 0.9975 | 0.9997 | 13417
2018/9 | 0.9980 | 1.0002 | 11516 | 0.9998 | 1.0015 | 21362 | 0.9979 | 1.0000 | 22953
2018/10 | 0.9974 | 1.0001 | 24509 |  |  |  | 0.9974 | 0.9999 | 19213
AIRS
AIRS
Sample number
IASI
IASI
Jan 2018
Oct. 2018
Feb. 2018
Mar. 2018
Apr. 2018
May. 2018
Aug. 2018
Jul. 2018
Jun. 2018
Sep. 2018
Nov. 2018
SGLI/sounders
11m
12m
11m
12m
11m
12m

## Slide 9: SGLI SST (TIR)
SGLI SST is derived by a radiative transfer algorithm (Kurihara et al., 2016) simplified by local linearity (not adjusted by SGLI and buoy).
Good accuracy (RMSD: 0.3~0.4 K/monthly) suggests well calibrated SGLI/TIR.
Monthly statistics (daytime, 2018) derived by comparison with buoy (iQuam) data.
Tokyo
December
November
October
September
August
July 2018

## Slide 10
Cross-cal among SGLI/MODIS/VIIRS through AHI (Ocean area)
1-day global data on 1 Jan 2019
10
GEO AHI LTOA
SGLI LTOA
Aerosol
SGLI RW
RW
AHI RW
t<10min
Wavelength by IOP spectra
BRDF by Morel’s model
Other LEO LTOA
Other RW
Aerosol
RW
t<10min
AHI RW
RT model
SGLI
A-MODIS
VIIRS

## Slide 11
Cloud/Cross-cal of SGLI and AHI (water-cloud over the ocean)
GEO AHI LTOA
SGLI LTOA
Cloud
(COT, CER)
t<10min
RT model
Preliminary results
RT model
 | nm | 380 | 412 | 443 | 530 | 763 | 867 | 1050 | 1630 | 2210
SGLI /AHI | avg | 0.995 | 0.973 | 0.963 | 0.995 | 0.778 | 0.888 | 0.876 | 0.873 | 0.950
 | RMS | 0.078 | 0.086 | 0.098 | 0.109 | 0.080 | 0.125 | 0.117 | 0.070 | 0.045
SGLI saturation level
SGLI saturation level
Preliminary results

## Slide 12: JAXA’s Instruments Updates & Planned launches
Current in operation
  GOSAT: Launched in 2009. Latest version 201.202 was released in 2016
  GCOM-W: Launched in 2012. Latest version 3 was released in March 2017
  GPM: Launched in 2014. Latest version 5 was released in May 2017
  ALOS-2: Launched in 2014. Data release in November 2014
  GCOM-C: Launched in Dec. 2017. Data have been released in Dec. 2018
  GOSAT-2: Launched in Oct. 2018.
Forthcoming launches
  EarthCARE (JFY 2021)
  High resolution optical (ALOS-3) (JFY 2020), SAR (ALOS-4) (JFY 2020)
Other major events
  JAXA Himawari Monitor system (http://www.eorc.jaxa.jp/ptree) is updated in August and October 2018. Updated geophysical products (aerosol property, daily & monthly products), and released new products (model output SST and aerosol).
  GOSAT3(incl. AMSR-3) Phase-A (pre-project phase) in Sep. 2018

## Slide 13: Introduce/Confirm the JAXA’s Personnel supporting GSICS
GRWG Members
  Hiroshi Murakami (optical & IR imager, GCOM-C/SGLI, Himawari-8)
  Misako Kachi (MW imager, Aqua/AMSR-E, GCOM-W/AMSR2)
  Takashi Maeda (MW imager, Aqua/AMSR-E, GCOM-W/AMSR2)
GDWG Members
  None
Others who provide supports if needed
  Yuki Kaneko, Kosuke Yamamoto (precipitation radar, TRMM/PR, GPM/DPR)
  Kei Shiomi (GOSAT, GOSAT-2)
  Takeo Tadono (high resolution optical imager & SAR: ALOS, ALOS-2, ALOS-3, and ALOS-4)

## Slide 14: Thank you for your attention
WMO GSICS Portal
http://gsics.wmo.int
GSICS Coordination Centre http://www.star.nesdis.noaa.gov/smcd/GCC/index.php
GSICS Product Catalog https://www.star.nesdis.noaa.gov/smcd/GCC/ProductCatalog.php
GSICS Wiki
http://gsics.atmos.umd.edu/wiki/Home