## Slide 1
Rose Munro
GRWG UV Sub-Group Briefing Report & Introducing Special Session on Strategy for Inter-calibration of SWIR Spectrometers

## Slide 2: Selected GRWG-UV Subgroup Baseline Projects
Reference Solar Spectrum
Aim: to evaluate the available reference solar spectra and make a recommendation for a reference solar spectrum for community use. Lead – Larry Flynn (NOAA)
White Paper on Ground-based Characterisation of UV/Vis/NIR/SWIR spectrometers
Aim: to prepare a white paper documenting best-practise for the on-ground calibration of UV/Vis/NIR/SWIR spectrometers based on in-orbit experience from relevant missions. Lead – Rosemary Munro (EUMETSAT) (transferred from R. Lang)
Match-ups and Target Sites
Aim: to produce over-pass comparisons of UV sensors for specific target sites in use by the community. As a first step summaries of methods and results for target sites currently in use will be collected. Lead – TBC.
Cross-calibration below 300nm
Aim: To devise new methods for comparison of wavelength pairs for different viewing geometries taking into account contribution function equivalence to allow radiometric performance comparisons for ozone profile wavelengths from 240 – 200 nm. Lead Larry Flynn (NOAA).

## Slide 3: Reference Solar Spectrum – Status
Compare solar measurements from BUV (Backscatter Ultraviolet) instruments.
Goals
Agreement at 1% on solar spectra relative to bandpass-convolved high resolution spectra as a transfer after identifying wavelength shifts and accounting for solar activity. Long-term solar spectra drift and instrument degradation can also be analysed.
Collaborative work has started well with participation growing to include more instruments and solar modellers.
See talks in UV Subgroup session at this meeting:
8a - Update on GSICS UV Activities at NOAA, Larry Flynn (NOAA)
8b - TSIS-1 spectral (200-2400 nm) solar irradiance observations, Odele Coddington (LASP, University of Colorado)
8c - WRC Quality Assurance of solar ultraviolet measurements, Julian Gröbner (PMOD)
Larry Flynn (Project Lead) will focus on a model to explain the OMPS Nadir Profiler solar measurements and provide an initial comparison to a synthetic spectrum – these will both be used to support inter-comparisons with other solar measurements.

## Slide 4: White Paper on Ground-based Characterisation
White Paper still in drafting stage – contributions and/or offers to author sub-sections welcome!
Proposed table of contents
Accuracy, sensitivity and repeatability
Sources / commissioning
Thermal and pressure environment / stability and characterization
Instrument components
Detector level
  Noise
  PRNU/PPG
  SMEAR
  Etaloning
Stray-light
Grating and alignment (ISRF)
  Spectral assignment
  Spectral stability
Pointing and Spatial stability (ISRF/PSF)
  Spatial and spectral aliasing
  Radiometric and spectral scene in-homogeneity errors.
  Detector co-registration (overlap)
Polarisation sensitivity
Radiometric response
  Sources
  Geometry
Diffuser characterisation
Degradation and contamination
..........?

## Slide 5: White Paper on Ground-based Characterisation
Linked to planned:
“CEOS WGCV Workshop on On-Ground Calibration and Characterisation”
currently anticipated for February 2020.
See also Agenda item 10b.

## Slide 6: Match-ups and Target Sites
Produce over-pass comparisons of UV/Vis sensors for specific target sites in use by the community.
  Goals
  Agreement at 1% on cloud free scene reflectance for 340 nm. Desert, Equatorial Pacific, Polar Ice.
  Agreement at 1% on aerosol index – wavelength dependence of reflectance.
  Long-term stability of 0.5% in reflectance channels
Work being carried out by L. Flynn and colleagues, NOAA, ...
Focussing on comparisons of Effective Reflectivity and Aerosol Indices in an Equatorial Pacific box as a region for generation of soft calibration adjustments.
Using minimum land reflectivities and comparisons to other products to check these adjustments especially for sun glint contaminated FOVs.
Reprocessing all of the OMPS Nadir Mapper Version 8 Total Column Ozone products for the first five years and will use the Pacific region to check the stability of the products.
See talk:
8a - Update on GSICS UV Activities at NOAA, Larry Flynn (NOAA)

## Slide 7: Cross-Calibration below 300nm
Methods
Double Difference using Climatology:
Perform comparisons (statistical trade off in quantity of matchups vs. quality):
Forward model and measurements:
Ongoing Activities
Comparisons of Initial Measurement Residuals for Ozone Profile Channels
This method will be used to generate soft calibration adjustments to remove measurement bias between the NOAA-19 SBUV/2 and S-NPP OMPS NP.
The first five years of OMPS NP measurements will be reprocessed and compare the two records.
See talk:
8a - Update on GSICS UV Activities at NOAA, Larry Flynn (NOAA)

## Slide 8: De Facto Scope of the UV Sub-Group
Class of instruments addressed reflective solar spectrometers
Main focus on atmospheric trace gases
Moderate to high spectral resolution to resolve trace gas absorption features
Polarization important
Long list of relevant instruments (not exhaustive) TOMS, SBUV, OMPS, GOME, SCIAMACHY, GOME-2, OMI, Sentinel-5 Precursor, Sentinel-5, Sentinel-4, GEMS, TEMPO, EMI, GOSAT, OCO-2 & -3, Tansat, Copernicus CO2

## Slide 9: Outlook for UV Sub-Group (I)
Propose renaming to Reflective Solar Spectrometer Sub-Group (or similar)
Addressing the following aspects for UV – SWIR spectrometers
On-ground characterisation
Solar calibration
Lunar calibration
Inter-calibration
Polarization
Development of common methods for use of invariant targets & vicarious calibration sites with homogeneous surface over sufficiently large area.
Image courtesy of JPL

## Slide 10: Outlook for UV Sub-Group (II)
Consistent with CEOS WGCV strategy discussed in WGCV meeting #44 (http://ceos.org/wp-content/uploads/2018/06/WGCV44_Minutes_v1.01.pdf)
  GHG instrument L1 activities in cooperation with GSICS/UVSG
  GHG L2 addressed under CEOS WGCV/ACSG
Special Session on Strategy for Inter-calibration of SWIR Spectrometers – Thursday 15:00

## Slide 11
Thank you for your Attention
Questions?