## Slide 1: GSICS Server Upgrade - Requirements for New Deliverables
Masaya Takahashi
Japan Meteorological Agency

## Slide 2: Overview and Purpose
Overview
  Several GSICS deliverables are available on GSICS Collaboration Server
    Source dataset, intermediate data, GSICS products
  SRF (Spectral Response Function) netCDF
  GSICS Convention was agreed in 2018
  Recent requirements for new deliverables
    Subset of PICS (Pseudo Invariant Calibration Sites), SNO (Simultaneous Nadir Overpass) prediction
Purpose of this talk
  To introduce existing deliverables and recent GRWG requirements
  To get GRWG feedbacks for inputs of practical discussions at GDWG session
  What we can collaborate to upgrade Collaboration Servers

## Slide 3
4 broad type of GSICS deliverables
(Section#5 of GSICS-RD003)
GSICS Products
  Inter-calibration of space-based instruments with GSICS references, and resulting calibration adjustments (GSICS Correction)
Documentation
  GSICS High-level documents, Inter-calibration ATBDs
Best practices/standard procedures
  Inter-calibration algorithms, data and metadata convention
Measurement references and tools
  Calibration references
  Software modules, datasets, infrastructure elements to support GSICS activities

## Slide 4
LEO L1 netCDF (source dataset)
GEO-LEO-IR Collocation netCDF (intermediate data)
GSICS Products
SRF netCDF
  Currently several data available on the Wiki
GSICS deliverables on GSICS Collaboration Servers

## Slide 5
GSICS deliverables on GSICS Collaboration Servers

## Slide 6
GSICS deliverables:
A) LEO L1 netCDF
Objective
  Several GSICS agencies need reference LEO L1 subset for their GEO-LEO collocation to generate GSICS products
How it was created
  Instruments operator (e.g. IASI L1C by EUMETSAT) creates netCDFs and makes it available on GSICS Collaboration Server based on user requests
How to use it
  Input (source) of ATBD
References
  EUMETSAT GSICS Collaboration Server

## Slide 7
GSICS deliverables:
B) GEO-LEO Collocation netCDF
Objective
  GSICS agencies use the files to generate GSICS Corrections
How it was created
  Producers of GSICS Products (e.g. JMA)
How to use it
  Intermediate data for ATBD
  Maybe useful for users to replicate the products or use it for their own research
  1 Data transfer was tentatively stopped in 2018 due to FTP connection: root causes are under investigation
References
  GSICS Convention (template) on the Wiki
  Data: example of JMA's data1

## Slide 8
GSICS deliverables:
C) GSICS Correction
Objective
  GSICS agencies inter-calibrate in-orbit instruments to monitor the performance and to provide correction coefficients for satellite data users
How it was created
  Producers of GSICS Products (routinely) create/upload to Collaboration Server
How to use it
  Monitoring biases on Plotting Tool
  Applying the correction to operational L1
References
  Convention, ATBDs, User Guides on the Wiki and each producer’s website

## Slide 9
GSICS deliverables:
D) SRF netCDF
Objective
  To support GSICS activities such as Lunar Calibration using GIRO
How it was created
  GDWG Chair has created based on users‘ requests so far
  Users can also generate it by referring Convention or relevant document
How to use it
  Up to users (one application is GIRO)
References
  Data available on the Wiki
  Convention on the Wiki
  GIRO inputs/outputs documentation

## Slide 10
Recent requirements for new GSICS deliverables
Proposed deliverables by CMA at 2018 GSICS Annual Meeting
  L1 subsets over PICS
  SNO Prediction Table
  Increase of reference instruments L1 data to be shared within GSICS community
Requirements for data generation/provision
  Near real-time generation by instrument operators
  New GSICS Conventions for the deliverables
  Notification of data readiness

## Slide 11: What kinds of L1 Data sharing
PICS(Pseudo Invariant Calibration Site) granule L1
  Reference-MODIS, VIIRS, GOME-2, SCIAMACHY, Hyperion
  Each agency payloads, such as FY3/MERSI, MERIS
File size: 1.5M
Chen (2018)

## Slide 12
SNO Prediction Timetable
Chen (2018)

## Slide 13
SNO Reference instruments L1B data
  Hyper-spectral : IASI, CrIS, GOME-2, HIRAS(FY-3D)
  Imager: MODIS, VIIRS
  Sounder : ATMS, AMSR-E, GMI, HIRS
Chen (2018)

## Slide 14
Discussion
GDWG needs GRWG thoughts on new deliverables to be available on GSICS Collaboration Servers
  Other agencies / GRWG also have similar/other requirements?
  Practical collaboration (feasibility study): to be discussed at GDWG session
Issues at GDWG
GDWG roles
  To specify and agree to the configuration and guidelines
Limited resources
  Supports by GSICS agency are needed for realize the proposal

## Slide 15
Backup Slides

## Slide 16: Background
Traditional way of GSICS L1 data acquirement for reference instrument is public website order and downloading in general when these reference data is not provided by theirselves. This leads to heavy time delay and operational instability and even frequently restricted because of security consideration and internet bandwidth occupation.
Three THREDDS severs in CMA, EUMETSAT and NOAA were setting down and provide the opportunity to share more data for GSICS operation, especially these data of their own reference instruments and target sensors for other GPRCs.
Current status of isolated data acquirement way in all GPRCs under GSICS community reveals weak organization, little collaboration, large unbalance between all GPRCs. This is disadvantageous to strengthen our voice and authority in EOS.
EUMETSAT GDWG have done a good demonstration in L1 sharing for CMA GSICS operation in L1 IASI.nc (for FY-2-IASI) requirement and is testing the provision of GOME-2 for FY-2 VIS inter-calibration.
Chen (2018)

## Slide 17: Scope of GSICS L1 sharing
Reduce the time delay of GSICS operational processing based on L1 public website order procedure (2~3 days1day) between different agencies and also reduce data volume transfer(by crop)
Keep operation stability of GEO-LEO and LEO-LEO GSICS processing in all GPRCs, especially NRTC products
Push GEO-GEO comparison such as FY-2-MTSAT/Himawari, FY-2-MSG , MSG-GOES for long term
VIS/NIR Inter-calibration and reference transfer based on global PICS sites (desert, snow and barren ocean)
Support other GSICS researches such as SBAF, BRDF
Chen (2018)

## Slide 18: Provision and setting
L1 Data generation automatically by instrument operator
ROI Regional or Granule for spatial coverage for cutting data volume
Format and name following GSICS convention : HDF, NetCDF
Time delay: Near real time
Ready Notification
User feedback to the instrument operator or GCC
Chen (2018)

## Slide 19: Current Status of GSICS THREDDS severs
3 Collaboration Servers available
GSICS Collaboration Server | Server URL
EUMETSAT GSICS Server (Europe) | http://gsics.eumetsat.int/thredds/catalog.html
NOAA GSICS Server (Americas) | http://gsics.nesdis.noaa.gov/thredds/catalog.html
CMA GSICS Server (Asia) | http://gsics.nsmc.cma.gov.cn/thredds/catalog.html
Chen (2018)

## Slide 20: EUMETSAT L1 Source Data For CMA
Satellite: MetopA MetopB
Instrument: IASA GOME
Server: EUMETSAT GSICS Thredds
Timeline: Near real time
Spatial: Cropped for FY-2
Format:
  IASA: NetCDF
  GOME: HDF 5.0
    GOME NC demo data is being investigated by CMA now
We hope IASI and GOME-2 is also provided for FY-3 SNO collocation in the next step instead of our order from CLASS.
Chen (2018)