## Slide 1: Towards harmonization of multi-sensor high resolution time series: the Belharmony approach
Stefan Adriaensen1 ,Sindy Sterckx1, Erwin Wolters1, Else Swinnen1, Isabelle Piccard1, Cristiana Bassani2, Charlotte Wirion³,Boud Verbeiren3
GSICS Annual meeting in ESA/ESRIN at Frascati, Italy on 04-08 March 2019
1, VITO
2, CNR-IIA , Italy
3, VUB, Belgium

## Slide 2: BELHARMONY CONTEXT
A clear tendency in the use of higher spatial and temporal resolution
Sentinel-2 Markermeer
PROBA-V
Western-Australia_KingSound
Sentinel-2
Landsat-8
Markermeer
PROBA-V

## Slide 3: BELHARMONY CONTEXT: Sentinel-2 acquIsitions august 2016
 | 9/8 | 12/8 | 
16/8 | 16/8 (DMC) | 19/8 | 22/8
 | 26/8 |  | 29/8

## Slide 4: BELHARMONY CONTEXT: Sentinel-2 & DEIMOS-1(DMC) acquisitions aug. 2016
6/8 (DMC) | 9/8 | 12/8 | 13/8 (DMC)
16/8 | 16/8 (DMC) | 19/8 | 22/8
23/8 (DMC) | 26/8 | 26/8 (DMC) | 29/8

## Slide 5: BELHARMONY CONTEXT
Data consistency concern !

## Slide 6: BELHARMONY OVERALL OBJECTIVE
To assess and improve the consistency of multi-sensor high resolution time series. (HARMONY)
Focus on Landsat-8, Sentinel-2, PROBA-V (central camera) and Deimos-1/DMC
How ?
  Bottom-up approach (from L1 to L2 to L3)
Why ?
  Overall applicability
  To identify cause of biases
  Errors amplified from L1 (TOA refectance) to L2 (BOA reflectance)

## Slide 7: BELHARMONY scientific QUESTIONs
Does there exist a bias in the L1 data ?
  Is this bias scene brightness dependent ?
  Can we determine gains for inter-calibration of the L1 data ?
What is the impact of intrinsic differences in the RSRF of the different sensors ?
  Can BELHARMONY through the introduction of band or index dependent spectral adjustment functions correct for this ?

## Slide 8: BELHARMONY scientific QUESTIONs
Does there exist a bias in the L1 data ?
  Is this bias scene brightness dependent ?
  Can we determine gains for inter-calibration of the L1 data ?
What is the impact of intrinsic differences in the RSRF of the different sensors ?
  Can BELHARMONY through the introduction of band or index dependent spectral adjustment functions correct for this ?
Can biases in L2 and L3 data be reduced through the use of a common processing chain ?

## Slide 9: BELHARMONY scientific QUESTIONs
Does there exist a bias in the L1 data ?
What is the impact of intrinsic differences in the RSRF of the different sensors ?
Can biases in L2 and L3 data be reduced through the use of a common processing chain ?
PROBA-V
Sentinel-2
Landsat-8
Deimos-1/DMC
SMAC
Sen2COR
LaSRC
No standard A/C available
De Keukelaere et al. (2018)

## Slide 10: BELHARMONY scientific QUESTIONs
Does there exist a bias in the L1 data ?
What is the impact of intrinsic differences in the RSRF of the different sensors ?
Can biases in L2 and L3 data be reduced through the use of a common processing chain ?
What is impact of all these harmonization measures on the consistency of the multi-sensor L2/L3 time series?
  => BELHARMONY APPROACH:
  BELAIR CASE STUDIES

## Slide 11: HESBANIA CASE STUDIE
Hemispherical photograps (LAI, fCover, fAPAR)
UAV images (fCover)

## Slide 12: BELHARMONY scientific QUESTIONs
Does there exist a bias in the L1 data ?
What is the impact of intrinsic differences in the RSRF of the different sensors ?
Can biases in L2 and L3 data be reduced through the use of a common processing chain ?
What is impact of all these harmonization measures on the consistency of the multi-sensor L2/L3 time series?
  => BELHARMONY APPROACH:
  BELAIR CASE STUDIES

## Slide 13
No on-board calibration devices
3 cameras (focus on CENTER camera ~100 m res.)
3 VNIR bands (BLUE, RED, NIR)
1 SWIR band
2 Imager banks Cameras (P,S)
  3 Bands : GREEN, RED, NIR
  GSD 22 m at nadir
  600 km swath
No-onboard calibration devices
PROBA-V
Sentinel-2A &-2B
Landsat-8
DEIMOS-1 SLIM-S-22 Imager

## Slide 14: medium/high radiance APPROACH
Inter-comparison over the Libya-4 PICS desert site following the OSCAR* desert approach
Bias Assessment over instrument RadCalNet sites (Land Equipped Sites (LIS))
*OSCAR (Optical Sensor Calibration with simulated Radiances). Govaerts, Y., S. Sterckx, and S. Adriaensen (2013). Use of simulated reflectances over bright desert target as an absolute calibration reference. Remote Sensing Letters, , Vol. 4: 6, 523-531.

## Slide 15: LibyA-4 OSCAR: implementation
  6SV simulations
  Surface RPV BRF
  ECMWF NPW data (P, O3, H2O)
  Desert aerosol
  AOT (monthly)

## Slide 16: Improvements to DESERT approach*
Surface characterisation improvement (MISR/MODIS **  ORIG*: POLDER/ATSR2)
Aerosol characterisation
*
*Govaerts and Clerici (2004)
** Govaerts, Y., Sterckx, S., Adriaensen, S. Remote Sensing Letters 2013

## Slide 17: Number of observations for LIBYA-4
Mission | Number of observations
Sentinel-2A | 68
Sentinel-2B | 19
Landsat8 | 62
PROBA-V | 214
Deimos1 | 91

## Slide 18: OSCAR LIBYA-4 Desert results RED banDs

## Slide 19: Ratio observed / simulated TOA reflectances

## Slide 21: Relative ratio difference with respect to sentinel-2A

## Slide 22: CONCLUSIONS LiBYa-4
For comparable spectral bands Landsat-8, PROBA-V, Sentinal-2B and Deimos-1 agree to within 2% with Sentinel-2A, except for the green band on Deimos-1 where a difference of 3,5 % is observed
Differences between Sentinel-2A and Sentinel-2B of the same magnitude as differences observed between Sentinel-2A and the other sensors. Sentinel-2A is for most bands slightly brighter than Sentinel-2B.
The results confirm that all sensors investigated are well-calibrated and that inter-sensor differences are small at least over bright areas such as Libya-4.

## Slide 23: Observations vs simulations over Radcalnet sites

## Slide 24: methodology
S2A, S2B, L8, PV, and Deimos1 images downloaded
ROI TOA reflectance extractions
  ~1km, ~ 500 m, ~100 m
Generation of quicklooks for cloud check over sites + surroundings  exclude scattering from nearby clouds (< ~5 km)
Spectral resampling of RadCalNet TOA reflectances (at 10 nm) to the respective spectral bands
Selection of match-ups between sensor observations and Radcalnet simulations
  time constraint ±15 – 45 minutes

## Slide 25: Number of cloud-free matchups
Sensor | LCFR | RVUS | GONA | Total
Sentinel-2A | 32 | 14 | 27 | 73
Sentinel-2B | 20 | 8 | 22 | 50
Landsat 8 | 24 | 6 | 14 | 44
PROBA-V | 103 | 28 | 42 | 173
Deimos1 | 4 | 7 | 0 | 11

## Slide 26: Gobabeb (GONA), 23.500oS, 15.033oE

## Slide 27: gobabeb (GONA)

## Slide 28
No Deimos1 data available for GONA

## Slide 30: RailROAD Valley PLAYA (RVUS), 38.504oN, 115.692oW
Representative area 100 x 100 m
1 PROBA-V pixel
(100 m resolution)
3 × 3 L8 pixels
(30 m resolution)
5 × 5 S2 pixels
(20 m resolution)
5 × 5 Deimos1 pixels
(22 m resolution)

## Slide 31: RailROAD Valley PLAYA (RVUS)

## Slide 33: Brdf effects RVUS, RED
L8
S2A
S2B
PV
D1
L8 B2
S2A B4
S2B B4
PV B2
D1 B3

## Slide 34: RVUS : TOA reflectectance Sentinel-2A and SENTINEL-2B
Chart: RVUS
S2B_b1 | 0.26741 | 0.26757 | 0.24339 | 0.24192 | 0.2407 | 0.26319 | 0.23536 | 0.247 | 0.26815 | 0.24341 | 0.26692 | 0.24324 | 0.2644 | 0.24246 | 0.26429 | 0.2359 | 0.25931 | 0.23738 | 0.24832 | 0.26944 | 0.28403 | 0.28048 | 0.23979 | 0.24489 | 0.2447 | 0.24308 | 0.27058 | 0.24258 | 0.25958 | 0.25772 | 0.26269 | 0.24388 | 0.25803 | 0.23507

## Slide 35: LA CRAU (LCFR), 43.55oN, 4.85oE

## Slide 36: LA CRAU (LCFR), 43.55oN, 4.85oW

## Slide 37: Brdf effects LCFR, RED
L8
S2A
S2B
PV
D1
L8 B2
S2A B4
S2B B4
PV B2
D1 B3

## Slide 38: Conclusions radcalnet
Current number of match-ups not sufficient to draw statistically robust conclusions
Due to non-nadir viewing, BRDF effects regularly occur over LCFR and RVUS
BRDF effects cause large intra-sensor variation, which exceeds the inter-sensor variation
Additional site BRDF information required in TOA simulations to reduce intra-sensor variation
Inter-sensor relative differences over GONA within ±2.5%  comparable to Libya-4 results

## Slide 39: OVERALL conclusions
Relative differences between sensors small:
  Within ±1.5 % for Libya-4
  Within ±2.5 % and Gobabeb
Deimos-1 green band slightly larger differences : 3.5% difference
S2A possibly slightly brighter than S2B, but within uncertainty range of reference methods
No statistically robust conclusions possible for RVUS and LCFR

## Slide 40
Thank you!

## Slide 41: Different ratio spectral profile Libya-4 vs radcalnet

## Slide 42: Brdf effects GONA, RED
L8
S2A
S2B
PV
D1
No data
No data
L8 B2
S2A B4
S2B B4
PV B2
D1 B3

## Slide 43
Libya-4 DEIMOS-1 results > No significant difference in results due to VAA / imager bank

## Slide 44: PROBA-V
No on-board calibration devices
3 Cameras (focus on CENTER camera ~100 m res.)
  2 focal planes
    VNIR with 3 bands
    SWIR with 1 band but staggered strips

## Slide 45: DEIMOS-1
SLIM-S-22 Imager
2 Imager banks Cameras (P,S)
  3 Bands : GREEN, RED, NIR
  GSD 22 m at nadir
  600 km swath
No-onboard calibration devices

## Slide 46: Sentinel-2A & 2B
VAA

## Slide 47: Landsat-8
VAA
VZA