## Slide 1
Bill Bell, Hans Hersbach, Cornel Soci, Paul Berrisford,
Raluca Radu, Joaquin Munoz Sabater, Adrian Simmons, Andras Horanyi, Julien Nicholas, Dinand Schepers
Timo Hanshmann, Viju John & Joerg Schultz (EUMETSAT)
Assimilation of MW data in
The C3S ERA5 Reanalysis

## Slide 2: Outline
Passive MW data in the ERA5 reanalysis
Satellite data reprocessing & data rescue
  MHS, MWHS & ATMS
  MSU
Bias correction for NWP & Reanalysis – using
FIDUCEO uncertainty information
Summary

## Slide 3: Passive MW data in ERA5
Temperature sounding data:
MSU, AMSU-A and ATMS from all operational NOAA satellites and NASA’s Aqua
AMSU-A from MetOp
Humidity sounding data:
AMSU-B & MHS from NOAA / MetOp
FY3 –B/-C MWHS(-2)
Microwave Imagers:
SSMI, SSMIS, TMI, AMSR-E, -2, GMI

## Slide 4: Monitoring satellite data in ERA5
Example: NOAA-20 ATMS
(channel 7)
Processing change in late
July 2018 (well managed!)
Change in bias correction
applied ~0.4K
June 2019: review of all
monitoring of satellite
data for 1979-2019

## Slide 5: Reanalysis bias corrections for MW sensors
Dynamic bias corrections derived as part of cost function minimisation using Variational Bias Correction (VarBC)
Shown for ERA5, ERA-Interim & ERA5.1
Global mean bias corrections
during MSU-era are ± 1K
During ATOVS era (1998-) corrections are smaller, at ~0.5K typically.

## Slide 6: Reprocessing : What is being prepared
sensor | platform | start | end
MHS | METOP A | 21.05.2007 | 31.12.2018
MHS | METOP B | 15.01.2013 | 31.12.2018
MWHS | FY-3A | 01.07.2008 | 04.05.2014
MWHS | FY-3B | 21.12.2010 | 31.12.2018
MWHS | FY-3C | 01.10.2013 | 31.12.2018
ATMS | SNPP | 10.12.2011 | 31.12.2018

## Slide 7: MHS – METOPA Timeseries @ 183±1 GHz
Independent uncertainty
Structured uncertainty
Common uncertainty
Daily mean BT uncertainty
FIDUCEO independent, structured and common uncertainties (see Rob Roebeling talk , 3i)
How do we use them ????

## Slide 8: Intercomparisonall against SAPHIR based on 2 years each ~ 50000 SNOs
183 ±1 GHz (1.1 for SAPHIR)  expects SAPHIR to be warmer
183 ±3 GHz (2.8 for SAPHIR)  expects SAPHIR to be colder
190 GHz (183 ± 6.8 for SAPHIR)
 expects SAPHIR to be colder

## Slide 9
first guess departures
(uncorrected)
bias correction
analysis departures
first guess departures
(corrected)
Bias Correction in NWP & Reanalysis
NOAA-20 ATMS-7
ERA5 departures & bias correction

## Slide 10
1000-300 hPa
200-50 hPa
10-1 hPa
50-5 hPa
Variational Bias correction
Bias corrections (ΔTB) are a linear combination
of predictors (pi)
Coefficients (ci) are derived in minimisation of cost function
Predictors (pi) include : offset, scan angle (Θ, … , Θ4 ), & thicknesses (shown).

## Slide 11: Constrained Variational Bias Correction
Wei Han and
Niels Bormann
Mis-fit to prior information
Mis-fit to prior VarBC coefficients
Mis-fit to observations
Mis-fit to prior bias correction

## Slide 12
Motivation(1): Model bias in upper stratosphere and mesoshpere

## Slide 13
Implementation of Constrained VarBC in IFS and CY41R2 experiments
AMSU-A | gamma | Bias0 | B(bias0)*
Channel 14 | 0.3 | 0 | 1.4
Channel 13 | 0.0 | 0 | 0.85
Channel 12 | 0.0 | 0 | 0.5
*Same as observation error
CVarBC

## Slide 14
Satellite data rescue for climate reanalysis
Satellite data rescue services will be
delivered by: Spascia, ICARE, CNRM,
Univ. of Reading & Met Office.
(2019 - 2021)
Focus on early datasets
Range of activities: data provision → bias modelling and uncertainty assessment
MW Data
SMMR & SSM/T-2
MSU, SSMI and SSMIS

## Slide 15: Summary
ERA5 uses (almost) all available MW sounding and imaging data from US, European, Chinese and Japanese Agencies covering the period 1979 - now. Efforts to rescue (IR) data from 1970-1979 are ongoing.
Bias corrections are applied using VarBC. For temperature sounding channels, these are within ± 1K for early data (MSU: 1979-1998) and within ±0.5K for 1998- present (AMSU-A and ATMS). No attempt is made to check for consistency with uncertainty estimates for these radiometers.
FIDUCEO developments are encouraged and welcomed, but using the uncertainty estimates presents a challenge that requires some R&D by NWP centres/reanalysis groups. CVarBC may be a good start.