## Slide 1
Progress with GRUAN observations in comparisons with
satellite microwave measurements: Preliminary result
Bomin Sun1 ,Cheng-zhi Zou2, Tony Reale2, Isaac Moradi3, and Manik Bali3
1 IMSG at NOAA/NESDIS/Center for Applications and Research (STAR),
College Park, Maryland, USA
2 NOAA/NESDIS/STAR, College Park, USA
3 University of Maryland, College Park, USA
GSICS Annual Meeting 2019
March 3-8, 2019
ESA-ESRIN, Frascati, Italy

## Slide 2: Objective
GSICS action
Using GRUAN data to assess the capability of polar satellite microwave observations of monitoring climate.
  Polar satellite microwave (MSU/AMSU/ATMS) data temperature data records (TDRs) (Cheng-Zhi Zou et al. from STAR/NESDIS/NOAA)
Using GRUAN data to monitor polar satellite microwave observations and RT models … (RS41, RS92; RIVAL)
  Collocation datasets forwarded to Isaac Moradi…
Using satellite to monitor GRUAN … (secondary)

## Slide 3: Global Reference Upper Air Network (GRUAN)

## Slide 4: GRUAN
GRUAN Data Processing (GDP): SI-traceable observations with systematic bias removed and fully characterized uncertainty estimate…
Vaisala RS92
  (GDP-v2)
RS92-RS41 transition
  RS41 not yet GDP processed
Courtesy Jensen et al. (2015)
RS92
RS41
Sun et al. (2019, in press)

## Slide 5: Satellite Synchronized Dedicated Sondes
Ocean field campaigns (AEROSE, ACAPEX, ENRR)
DOE ARM sites (SGP, NSA, ENA)
Radiosonde Intercomparison and VALidation (RIVAL)
Others (Beltsvile, Sterling, …)
Launch configurations:
  Single (15 min prior to)
  Sequential (30 and 5 min prior to)
  RS92-RS41 dual (15 min prior to) …RIVAL
  RS92-RS41 dual followed by a single …RIVAL
NOAA Products Validation System (NPROVS, Reale et al. 2012)
Acknowledgement:
Lihang Zhou, Mitch Goldberg for JPSS funding
Nick Nalli, Lori Borg, Ryan Smith,…
NOAA-JPSS dedicated sonde database

## Slide 6: RIVAL dedicated sondes
Using RIVAL dedicated sondes to monitor polar satellite microwave observations and RT models (w/Isaac Moradi at UMD/STAR NESDIS)
  RS92-RS41 dual (45-min prior to NOAA20 overpass)
  RS41 single (5-min prior to)
  Collocations with SDR & TDR
RIVAL dual launch of Vaisala RS92 and RS41 synchronized with NOAA-20 at the DOE-ARM Eastern North Atlantic (ENA) Azores site. (Courtesy Donna Holdridge, Argonne National Laboratory)

## Slide 7: Using GRUAN data to assess the capability of polar satellite microwave observations of monitoring climate
METHODOLOGY: Multiply the GRUAN temperature profile by the MSU weighting function to get the microwave equivalent temperature for GRUAN
  Chan 2 (mid-troposphere)
  Chan 3 (upper-troposphere)
  Chan 4 (lower stratosphere)

## Slide 8: MSU Weighting Functions (nadir)
Chart: 

## Slide 9: Sites for the initial demonstration
Lindenberg, Germany (52.21N, 14.12N)
  GRUAN site
Barrow, Alaska, USA (71.29N, 156.79W)
  ARM site with data being GRUAN processed

## Slide 10: Lindenberg; ch2 -TMT (middle-troposphere) GRUAN computed using MW weighting function
Microwave
GRUAN 00Z
GRUAN 06Z
GRUAN 12Z
GRUAN 18Z
GPSRO
Correlation:
Microwave vs. GRUAN corr: 0.90
GPSRO vs. GRUAN corr: 0.94
GRUAN trend: 0.126 (0.04) K/yr
Microwave trend: 0.092(0.04) K/yr
GPSRO trend: 0.102(0.05) K/yr
GPSRO data is provided by Johannes Nielsen at EUMETSAT ROM SAF at DMI

## Slide 11: Lindenberg; ch3 -TUT (upper-troposphere) GRUAN computed using MW weighting function
Microwave
GRUAN 00Z
GRUAN 06Z
GRUAN 12Z
GRUAN 18Z
GPSRO
Correlation:
Microwave vs. GRUAN corr: 0.77
GPSRO vs. GRUAN corr: 0.52

## Slide 12: Lindenberg; ch4 -TLS (lower-stratosphere) GRUAN computed using MW weighting function
Microwave
GRUAN 00Z
GRUAN 06Z
GRUAN 12Z
GRUAN 18Z
GPSRO
Correlation:
Microwave vs. GRUAN corr: 0.07
GPSRO vs. GRUAN corr: 0.56

## Slide 13: Lindenberg, Sample of Profiles reaching 19 hPa
GRUAN 00Z
GRUAN 06Z
GRUAN 12Z
GRUAN 18Z
The raob sample exhibit temporal variations due to balloon burst and qc screening etc.

## Slide 14: Alternative Method
Use the GRUAN profile temperature only at the levels of the maximum MW weighting function
  Chan 2 (575.5 hPa)
  Chan 3 (260 hPa)
  Chan4 (89.5 hPa)
Chart: 

## Slide 15: Lindenberg; ch4 -TLS (lower-stratosphere) GRUAN at 89.5 hPa level
Microwave
GRUAN 00Z
GRUAN 06Z
GRUAN 12Z
GRUAN 18Z
GPSRO
Correlation:
Microwave vs. GRUAN corr: 0.86
GPSRO vs. GRUAN corr: 0.96
GRUAN trend: 0.013 (0.06) K/yr
Microwave trend: 0.016(0.07) K/yr
GPSRO trend: 0.004(0.07) K/yr

## Slide 16: Barrow; ch2 -TMT (middle-troposphere) GRUAN at 575.5 hPa level
Microwave
GRUAN 06Z
GRUAN 18Z

## Slide 17: Barrow; ch3 -TUT (upper-troposphere) GRUAN at 260 hPa level
Microwave
GRUAN 06Z
GRUAN 18Z

## Slide 18: Barrow; ch4 -TLS (lower-stratosphere) GRUAN at 89.5 hPa level
Microwave
GRUAN 06Z
GRUAN 18Z

## Slide 19: Summary
The GRUAN radiosonde profile dataset at Lindenberg, Germany and Barrow Alaska are used to assess the NOAA STAR polar satellite microwave TDR in long-term climate monitoring. It is found:
The datasets match well on inter-annual and decadal time scales for the middle and the upper tropospheres and the lower stratosphere.
Datasets available for Microwave Sensor and RT model validations
This work supports the Global Space-based Inter-Calibration System (GSICS) mission to monitor microwave (and also infrared) sensors from space based platforms by introducing ground and space reference observations.
Path forward:
  to extend “both” analysis to other GRUAN sites as available, preferably tropical and polar
  to integrate measurement uncertainties, version-3 GRUAN etc and redo analysis