## Slide 1: Spectral Gap-filling and Convolution Error Correction in Satellite Sensor Inter Calibrations
Xu Liu, W. Wu, Q. Yang, S. Kizer, and CLARREO Science Team
NASA Langley Research Center
X. Xiong, R. Li, and A. Wu
NASA Goddard
L. Wang and C. Cao
NOAA STAR

## Slide 2: Outline
Definition of convolution errors when inter-calibrate a broad band sensor and a hyperspectral sensor
Error characterizations using realistic radiative transfer model simulations
Method for correcting the convolution errors
Applying the method to MODIS/AIRS MODIS/CrIS, and MODIS/IASI inter-cal
Summary and conclusions

## Slide 3: Definition of Convolution Errors
Convolution Errors
Errors due to spectral gap
Errors due to finite spectral resolution and spectral overlapping of the sensor spectral response function
Errors due to uncertainties in instrument characteristics
Radiometric calibration
Uncertainties due to broadband SRF
Our goal is to minimize the convolution error so we can characterize the radiometric uncertainties and sensor SRF uncertainty better.

## Slide 4: Accuracy of PCRTM is very good relative to reference RT models
Bias error relative to LBL is typically less than 0.002 K
The PDF of errors at different frequencies are Gaussian distribution
RMS error < 0.03K for IR and < 5x10-4 mW/cm2/sr/cm-1 for solar (< ~0.02%)

## Slide 5: PCRTM has been validated using CrIS, IASI, AIRS, NAST-I, and SCIAMACHY real data

## Slide 6: A granule with both land and ocean surface
CALRREO Science Team Meeting, Hampton, November 14, 2017 (Xu.Liu-1@nasa.gov )
26
The spatial pattern agrees well between the PCRTM simulated and MODIS observed
The data can be used for satellite inter- cal and for geophysical parameter retrievals
Plan to use the simulator for climate benchmarking studies.

## Slide 7: MODIS-AIRS convolution errors (simulation)

## Slide 8: MODIS-CrIS convolution errors (simulation)

## Slide 9: MODIS calibrated by IASI, CrIS, and AIRS
MODIS
IASI
CrIS
AIRS
IASI
CrIS
AIRS
Simulated from thousands of training samples.

## Slide 10: PCRTM based convolution correction algorithm

## Slide 11: MODIS-AIRS convolution correction

## Slide 12: Convolution Correction for 09/17/2007 AIRS/MODIS SNO data

## Slide 13: Convolution Correction after SRF shift

## Slide 14: Correction for MODIS-CrIS convolution errors

## Slide 15: CrIS-MODIS convolution errors evaluated using real IASI observations as the proxy
SWIR
MWIR
LWIR
IASI
CrIS
Convolution Errors
Based on real IASI data (2013)
Convolution Errors
Based on PCRTM simulation of training samples

## Slide 16: Correction for MODIS-CrIS (Blackman, Band 22) Convolution Errors produced from IASI data

## Slide 17
Correction for MODIS-CrIS (Blackman, Band 34) Convolution Errors produced from IASI data

## Slide 19: Spectral gap filling for MODIS band 29 region
CrIS and AIRS barely cover MODIS band 29
Spectral information within band 29 can be accurately predicted using spectral information out of that band
IASI real data is used as the proxy data to test the spectral gap filling

## Slide 20: PCRTM handle NLTE and solar scattering properly
(Xu.Liu-1@nasa.gov )
Fig. 1
Fig. 2
Figure 1 shows the calculated hyper spectra for night time, day time without NLTE and daytime with NLTE
Figure 2 shows PCRTM calculated and observed day-time IASI spectra during SNPP-2 field campaign

## Slide 21: Recent Results on Simulating AIRS spectra in the using ECMWF cloud fields (Aunman et al, 2018 JGR)
(Xu.Liu-1@nasa.gov )
PCRTM was able to match with ARIS observation well during day time
bt2616 (AIRS observed –calculated) | day PDF correlation | day bias ± std [K] 1437 cases | night PDF correlation | night bias ± std [K] 1377 cases | day-night [K]
SARTA_pM1 | 0.8744 | +5.00±14.79 | 0.9738 | -3.06±18.40 | 8.0
SARTA_p999 | 0.8779 | +7.05±15.57 | 0.9746 | -0.37±19.45 | 7.4
PCRTM_ERO | 0.9855 | +1.55±15.90 | 0.9371 | -0.29±19.23 | 1.84
PCRTM_MRO | 0.9846 | +0.73±15.84 | 0.9334 | -1.88± 18.84 | 2.61
PCRTM_ERO2 | 0.9804 | +2.52±16.79 | 0.9543 | +0.58± 20.56 | 1.94
PCRTM_MRO4 | 0.9766 | +0.91±16.22 | 0.9446 | -1.25±19.47 | 2.1
HT_CMO | 0.6669 | +15.04±20.11 | 0.9075 | -2.53±20.49 | 17.5
HT_CRO | 0.6492 | +15.97±19.76 | 0.9809 | -1.43±20.12 | 17.4
HT_CMRO | 0.6653 | +15.13±20.10 | 0.9074 | -2.46±20.47 | 17.5
HT_SMO | 0.9215 | +3.69±15.86 | 0.9791 | -2.11±20.59 | 5.7
HT_SRO | 0.9628 | +3.87±15.83 | 0.9736 | -0.83±20.14 | 4.7
HT_SMRO | 0.9245 | +3.65±15.88 | 0.9799 | -2.02±20.56 | 5.7
RTTOV_MRO | 0.8948 | +4.81±15.86 | 0.9574 | -6.48±19.85 | 11.3
RTTOV_CMSS | 0.8803 | +8.07±15.26 | 0.9605 | -2.38±19.02 | 10.5
σ-IASI_as | 0.4809 | +20.94±18.94* | 0.8739 | +5.37±19.50 | 15.6
CRTM2_tcc | 0.3991 | +20.55±17.60 | 0.6623 | +6.38±20.52 | 14.1
CRTM_mro | 0.6680 | +13.90±18.74 | 0.9604 | -2.16±19.58 | 16.1
CRTM_2col | 0.6410 | +15.33±18.59 | 0.9486 | -1.04±19.63 | 16.4

## Slide 22: Summary and Conclusions
Convolution errors are due to the spectral gaps and finite spectral resolution of the hyperspectral instrument
These errors can be corrected using a simple method
  PCRTM and associated LBL radiance database are used to train the correction coefficients
  The PCRTM has realistic multi-layer clouds, multiple scattering calculations, realistic surface emissivity variabilities, non-LTE effect, and anisotropic solar cloud scattering
The method has been applied to real AIRS/MODIS and IASI/MODIS data
  The radiance differences between broadband instrument (MODIS) and the hyperspectral instruments (IASI and AIRS) are more consistent after convolution corrections
We have demonstrated the spectral gap filling capability using real MODIS/IASI/CrIS data
  Accurate experiment design and assumptions with good results
  The method can be used to extend spectral range beyond IASI spectral coverage (e.g far-IR and solar-spectral region)