## Slide 1: Multispectral IR Sub-session Tim Hewison
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:

## Slide 2: Multispectral IR
Propose structuring IR Sub-group discussions:
  Hyperspectral IR:
    target hyperspectral sounder calibration (~1000s of channels)
    GEO and LEO
  Multispectral IR:
    target calibration of instruments with few (1-20) channels
    Could include older GEO and LEO sounders (HIRS, GOES, …)
    May use hyperspectral references for inter-calibration
  Research
    Applicable to both hyperspectral and multispectral sensors

## Slide 3: Minute Taking for IR Session
Likun Wang to take minutes for the Multispectral IR Session using the following Zoho Docs:
.
However, supports/contributions from all meeting participants will be very important for this work, especially on your own talks. Once you login to the Zoho, you can update the contents.

## Slide 4: Update on GSICS products for IR channels of GEO imagers Tim Hewison Yusuke Yogo
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:
Special Issue of the IEEE TGRS on “Inter-Calibration of Satellite Instruments”:

## Slide 5
GPRC | Monitored Instrument | Reference Instrument | GSICS NRT Correction | GSICS Re-Analysis Correction | GSICS Bias Monitoring
EUMETSAT | Meteosat-8-11/SEVIRI | Metop-A/IASI Metop-B/IASI Prime | Operational Operational - | Operational Operational Demo | RAC Plotting Tool ProductCatalogImages
JMA | MTSAT-2 Imager Himawari-8/AHI (Himawari-9/AHI) | IASI-A+B+AIRS (+CrIS) | Demo (Ready for GPPA) | Demo | RAC Plotting Tool JMA Web ProductCatalogImages
NOAA | GOES-11-12 Imager GOES-15 Imager GOES-16-17/ABI | IASI-A+B+ CrIS-SNPP+N20 | - - - | Demo Pre-Op - | NOAA GOESCAL
CMA | FY2C,D,E,F,G/VISSR FY4A/AGRI FY4A/GIIRS (Plan) | IASI-A+B + AIRS+CrIS+HIRAS | Development | Development | CMA Web CMA Web Cloud (Plan)
KMA | COMS KOMPSAT-2A? | IASI-A+B + AIRS+CrIS? | Demo | Demo | KMA Web ProductCatalogImages
ISRO | INSAT-3D/Imager INSAT-3D/Sounder INSAT-3R | IASI-A | Demo | Demo | ISRO Web
GSICS GEO-LEO IR Product Status 2019-03
Full GSICS Product Catalog available at http://www.star.nesdis.noaa.gov/smcd/GCC/ProductCatalog.php

## Slide 6: GEO-LEO IR Update – Round Table
Review current status of GSICS GEO-LEO IR Products
Progress GSICS Procedure for Product Acceptance (GPPA)
Near-Real-Time Corrections
Re-Analysis Corrections
FCDR Support
Monitoring
Plans to establish traceability to Anchor Reference
  E.g. Prime Correction, monitoring double-difference
Impact assessment
Switching Reference IASI-A to IASI-B

## Slide 7: GEO-LEO IR Update - JMA
NRTC & RAC generated for AHI on Himawari-8, -9
  IASI-A,B and AIRS products in Demo-Phase since Dec. 2017
  CrIS products will also be submitted to GPPA
Re-calibration of IR/WV for GMS to MTSAT-2
  Using HIRS/2, AIRS, IASI-A as references
  Mr. Tasuku Tabata’s work in collaboration w/ EUM under SCOPE-CM/IOGEO
Plans
  AHI Type-B Uncertainty analysis for Pre-Operational Phase
  Use of S-NPP/CrIS Full Spectral Resolution SDR and NOAA-20/CrIS
  Implementation of Prime GSICS Correction to AHI

## Slide 8: GEO-LEO IR Update - EUMETSAT
8
Difference of THU WV7.3 from Met8-Met10
20 Nov 2016 12:45 UTC before GSICS Correction (above)
After GSICS Correction (below)
Difference of THU WV7.3 from Met8-Met10
19-21 Nov 2016 animation before GSICS Correction (above)
After GSICS Correction (below)
NRTC & RAC generated operationally for all SEVIRIs
  on Meteosat-8, -9, -10 and -11
Using IASI on Metop-A, -B
  Will extend to include Metop-C/IASI after commissioning
  Plan to introduce CrIS in 2021 (for MTG commissioning)
All considered operational GSICS Products
Met-11 now operational prime
Met-8 now at 41.5°E
Generated test datasets for IOGEO GEO-ring (#3j)
Tested impact of GSICS Corrections on Level-2 products
  Reported at EUMETSAT Conference 2018 (PPT)
  Small impact – but reduced inter- Meteosat differences

## Slide 9: GEO-LEO IR Update - NOAA
GOES-15
  Now on 128W
GOES-16 ABI
  GS operational update of ABI ICT PRT LUT on 06/19/2018. Reduced the mean Tb bias to CrIS and IASI within 0.1-0.15K
  SNPP/CrIS, NOAA-20/CrIS, Metop-A/IASI and Metop-B/IASI are used for IR inter-calibration. Biases are monitored at the NOAA GOESCal website
GOES-17 ABI
  Declared as the operational GOES-West satellite at 137.2W on 12 February 2019.
  SNPP/CrIS, NOAA-20/CrIS, Metop-A/IASI and Metop-B/IASI are used for IR inter-calibration. Biases are monitored at the NOAA GOESCal website

## Slide 10: GEO-LEO IR Update - CMA
Baseline methodology update:
  Accuate collocation from Wang LK, and
  spectral gapfilling from Xu Z are
  all integrated in CMA IR inter-calibration;
IR Products Progress:
  New products are developed, i.e. FY4 AGRI vs IASI/CrIS/HIRAS, FY-2 vs HIRAS , in Demo status;
  FY-2 NRTC/RAC products are available;
Data & server
  CMA GPRC Website has been integrated into NSMC Web Portal,
  GISCS Plotting Tool is ready.

## Slide 11: GEO-LEO IR Update – CMA cont
• FY4/AGRI：FY4/AGRI vs IASI(CrIS/HIRAS) IR products are ready;
• FY4/GIIRS: GIIRS is compared with IASI/CrIS/HIRAS, the standardized products are under developing;
• Demo status: the following products are in demo status,
FY4 AGRI vs IASI/CrIS/HIRAS, FY-2 VISSR vs HIRAS ;
FY2 VISSR vs IASI/CrIS towards pre-op;
• GSICS Data and Products Server: operation
• NRTC/RAC product availability: available on http://gsics.nsmc.org.cn/portal/en/fycv/index.html
• GISCS Plotting Tool compatability: available for RAC product

## Slide 12: GEO-LEO IR Update - KMA
  COMS/MI
    IASI (MetOp-A,-B), CrIS (SNPP) and AIRS (AQUA) are used for bias monitoring at KMA website
    To add CrIS (NOAA-20), and Full Spectral Resolution SDR data (SNPP, NOAA-20)
  To update KMA’s processing algorithm (NRTC/RAC products) based on ATBD (Masaya’s comments) by modifying calculation formula of variables in the program
  GEO-LEO IR products for GK-2A
    To inter-calibrate and generate NRTC/RAC product using IASI (MetOp-A,-B), CrIS (SNPP, NOAA-20) and AIRS (AQUA)
  Collaboration with NOAA on diurnal variation of IR calibration

## Slide 13: GEO-LEO IR Update - ISRO
INSAT-3D/Imager – NRTC Demo
INSAT-3D/Sounder- NRTC Demo
Web plots?
RAC?
GSICS coefficients are not currently available on MOSDAC site.
  Do they need to be made available online?
Over to Pradeep for Update

## Slide 14: Switching Reference IASI-A to IASI-B
IASI-B onboard processing change 2017
  Impact on calibration & nonlinearity
  Treat period before/after change as separate references
Check consistency
  After change with IASI-A
  And IASI-C – when – by end 2019?
Expected degradation of IASI-A as reference?
  Due to orbital degradation
When to switch to IASI-B?
  Or switch directly to IASI-C & minimise switches?

## Slide 15
Thank You for your contributions!