## Slide 1: GSICS Agency Report 2024
Mounir Lekouara and EUMETSAT team (see last slide)
EUMETSAT

## Slide 2: EUMETSAT operational GSICS products
Near-Real Time and Re-Analysis Correction products for SEVIRI Meteosat-9, -10 and -11 (MSG-2, -3, -4) , based on GEO-LEO IR inter-calibration with Metop-C/IASI (in addition to those already generated with Metop-B/IASI) - now officially operational GSICS products
11 OPERATIONAL PRODUCTS + 2 retired

## Slide 3: Support to GRWG Activities (i)
Led or contributed to discussions at Web Meetings on:
  Lunar Calibration R&D and workshop preparation
  VNIR DCC (product definition + ATBD evolutions + applications to LEOs)
  IR: hot-land issue + uncertainty analysis

## Slide 4: Support to GRWG Activities (ii)
Ongoing Developments:
  MTG-I FCI and LI are now routinely monitored
  VNIR:
    Organisation of the 4th Joint GSICS/IVOS Lunar Calibration WS (4-8/12/2023)
    Involved in the discussions on LSICS framework + SLIM model as a new lunar calibration community model
    Enhancement of the LESSSR model (lunar model based on SCIAMACHY + RELAB) via external study (on-going)
    DCCs, using NOAA-20 VIIRS as a reference
    Desert Calibration + Inter-Calibration : two new algorithms for MICMICS
  IR:
    Development of improved IR inter-calibration algorithm ​
    MICMICS now facilitates IR inter-calibration, leveraging references from both IASI and CrIS
    EUMETSAT-ECMWF collaboration in preparing for MTG-IRS in NWP using GIIRS (-A/-B) observations
  MW:
    Supported development of work plan for Microwave Sub-Group​
  UV:
    Extraction + processing of all GOME-2 lunar measurements to support inter-calibration between SCIAMACHY and GOME-2 using the Moon as a transfer target
    Ongoing development and integration of radiometric calibration systems for UVN, UVNS & CO2-I in MICMICS
See 1f
See 1k
See 3b
See 5f
See 5m/n/p
See 3s
See 3u
See 8i

## Slide 5: Support to GDWG Activities
Introduction to WMO WIS 2.0 System​
Supported revision of GSICS SOS Reports​
See 2d

## Slide 6: EUMETSAT Other GSICS Activities
MICMICS
  Prototype Development & procurement of Operational System
  To replace current GSICS processors
  New capabilities:
    Improved GEO-LEO IR algorithm
    Switch to NOAA-20 VIIRS in the GSICS DCC algorithm as new GSICS reference + implementation of a DCC calibration (reference = RTM)
    On-going development of new GSICS DCC products for VNIR (LEO/LEO)
    New Desert Calibration
    New Desert Inter-Calibration
    Process more instruments/channels: SEVIRI, FCI, LI, AVHRR, SLSTR, OLCI, …
  The tool has reached a critical mass of methods and sensors to support new accurate diagnostics

## Slide 7: MICMICS analyses for MTG-I FCI
DCCICS
VNIR Drift monitoring
DESCS
VNIR absolute calibration and Drift monitoring
LCS
VNIR Drift monitoring
Monitoring IR channels
IHIC
DESICS
VNIR Drift monitoring
DESCS
Preliminary analyses on not fully calibrated Level-1c products

## Slide 8: New IASI L1c products  Correction of the non-linearity
Motivation:
The on-board non-linearity (NL) correction has been improved for both IASI-A (in 2019) and IASI-B (in 2017)  But no reprocessing possible;
EUMETSAT has developed a NL post-processing to be applied on the IASI L1c products  To restore the time consistency of the IASI radiance archive in the CO2 band at 15 mm, as well as the consistency between the instruments.
Difference IASI-A vs IASI-Areprocessed averaged over Jun-Sep. 2019
Residual NL error computed from the raw interferograms

## Slide 9: New IASI-A/-B L1c products - Q2/2024
IASI-A
NL on-board update
Original
(IASI-A – IASI-B)
(IASIArepro – IASIB) between 2017 and 2019
(IASIArepro – IASIBrepro)
Before 2017
IASI-B
NL on-board update
IASI-A
NL on-board update
IASI-B
NL on-board update

## Slide 10: Update on GSICS Actions on EUMETSAT
A.LCWS.2023.2i.3: EUMETSAT & NOAA to continue to develop spec & circulate, then iterate with group. Seb Wagner needs to check with EUMETSAT. (Actionee: S. Wagner – F. Yu / by 2024-03) – to be closed
A.LCWS.2023.5a.2: Propose way forward with GSICS Lunar Observation Dataset (GLOD) (Actionee: S. Wagner by 2024-03)  related to data sharing + infrastructure (discussion still open)
A.GEP.20230630.9: Transfer GSICS report on the State of the Observing System in document format and set working environment for that (Actionee: T. Hewison – M. Bali / no date) - ongoing
A.GIR.20230301.7: EUMETSAT to revise uncertainty analysis for GEO-LEO IR v2 algorithm (Actionee: T. Hewison / by 2024-03) – open – but delayed due to FCI
A.GMW.20230302.3: Brief MWSG on experience in developing GSICS products for IR channels of GEO imagers – and uncertainty analysis (Actionees: T. Hewison / by 2024-03) – open
A.GVNIR.2020.16f.1: re-align GIRO and ROLO (Actionees: S. Wagner – T. Stone / 2021.03.01 - late)
A.GVNIR.2020.16f.4: distribution list for the Lunar Cal Community - On-going
A.GVNIR.2020.19g.2: LCWS actions/recom follow-on – Closed - in preparation of LCWS

## Slide 11: Update on old GSICS Actions involving EUMETSAT
A.GDWG.2022031.8 GDWG to contact GRWG/Tim Hewison to get information on Combined products
A.GRWG.20201020.4 GRWG to provide inputs to GDWG as to what convention changes needed for new/revised products
  Closed
R.GIR.20210113.4 Tim Hewison is recommended to lead the study in the IR sub group to optimize the current GSICS inter-calibration algorithms for very cold scenes.
  Closed - covered in GEO-LEO IR v2 algorithm
A.GWG.2020.1a.2 All agencies to compile reports on calibration of instruments monitored by GSICS, following the template - to include IASI double-differences. Reports due by the end of April. A web meeting will be organized and held in early May to review the submitted reports. Assigned to all agencies.
  Closed – now part of SOS
A.GIR.20181114.3 Manik Bali and Tim Hewison to draft a section of the IRRefUTable Report on the process of selecting a reference instrument.
  Abandoned
A.GRWG.2016.2d.1 Tim & Dohyeong to review outstanding actions on Tim Hewison and decide which to transfer to GRWG Chair.
  Closed

## Slide 12: Reprocessing activities
HIRS FDR Release 2 have been generated and delivered to C3S2 for assimilating into ERA6 for three generations of instruments covering 1978 – 2022 using of Cao et al., 2007 calibration algorithm (available from ops@eumetsat.int);
MVIRI FCDR Release 2 has been released covering 1981 – 2017 – new image reprocessing, inclusion of anomaly images, and better recalibration using HIRS FDR (available from 10.15770/EUM_SEC_CLM_0057);
SEVIRI Rapid Scan Service FCDR Release 1 have generated for Meteosat-8 to -10 covering 2008 – 2022 (available from ops@eumetsat.int)
Special sensor microwave temperature sounder (SSM/T) FDR Release 1 have been generated and delivered to C3S2 for assimilating into ERA6 for satellites F-10 to F-15 covering 1991 – 2004 (available from ops@eumetsat.int);

## Slide 13: EUMETSAT instruments status
MTG-I and MTG-S
EPS-SG A and B
CO2M
  The development phase is on-going and the EUM scientific teams are in place to follow-up instrument development and on-ground calibrations
  The Cal/Val plan will be significantly updated by EUMETSAT for the CDR in first half of 2024 and dedicated Cal/Val infrastructure for GHG is in prep.
  The instrument and calibration experts will engage in the existing GSICS sub-groups UVN spectrometer (CO2I) and VIS-NIR (MAP and CLIM) to support the definition and assessment of the inter-calibration strategies
  As a multi-instrument system, a strong inter-instrument calibration is foreseen to ensure an excellent relative calibration of the CO2M system
See 1d
See 1e
See 7d

## Slide 14: EUMETSAT instruments update: many new sensors to calibrate
mission | launch | instruments | GSICS sub-groups
MTG-I1 | 2022 | FCI | VIS-NIR and IR
 |  | LI | VIS-NIR
MTG-S1 | 2025 | IRS | IR
 |  | UVN | UVN spectrometers
EPS-SG A1 | 2025 | METimage | VIS-NIR and IR
 |  | 3MI | VIS-NIR
 |  | IASI-NG | IR
 |  | UVNS | UVN spectrometers
 |  | MWS | MW
EPS-SG B1 | 2026 | MWI | MW
 |  | ICI | MW
CO2M | 2026 | CO2I | UVN spectrometers
 |  | MAP | VIS-NIR
 |  | CLIM | VIS-NIR

## Slide 15: EUMETSAT GSICS team
Executive Panel | 
Bojan Bojkov | EUMETSAT representative
Data Working Group | 
Simon Elliott | Formats Expert
Research Working Group | 
Mounir Lekouara | incoming vice-chair of GRWG
Tim Hewison | Vice-chair IR sub-group + MW Sub-Group PoC
Sébastien Wagner | VIS/NIR + Lunar calibration PoC
Rob Roebeling | Event logging
Rasmus Lindstrot | UVN spectrometers expert
Dorothée Coppens | Hyperspectral IR expert
Christophe Accadia Vinia Mattioli | Microwave experts
Rüdiger Lang | UVN spectrometers and VIS-NIR for CO2M
Viju John | FCDR, IR, MW
Ali Mousivand | MICMICS + Radiative Transfer Modelling + Desert Calibration
Bertrand Fougnie | VIS/NIR polarimetry
Point of Contact for Operational Matters | 
Harald Rothfuss |