## Slide 1: LESSR (v2)
Revisit to lunar model formulation
Thijs Krijger
Study funded by

## Slide 2: EUMETSAT / ESA project
Generation Lunar datasets
  GOME2
  SCIAMACHY  Updated LESSR v1.1
Investigation model formulation (LESSRv2)
Multi-mission lunar model (LESSRv3?)
  (see also presentation FDR4ATMOS)

## Slide 3: SCIAMACHY V10
New SCIAMACHY (v10) data available
  Issue etalon <400nm
  ESA investigation on-going before public release
  Version v10x (ESS patch) available to EUMETSAT
  Presented Lunar workshop (Dec 2023)

## Slide 4: GOME2
3 Satellites
  METOP-A (2007-2021)
  METOP-B (2012- )
  METOP-C (2018- )
~1300 independent measurements
Intercalibration
Work just started

## Slide 5: LESSR v1.1
Lunar reflectance model
  250nm – 2600nm with 5nm resolution
  -80° to 20° phase validated
  Relative Accuracy: <1.5% 500nm-2600nm (2% up to 300nm)
  Complete without need of post-model spectral fits
    Strongly reduced implementation error risk
    Direct comparisons possible
Based upon
  SCIAMACHY dedicated satellite measurements
  RELAB on-ground lunar soil measurement
  ROLO-inherited formulation
  Presented Lunar workshop (Dec 2023)

## Slide 6: But…
@Stone
Too low-order Libration dependence
Longitude Libration Dependence

## Slide 7: Formulation Investigations
Motivation
  SLIM 54+ terms
  ROLO/GIRO/LIME formulation limited
  Relative uncertainties of 3000%
Goals to find formulation (parameter * Basefunctions)
  Describe (log of) reflectance measurements (minimal fit residuals)
  Valid measurement phase range (fit residuals distributed phase range)
  Physical full phase range (force solution physical full phase range)
  Avoid overfitting with minimal nmr of basefunctions (Base function Information Content)
  Parameter Signal-to-noise > 1 (Parameter Value & Parameter Uncertainty)
  Parameter*’BaseFunction expected values’ Minimal uncertainty variance contribution

## Slide 8: Basefunction Information Content Iterative Model testing
Requires many models to be tested
  Seed overfitted model (Basefunction set)
  Remove highly correlated basefunction
  Divide measurement (random) into training and validation
  Fit model to training set
  Determine residual validation measurements vs model
  Determine basefunction Information Content via increase of residuals
  Determine least significant basefunction of the set
  Auto-generation new model with least-significant basefunction
  Fit again
  Determine least significant basefunction
  Auto-generation new model
  Etc (but when to stop?)

## Slide 9: Parameter Uncertainty Monte Carlo Bootstrap
Take a (reduced) Basefunction Set
Take random sample measurements (same #)
Determine parameters by fitting model
Repeat 1000 times
Uncertainty determined by
Standard Deviation (per parameter)
Drop parameter/basefunction with high relative uncertainty (>>1)
  Because zero-assumption
Drop parameter/basefunction with high variance contribution (parameter uncertainty * basefunction impact)^2
  Because just adding noise
Repeat till only valid parameters/basefunctions left
Fit model full dataset

## Slide 10: Seed Base Functions
Offset (constant)
Sqrt(abs(Phase))^N with N: -3 to 5
Phase^N with N: -3 to 5
For each of Vlat,Vlon,Hlat,Hlon*: X
  X^N with N:1 to 2
  All X cross-terms
~144 Base-functions
Hlon*=Hlon+Phase-Vlon

## Slide 11: Reduction of # Base Functions
Seed Base functions
Information Content Iterative testing
  Preselect base functions
Uncertainty Monte Carlo Bootstrapping
  Eliminate high relative errors
  Eliminate high variance contributions
Manual Iteration

## Slide 12: Preliminary Results
Signal to Noise ratio

## Slide 13
Relative Uncertainty | Parameter Value | Parameter Uncertainty | Basefunction Impact | Variance Contribution | Basefunction
4.71E-03 | -2.11E+00 | 9.95E-03 | 1.00E+00 | 9.91E-05 | offset
3.20E-02 | -4.82E-03 | 1.54E-04 | 2.01E+02 | 9.60E-04 | sqrt(abs(phase))^3
4.92E-02 | -7.43E-04 | 3.66E-05 | 3.13E+01 | 1.32E-06 | phase
5.80E-02 | 4.08E-04 | 2.36E-05 | 1.29E+03 | 9.32E-04 | abs(phase)^2
6.22E-02 | 3.03E+00 | 1.89E-01 | 3.58E-02 | 4.57E-05 | 1d/abs(phase)
6.64E-02 | -1.51E-06 | 1.00E-07 | 5.69E+04 | 3.26E-05 | abs(phase)^3
8.34E-02 | 1.41E-03 | 1.17E-04 | 3.88E+00 | 2.07E-07 | Vlon
1.01E-01 | -4.58E+00 | 4.61E-01 | 6.19E-03 | 8.16E-06 | 1d/sqrt(abs(phase))^3
1.48E-01 | 2.11E+00 | 3.12E-01 | 1.08E-03 | 1.14E-07 | 1d/abs(phase)^2
1.49E-01 | 8.56E-08 | 1.27E-08 | 5.69E+04 | 5.25E-07 | phase^3
1.53E-01 | -5.88E-07 | 8.97E-08 | 5.41E+03 | 2.35E-07 | phase^2*Vlon
1.66E-01 | -4.15E-05 | 6.88E-06 | 1.32E+02 | 8.23E-07 | phase*Vlon
1.74E-01 | -1.44E-03 | 2.51E-04 | 4.08E+00 | 1.04E-06 | Vlat
1.94E-01 | 1.77E-03 | 3.42E-04 | 1.57E-01 | 2.87E-09 | (Hlon+Phase-Vlon)
2.95E-01 | -2.04E-04 | 6.02E-05 | 5.46E+00 | 1.08E-07 | (Hlon+Phase-Vlon)*phase
3.09E-01 | -2.19E-05 | 6.79E-06 | 1.20E+02 | 6.66E-07 | phase*Vlat
3.57E-01 | 6.53E-05 | 2.33E-05 | 3.04E+01 | 5.02E-07 | Hlat*phase
4.63E-01 | -1.64E-07 | 7.62E-08 | 4.32E+03 | 1.08E-07 | phase^2*Vlat
7.82E-01 | 1.54E-05 | 1.20E-05 | 1.61E+01 | 3.74E-08 | (Vlon*Vlat)
7.97E-01 | 1.32E-03 | 1.05E-03 | 9.89E-01 | 1.08E-06 | Hlat

## Slide 14: Model uncertainty
σSCIA

## Slide 15: Validation
Local Libration
ROLO

## Slide 16: Local Libration
Local Libration removes dependence phase
Select all measurements with 4°phase range
Fit phase polynomial + linear libration
  Vlon, Vlat, Hlat, Hlon* (Hlon+Phase-Vlon)
  Vlon*Vlat

## Slide 17: Small Phase range (local) Libration
Reflectance SCIAV10 (870nm)

## Slide 20: Local Libration Dependence

## Slide 21: Libration LESSRv2x

## Slide 22: Libration Comparison
No Hlat
@Stone

## Slide 23
@Stone
LESSR/ROLO
Absolute level similar SLIM

## Slide 24
ROLO formulation Local Libration
Fit ROLO formulation (linear parts, non-linear parameters fixed) to SCIAv10

## Slide 25: Next steps
Investigate formulation other wavelength
Improve SCIAMACHY uncertainty
LESSRv2
  Repeat fit for all wavelengths
  Compare SEVERI/OLCI/GIRO/LESSRv1(.1)/LIME
LESSRv3
  Include other instruments

## Slide 26: Wavelength Slope (Apollo Fit)

## Slide 27: Conclusions
Small phase range libration allows formulation validation
Formulation strongly impacts model uncertainties
Using Monte Carlo + Information Content
  Reduction of required base functions
  Determination uncertainty parameters
LESSRv2 looks extremely promising
GOME2 lunar dataset upcoming

## Slide 28: Thank you