## Slide 1: VIS/NIR discussion
March 14, 2024

## Slide 2: VIS/NIR methods
The VIS/NIR calibration approach is to use as many methods as possible
  Combine calibration coefficients by the inverse of the uncertainty
  Clear-sky ocean retrievals require different inter-calibrations method than bright cloud retrievals
For a GSICS VIS/NIR calibration method
  Need a lead to combine best practices, organize web meetings,
  Write a detailed ATBD of how other agencies can apply method
  Define GSICS product

## Slide 3: GSICS monthly web meetings
VIS/NIR meetings are held the 2nd Thursday in the month and are 2 hours.
  We would have from 2-4 presentations
  We have Hyanbul Lee (KMA) to discuss the lunar cal, and the ray-matching and DCC calibration methods to adress the seasonal variation
  We have Scott Hu to talk about the PIP intercalibration method,
  We have Kuzuki Kodera, to discuss improvements in the ray-matching of low radiances.
  CLARREO and TRUTHS GSICS recommended inter-calibration satellites, Earth targets
The web meetings allow for long discussions for a deep understanding of the concept and formulate solution and best practices.

## Slide 4: Calibration methods that need leads
Earth invariant targets or PICS
Rayleigh scattering
PIPs