## Slide 1
Review of GSICS GEO-LEO IR v2 inter-calibration algorithm development
Tim Hewison (EUMETSAT)
+ Many other GSICS contributors over >10 yrs!
GSICS Annual WG Meeting - IR Session 2024-03-12

## Slide 2: Review: Current GSICS GEO-LEO IR algorithm
Collocate in Space, Time, Angle
  Collect Simultaneous Nadir Overpasses (SNOs)
  Tie to contemporary reference instrument
  with very small uncertainty
Hyperspectral Reference (IASI)
  Convolve IASI spectrum with Spectral Response Function (SRF) of monitored instrument
  Can diagnose SRF errors
Compare
  Apply weighted regression to collocated radiances
  Evaluate uncertainties
Generate GSICS Correction
  Update daily
  Distribute via GSICS Servers
Evaluate & Monitor Bias
  Check long-term stability & Decontamination
[mW/m2/sr/cm-1]
[mW/m2/sr/cm-1]

## Slide 3: Review: Issues with current GSICS GEO-LEO IR algorithm
Previously, reviewed issues with v1 GSICS GEO-LEO IR algorithm:
Formulation not user friendly
Performance at the Cold End
Hot Land Bias issue
Impact of high viewing angles
Diurnal variation
  Need to handle multiple references - including IASI, CrIS, HIRAS, …

## Slide 4: Cooperative GEO-LEO IR v2 inter-calibration algorithm development
2023-03 Planned
2023-07 Updated plan:
  GPRCs operating GEO imagers to implement proposed algorithm for GEO-LEO IR v2:
    CMA, EUMETSAT, ISRO/IMD, JMA, KMA, NOAA
  Volunteers agreed to investigate further improvements and report by 2024:
    3.9µm channel issue – already addressed (summarised by Likun Wang)
    Parallax – Likun Wang (NOAA) – 2023-05-04
    Detect and Filter collocations affected by Hot Land issue – KMA + EUM
    Formulation of regression algorithm - Fred Wu (NOAA)
    Using multiple GEO imagers per LEO overpass – Vincent Debaecker (EUMETSAT) – new!
    Multiple References/Diurnal Variations - Pradeep Thapliyal (ISRO), Chengli Qi (CMA)
      CMA also to cover in hyperspectral-hyperspectral comparisons
    Define Standard Scene Tbs: e.g. 220K, Tb_std, 305K? - Pradeep Thapliyal (ISRO)
    Uncertainty Analysis - Tim Hewison (EUMETSAT) – as part of MTG-I1/FCI commissioning
2024-03 – Updates in Green above
  Open Issues to be resolved/discussed in red

## Slide 5: Related algorithms
GEO-GEO imager-imager
  2024-03: FY: GOES ABI IR midnight calibration variation
  2024-03: EH: Re-calibration results of COMS/MI and GK2A/AMI
  (2024-03: VdB: FCI-SEVIRI)
GEO-GEO hyperspectral-imager
  2023-05: DD: FY-4A/AGRI-GIIRS
    Radiance dependence
    Viewing Zenith Angle dependence
GEO-LEO hyperspectral-hyperspectral
  2024-03: PD: FY-4B GIIRS / Metop-IASI Inter-comparison
  CMA?
LEO-LEO imager-imager
  Extension to VIS/NIR – Ray-matching?

## Slide 6: Calibration Correction Model
Issues:
  Formulation not user friendly
  Performance at the Cold End
Proposals:
  2023-03: TH proposed Orthogonal Distance Regression (ODR)
    with quadratic term, but forcing offset = zero
  2024-03: XJ: Improvements in the Current SNO method for ABI-CrIS ?
  2024-03: MT: See agenda item: Revisit to AHI GEO-LEO-IR Regression
  Any other ideas?
  Way forward?

## Slide 7: Extending Dynamic Range – including day-time collocations
Hot Land Issue
  2023-07: TH: Ensuring Symmetric Time Sampling critical for daytime!
  2024-03: VdB: Interpolating between consecutive GEO images
  Issue resolved? Or sufficiently mitigated?
Sun Glint
  2024-03: VdB: Impact of Sun Glint mask on FCI-IASI (also for GEO-GEO)
  Generalise algorithm?
Gap-filling for 3.8µm channels only trained on night-time data – new!
  2024-03: VdB: Issue with FCI-IASI IR3.8 bias in day-time
  Re-train with dataset including daytime data?

## Slide 8: Impact of high viewing angles
Inconsistent results with SEVIRI Full Disc and Rapid Scan Service
  2023-03: TH: Inconsistent results from Full Disc and Rapid Scan Service – see next slide
    e.g. due to cloud parallax issues / scan-angle dependence?
  2023-09: Not an issue for FCI!
  Anyone else?
Terrain Correction
  2023-07: LW: Application to LEO-LEO
    Issue for GEO-LEO IR?
Parallax
  2023-03: TH proposed Parallax mask – reject high VZA + low BT combinations
  2023-05: LW: Constrain Relative Azimuth Angle / Use LOS vectors, instead of VZA
  2024-03: TH: Simple Model of Parallax Uncertainty
  2024-03: LW: Summary on Angle errors, parallax, and proposed resolutions
  Way forward?
    Ensure no systematic bias introduced by inter-calibration algorithm
    Account for additional uncertainty?

## Slide 9: Time series of bias of Meteosat-11/SEVIRI wrt IASI-B/C
Changed from Full Disk to Rapid Scan Service in March 2023
Increase in noise (expected, due to fewer collocations)
Small bias change in IR8.7 and IR13.4 channels

## Slide 10: Multiple References/Diurnal Variations
Progress?

## Slide 11: Collocation Smoothing Window period
Collocations from multiple days can be combined
  When calculating GSICS Correction/bias monitoring
Trade-off between
  Response to rapid calibration changes
  Uncertainty on correction function/bias
    Required level of uncertainty?
2013: Defined 29d for RAC, 14d for NRTC
  Based on typical rate of change of GEO calibration
2024-03: VdB Illustration for FCI-IASI
  Need to revise for current instruments & v2 algorithm
  Iteratively with uncertainty analysis

## Slide 12: Reporting & Uncertainty
Definition of biases
  2024-03: TH: Standard Scene Tbs
SRF Errors:
  2024-03: VdB: Apply Simple SRF Shift to FCI-IASI
  SRF retrievals – TBA
Reporting
  2024-03: See discussion under agenda item on GSICS SOS Reports
Uncertainty Analysis to be repeated for algorithm revisions
  2023-09: TH proposed new approach
    Propagating uncertainty on all inter-calibration inputs through calibration equation in near real-time
    Will test on FCI-IASI – awaiting sufficient data
  Anyone else?

## Slide 13
Thank you!
Questions are welcome.