## Slide 1: GSICS Subgroup Interaction with the WGCV
Flavio Iturbide-Sanchez, Shengli Wu, Siena Iacovazzi, Juyang Hu, and Tim Hewison
March 14, 2024

## Slide 2: Outline
General Achievements and Progress
Web Meeting Summaries and Highlights
Actions
Planned Activities

## Slide 3: General Achievements and Progress (1 of 4)
Microwave (MW) Subgroup meetings
  21 Sep 2023 (Admin Meeting)
  25 Oct 2023 (Admin Meeting)
  18 Dec 2023 (Full Membership Meeting)
  23 Jan 2024 (Admin Meeting)
  14 Mar 2024 (Annual Meeting Breakout Session)
MW Subgroup Chair Election
New MW Subgroup Vision
Validation of new MW instrument constellation assets
  NOAA-21 ATMS SDR reached Fully Validated Maturity
  Five new CMA MW sensors onboard FY-3F(20230803) and FY-3G(20230416) are doing on-orbit test. Data will be available before June 2024.
  Analysis of pre-launch radiometric thermal vacuum and antenna test data for MWI, ICI and MWS on the second generation EUMETSAT Polar System (EPS-SG)

## Slide 4: General Achievements and Progress (2 of 4)
Continued MW instrument calibration performance monitoring, maintenance and sustainment
  CMA – FY-3C, -3D and -3E
  ESA -
    SMOS TB compared over Antarctica with the DOMEX experiment in-situ measurements and with SMAP, with good agreement within a few Kelvin.
    The validation platform for sea surface salinity (https://www.salinity-pimep.org/) and soil moisture (https://qa4sm.eu/ui/home) L2 products has evolved.
  JAXA - GCOM-W/AMSR2 and GPM/DPR
  NOAA – JPSS/ATMS and POES/AMSU-A
Future MW instrument cal/val preparation
  CMA
    Re-calibration of FY-3D/MWRI
    Cal/Val algorithm of new generation MWRI and DPR

## Slide 5: General Achievements and Progress (3 of 4)
Future MW instrument cal/val preparation (Cont.)
  ESA Preparations for CIMR Cal/Val
    Development of CIMR-AIR airborne instrument to collect pre-launch data to support CIMR algorithm developments and on-orbit validation.
    Kick-off study (Oct-23), Requirements review (Feb-24), Initial campaign (Jun-25).
    CIMR-AIR is a Dicke balanced radiometer with switched noise injection that includes the five CIMR frequency bands in H&V in a compact form that can be flown on a research aircraft.
    For the 3rd and 4th Stokes instrument operation is in the unbalanced mode.
  EUMETSAT
    Preparations for cal/val of MWI, ICI and MWS on the second generation EUMETSAT Polar System (EPS-SG)
      Completing study on vicarious calibration using NWP and radiosondes
      Extension in preparation to include uncertainty analysis based on NWP comparisons
    Preparation for EPS-Sterna
      Preparing study on hybrid inter-calibration methods, including SNO near nadir, at high angle, and for extended collocation periods (OCTM method), NWP and vicarious calibration double-differencing
      Including planned application to ESA’s Arctic Weather Satellite (launch 2024-06)

## Slide 6: General Achievements and Progress (4 of 4)
Future MW instrument cal/val preparation (Cont.)
  JAXA AMSR3
    Calibration plan is almost unchanged from that of AMSR2
    Currently conducting pre-launch tests, including antenna pattern test
    Plan to conduct cross-calibration of new high-frequency channels, comparing with GMI and SSMIS
    As a launch preparation, Mongolian soil moisture validation site sensors in operation since 2000 are planned to be comprehensively replaced in May 2024
  NOAA
    QuickSounder ATMS
    Using TROPICS Pathfinder to explore the utility of SmallSats in their MW portfolio
MW Subgroup Wiki updated to include all full-member meetings

## Slide 7: MW Subgroup Chair Election
A GSICS MW Subgroup Chair Election Process was developed and approved on July 18, 2023 by the GSICS Research Working Group and the GSICS Executive Panel
A ballot was created and distributed to the subgroup membership on July 24, 2023
Vote Statistics
  Total Votes: 28
  Total MW Subgroup Members: 76
  The qualified voter participation of 36.84% of the total subgroup membership is greater than the 30% quorum needed
Vote Breakdown
  Dr. Shengli Wu (CMA) (14 Votes)
  Dr. Flavio Iturbide-Sanchez (NOAA) (14 Votes)
The tie resulted in the election committee requested that the two nominees work together and co-chair the subgroup. Flavio and Shengli agreed.
The GRWG Chair (Fangfang Yu) approved the election results on August 23, 2023

## Slide 8: New MW Subgroup Vision (1 of 4)
New Objective: Develop, assess and mature methodologies to achieve data quality and consistency of on-orbit microwave sensors in order to accelerate data usage for weather and climate applications.
Foundational elements of the MW Subgroup path forward
  Identify MW sensor performance assessment and inter-sensor calibration methods, and develop and/or adopt a common framework to evaluate them
  Form Focus Groups and establish Non-Focus Group Initiatives for topics critical to the subgroup

## Slide 9: New MW Subgroup Vision (2 of 4)
OBJECTIVE: Develop, assess and mature methods to achieve data quality and consistency of on-orbit MW sensors to accelerate data usage for weather and climate applications
Identify MW sensor performance assessment and inter-sensor calibration methods
Develop/Adopt a common framework – e.g., MW remote sensing glossary and instrument uncertainty tree - to evaluate MW sensor performance assessment and inter-sensor calibration methods, as well as help to identify “community standard” MW sensors.
Establish independent “Focus Groups”
MW Sensor Performance Assessment and Inter-Sensor Calibration Methods Focus Groups (Meetings held as needed)
Progress reports, and methods and common framework documentation and data artifacts, provided at Subgroup Quarterly Meetings. Hold an Annual Technical Workshop.
Explore and share new remote sensor technologies and designs, and pre-launch verification and post-launch validation testing methods
GSICS Annual Meeting
Summarize Focus Group progress and Annual Technical Workshop presentations/discussions.
Plan for the next year’s GSICS MW Subgroup activities in the “MW Subgroup Breakout Session”
MW Radiometer Technology and Instrument Pre-Launch Testing and Post-Launch Characterization Focus Group
  MW Radiometer Vicarious Calibration Focus Group
MW Radiometer Lunar Calibration Focus
Direct MW Radiometer Inter-calibration Method Focus Group
Radiative Transfer Model (RTM) Facilitated MW Radiometer Inter-calibration Focus Group
MW Radiometer Applications Focus Group

## Slide 10: New MW Subgroup Vision (3 of 4)
Focus Groups
  Formed from responses to the topic interest survey sent to members on 18 December 2023
  Most groups are responsible for developing GSICS-adopted inter-calibration algorithms based on existing techniques, and creating GSICS products based on these algorithms
  Group Names
    MW Radiometer Technology and Instrument Pre-Launch Testing and Post-Launch Characterization Focus Group (11 Possible Members led by {NAME})
      Plans and holds the GSICS MW Subgroup technical workshop
    Direct MW Radiometer Inter-calibration Method Focus Group (5 Possible Members led by {NAME})
      Includes Simultaneous Nadir Overpass (SNO) and Opportunistic Constant Target Matching (OCTM) methods
    MW Radiometer Vicarious Calibration Focus Group (5 Possible Members led by {NAME})
    Radiative Transfer Model (RTM) Facilitated MW Radiometer Inter-calibration Focus Group (6 Possible Members led by {NAME})
      Encompasses methods that compare observed and simulated MW measurements with boundary and internal conditions defined by numerical weather prediction (NWP), radiosonde and/or Global Navigation Satellite System (GNSS) Radio Occultation (RO) products
    MW Radiometer Lunar Calibration Focus Group (4 Members led by {NAME})
      Uses the Moon as a source for MW radiometer calibration and geolocation assessment
    MW Radiometer Applications Focus Group (10 Members led by {NAME})
      Includes climate user and NWP community collaboration

## Slide 11: New MW Subgroup Vision (4 of 4)
Non-Focus Groups
  Inter-calibration by Double Difference (topic is being absorbed into the Vicarious and RTM Focus Groups)
  Uncertainty Analysis (Calibration methods, Measurement models)
  Glossary of Vocabulary and Terminology

## Slide 12: Annual Meeting Breakout Session Synopsis and Key Take-aways (1 of X)
Level 1
  Level 2

## Slide 13: MW Subgroup: 2024 Planned Activities, and Past Open & Potential Future Actions

## Slide 14: MW Subgroup Planned Activities
Meetings 2024
  Web Meetings :
  Workshop (2-3 days) :
Possible Collaborative Activities (Within MW Subgroup Focus Groups)
  Preparing Copernicus Imaging Microwave Radiometer (CIMR) – GSICS MW instruments inter-comparison activity
  Covering in concept for focus groups!
  #3
Possible Deliverables
  #1
  #2
  #3

## Slide 15: Open Action Items 2021 (1 of 2)
Action Item: A.GMW. | Description | Status
20210121.3 | Paul Poli would like information about SSMT2. May have SSMT2 information in desk at NASA. Paul to send a reminder email to Ed to look for it. (Ed Kim) | CLOSED* (10 FEB 2023) Ed looked for the SSMT info in his office and could not find any.
20210121.5 | All Subgroup Members working on FCDRs please provide input about using FCDRs as a community reference to Manik. (Manik Bali) | CLOSED (22 FEB 2023) Input received, and there is intention to publish them. (26 FEB 2024) There is a push now to discuss this at a higher level, such as the GRWG.
*CLOSED but not reflected in the GSCIS Master Action List of the GCC

## Slide 16: Open Action Items 2021 (2 of 2)
Action Item: A.GMW. | Description | Status
20210330.2 | Consider the GRWG desire that the Microwave Subgroup focus on 1) the development of MW GSICS standard products – e.g., O-B and SNO for the microwave sounders, GNSS-RO and microwave imagers, and 2) in the near future the definition of reference instruments and sharing of SNO common codes. (Actionee not designated) | CLOSED (2021) Completed for Microwave Spectral Response Function (SRF). CMA FY-3E related information, such as SRF, is not currently available to all users. Some users that apply to gain access can acquire some sample applications. (2022) Developing methods to determine RTM-simulated Tb uncertainties for O-B Ta/Tb bias method. (2 March 2023) The subgroup has clarified that without a rigorous method to diagnose MW sensor uncertainties, that it is impossible to carefully choose reference sensors and generate any products that stem from needing established reference sensors. (18 December 2023) Focus Groups that will concentrated on this tasks are to be formed as part of the changing vision of the Subgroup

## Slide 17: Open Action Items 2022 (1 of 2)
Action Item: A.GMW. | Description | Status
20220317.1 | Share the lunar disc-average brightness temperature data base for the microwave frequency range between 23 and 183 GHz (Yang and Burgdorf) | CLOSED* (24 JAN 2023) The dataset and the calibrated RTM model can be accessed by requirement from Github: https://github.com/Tigeryang007/ RTMlunar, contact info: huyang@umd.edu
20220317.2 | Determine the feasibility of using MW FCDRs as GSICS Products (Iacovazzi and John) | CLOSED* (18 MAR 2022) The FCDR is not considered a calibration method, and there are currently no plans to create a GSICS FCDR development algorithm.
20220317.3 | Obtain the lunar data acquire from TROPICS from MIT. (Yang) | CLOSED (22 FEB 2023) Tiger Yang is working with a graduate students from MIT/LL from Bill Blackwell’s team on processing the lunar data they collected from TROPICS. Tiger provided the calibrated lunar RTM model (presented in January workshop) software package for their studies. (2 MAR 2023) Tiger Yang recommends to keep the action open until the data are made available by MIT/LL. (26 FEB 2024) Obtaining the TROPICS lunar data is not very necessary for lunar model development, since we already have observations from NOAA-20 and 21, and planning the 2D lunar scans for QuickSounder ATMS.
*CLOSED but not reflected in the GSCIS Master Action List of the GCC

## Slide 18: Open Action Items 2022 (2 of 2)
Action Item: A.GMW. | Description | Status
20220317.4 | Perform O-B analysis on SmallSat/CubeSat data, such as TROPICS or TEMPEST-D. (NOAA) | CLOSED* (23 FEB 2023) The action is completed and the results for TROPICS has been published. Yang, Xun, Y.-K. Lee, C. Grassotti, K. Garrett, Q. Liu, W. Blackwell, R. V. Leslie, T. Greenwald, R. Bennartz, S. Braun, 2023, Atmospheric humidity and temperature sounding from the CubeSat TROPICS mission: Early performance evaluation with MiRS, Remote Sensing of Environment, 287, 113479, https://doi.org/10.1016/j.rse.2023.113479 .
20220317.5 | Obtain and share NWP results regarding the use of the MWTS-III from FY-3E. (CMA) | CLOSED* (2 March 2023) The results were shared at the GSICS MW Subgroup Breakout Session at the GSICS Annual Meeting in the presentation entitled “Calibration improvement of MWTS on FY-3D and FY-3E”
*CLOSED but not reflected in the GSCIS Master Action List of the GCC

## Slide 19: Open Action Items 2023
Action Item: A.GMW. | Description | Status
20230302.1 | Ed Kim (NASA) to invite GPM XCAL to present inter-calibration algorithms to GSICS at web meeting | OPEN (26 February 2024) Because of conflict of interest, Ed cannot extend the invitation, but will provide several names and emails of people that can give a presentation to Siena
20230302.2 | Martin Burgdorf to invite Imke Hans (now Imke Krizek and at EUMETSAT) to present uncertainty tree developed for microwave sounders within FIDUCEO | CLOSED (7 March 2023) Imke could not commit to the activity.
20230302.3 | Tim Hewison (EUMETSAT) to brief MWSG on experience in developing GSICS products for IR channels of GEO imagers – and uncertainty analysis | OPEN
20230302.4 | Siena Iacovazzi to send “Call for GSICS MW Subgroup Chair/Co-chairs” to the subgroup members. | CLOSED (2 March 2023) Announcement written and distributed.

## Slide 20: Potential Action Items 2024
Action Item: A.GMW. | Description | Status
20240314.1 | Action to Focus Group Leads to report back from first meeting. | OPEN
20240314.2 |  | OPEN
20240314.3 |  | OPEN
20240314.4 |  | OPEN

## Slide 21: Back Up Slides