## Slide 1: Microwave Radiometer Direct Inter-Calibration (“SNO”) Method Focus Group
Tim Hewison (EUMETSAT)
Yang Guo (CMA)
EUMETSAT

## Slide 2: Presentation Overview
Aims of Focus Group
  Algorithm comparison
  Developing common algorithms
    SNO
    SCO (High angle SNO)
    OCTM method (Opportunistic Constant Target Matching)
  Integrating uncertainty framework
  Develop calibration corrections
  Develop calibration monitoring tools
Way of Working

## Slide 3: Simultaneous Nadir Overpass (SNO)
Reference Instrument Selection
  Channel-dependent
  Interaction with all Microwave Sub-Group
Channel Selection
  Definition of Spectral Band Adjustment Factors (SBAFs)
Criteria for SNO
  Maximum Viewing angle
  Viewing Angle Difference
  Time Difference
  Spatial Difference
  SNO target area – single pixel or “Super-Ob” -
Filtering
  Outlier removal
Comparison
  Regression? Weighed?
  Form of correction function – bias / gain / linear / quadratic
Uncertainty framework
  Characterising sensitivity of scene variability

## Slide 4: Simultaneous Conical Overpass (SCO)
As SNO, but…
SNO by definition uses (near-) nadir observations
It is not applicable for conically-scanning microwave imagers
Method could be extended to high viewing angles
Needs additional attention on:
  Viewing Angle Differences
  Parallax issues
  FOV differences
  Polarisation Differences
  Characterising any scan-angle calibration variations

## Slide 5: Inter-Calibration Algorithm - OCTM
Opportunistic Constant Target Matching (Buehler et al. 2020)
  Aims to improve dynamic range of SNO method
  By identifying stable conditions
  E.g. in sub-tropic subsidence zones
  where time window can be extended to many hours +
  Based on analysis of geostationary imager data
Relatively immature – but Highly Promising
  Applied only to microwave humidity sounders so far
  Applicable to temperature sounding channels?
    e.g. Using 13.3µm CO2 channel – or IRS – or WV channels?
  Needs further development
    to identify channels with similar weighting functions,
    implement, tune collocation criteria
    and conduct an uncertainty analysis
Matchup scatterplot of MHS 183±1GHz on NOAA 18 v. Metop A Orange points mark OCTMs. Blue points mark classic SNO matchups. (From Buehler et al. 2020)

## Slide 6: Calibration Monitoring Tools
http://gsics.nsmc.org.cn/portal/en/fycv/index.html
Instrument Performance - Parameters indicating the data quality
  Observing system: such as, frequency locker, Receiver;
  Temperature: such as, PRT, instrument temperature;
  Antenna: such as, cold space starting/end angle, warm load starting/end angle, earth scene starting/end angle;
  Auxiliary information: time, volt, gain
Calibration Results
  Satellite
  Instrument
  Auxiliary information: time, channel, reference instrument

## Slide 7: Proposed Way of Working
Regular Web Meetings
Review existing algorithms
Identify issues
Conduct analysis to optimise algorithms
  Integrating uncertainty framework
  Combine algorithms for robust coverage over full dynamic range
Apply algorithm variants to different instruments
Compare experiences
Learn!
Aim to define
  Common baseline algorithm
  Common calibration correction function
  Common monitoring framework
    e.g. define standard Tb scenes to evaluate radiance-dependent bias
Timescale?
Focus Group Members Cheng-Zhi Zou (NOAA)
Flavio Iturbide (NOAA)
Siena Iacovazzi (GST @ NOAA)
Tim Hewison (EUMETSAT)
Yang Guo (CMA) + Your contributions are welcome!