## Slide 1: MW Subgroup Progress Report
Flavio Iturbide-Sanchez, Shengli Wu, Tim Hewison，Siena Iacovazzi and Juyang Hu
March 15, 2024

## Slide 2: Outline
General Achievements and Progress
New MW Subgroup Vision
Planned Activities and Actions of 2024

## Slide 3: General Achievements and Progress (1 of 3)
Microwave (MW) Subgroup meetings
  21 Sep 2023 (Admin Meeting)
  25 Oct 2023 (Admin Meeting)
  18 Dec 2023 (Full Membership Meeting)
  23 Jan 2024 (Admin Meeting)
  14 Mar 2024 (Annual Meeting Breakout Session)
MW Subgroup Chair Election
New MW Subgroup Vision
Validation of new MW instrument constellation assets
  NOAA-21 ATMS SDR reached Fully Validated Maturity
  Five new CMA MW sensors onboard FY-3F(20230803) and FY-3G(20230416) are doing on-orbit test. Data will be available before June 2024.
  Analysis of pre-launch radiometric thermal vacuum and antenna test data for MWI, ICI and MWS on the second generation EUMETSAT Polar System (EPS-SG)

## Slide 4: General Achievements and Progress (2 of 3)
Calibration maintenance and sustainment of current MW instruments
  CMA, JAXA and NOAA continuously monitor their on-orbit MW sounder and/or imager calibration performance
  ESA
    Continues SMOS validation by comparing SMOS Brightness Temperature over Antarctica with in-situ measurements from the DOMEX experiment and with SMAP. Results are in good agreement within few Kelvin.
    For L2 products, the validation platform for sea surface salinity (https://www.salinity-pimep.org/) and soil moisture (https://qa4sm.eu/ui/home) has evolved
Future MW instrument cal/val preparation
  CMA
    Re-calibration of FY-3D/MWRI
    Cal/Val algorithm of new generation MWRI and DPR
  NOAA
    QuickSounder ATMS
    Using TROPICS Pathfinder to explore the utility of SmallSats in their MW portfolio

## Slide 5: General Achievements and Progress (3 of 3)
Future MW instrument cal/val preparation (Cont.)
  ESA Preparations for CIMR Cal/Val
    Development of CIMR-AIR airborne instrument to collect pre-launch data to support CIMR algorithm developments and on-orbit validation.
    Kick-off study (Oct-23), Requirements review (Feb-24), Initial campaign (Jun-25).
    CIMR-AIR is a Dicke balanced radiometer with switched noise injection that includes the five CIMR frequency bands in H&V in a compact form that can be flown on a research aircraft.
    For the 3rd and 4th Stokes instrument operation is in the unbalanced mode.
  EUMETSAT
    Preparations for cal/val of MWI, ICI and MWS on the second generation EUMETSAT Polar System (EPS-SG)
      Completing study on vicarious calibration using NWP and radiosondes
      Extension in preparation to include uncertainty analysis based on NWP comparisons
    Preparation for EPS-Sterna
      Preparing study on hybrid inter-calibration methods, including SNO near nadir, at high angle, and for extended collocation periods (OCTM method), NWP and vicarious calibration double-differencing
      Including planned application to ESA’s Arctic Weather Satellite (launch 2024-06)
  MW Subgroup Wiki updated to include all full-member meetings

## Slide 6: New MW Subgroup Vision MW Subgroup Chair Election
A GSICS MW Subgroup Chair Election Process was developed and approved on July 18, 2023 by the GSICS Research Working Group and the GSICS Executive Panel
A ballot was created and distributed to the subgroup membership on July 24, 2023
Vote Statistics
  Total Votes: 28
  Total MW Subgroup Members: 76
  The qualified voter participation of 36.84% of the total subgroup membership is greater than the 30% quorum needed
Vote Breakdown
  Dr. Shengli Wu (CMA) (14 Votes)
  Dr. Flavio Iturbide-Sanchez (NOAA) (14 Votes)
The tie resulted in the election committee requested that the two nominees work together and co-chair the subgroup. Flavio and Shengli agreed.
The GRWG Chair (Fangfang Yu) approved the election results on August 23, 2023

## Slide 7: New MW Subgroup Vision (1 of 4)
New Objective: Develop, assess and mature methodologies to achieve data quality and consistency of on-orbit microwave sensors in order to accelerate data usage for weather and climate applications.
Foundational elements of the MW Subgroup path forward
  Identify MW sensor performance assessment and inter-sensor calibration methods, and develop and/or adopt a common framework to evaluate them
  Form Focus Groups and establish Non-Focus Group Initiatives for topics critical to the subgroup

## Slide 8: New MW Subgroup Vision (2 of 4)
OBJECTIVE: Develop, assess and mature methods to achieve data quality and consistency of on-orbit MW sensors to accelerate data usage for weather and climate applications
Identify MW sensor performance assessment and inter-sensor calibration methods
Develop/Adopt a common framework – e.g., MW remote sensing glossary and instrument uncertainty tree - to evaluate MW sensor performance assessment and inter-sensor calibration methods, as well as help to identify “community standard” MW sensors.
Establish independent “Focus Groups”
MW Sensor Performance Assessment and Inter-Sensor Calibration Methods Focus Groups (Meetings held as needed)
Progress reports, and methods and common framework documentation and data artifacts, provided at Subgroup Quarterly Meetings. Hold an Annual Technical Workshop.
Explore and share new remote sensor technologies and designs, and pre-launch verification and post-launch validation testing methods
GSICS Annual Meeting
Summarize Focus Group progress and Annual Technical Workshop presentations/discussions.
Plan for the next year’s GSICS MW Subgroup activities in the “MW Subgroup Breakout Session”
MW Radiometer Technology and Instrument Pre-Launch Testing and Post-Launch Characterization Focus Group
  MW Radiometer Vicarious Calibration Focus Group
MW Radiometer Lunar Calibration Focus
Direct MW Radiometer Inter-calibration Method Focus Group
Radiative Transfer Model (RTM) Facilitated MW Radiometer Inter-calibration Focus Group
MW Radiometer Applications Focus Group

## Slide 9: New MW Subgroup Vision (3 of 4)
Focus Groups
  Formed from responses to the topic interest survey sent to members on 18 December 2023
  Most groups are responsible for developing GSICS-adopted inter-calibration algorithms based on existing techniques, and creating GSICS products based on these algorithms
Non-Focus Groups
  Inter-calibration by Double Difference (topic is being absorbed into the Vicarious and RTM Focus Groups)
  Uncertainty Analysis (Calibration methods, Measurement models)
  Glossary of Vocabulary and Terminology

## Slide 10
Focus Groups (1 of 6)
    MW Radiometer Technology and Instrument Pre-Launch Testing and Post-Launch Characterization Focus Group (11 Possible Members led by Dazhen Gu and Juyang Hu)
      Plans and holds the GSICS MW Subgroup technical workshop
The group will focus on MW radiometer characterization, which includes pre-launch test design and post launch evaluation approaches.
Goals
  Unify evaluation standards so that we can compare post-launch instrument quality.
  Develop characterization for to-be-launched geostationary MW.
  Recruit MW instrument users.
  Establish a shared network storage, organize virtual meetings and report to GSICS Chairs.

## Slide 11
Focus Groups (2 of 6)
    Direct MW Radiometer Inter-calibration Method Focus Group (5 Possible Members led by Tim Hewison and Yang Guo)
      Includes Simultaneous Nadir Overpass (SNO) and Opportunistic Constant Target Matching (OCTM) methods
Review existing algorithms
Identify issues
Conduct analysis to optimise algorithms
  Integrating uncertainty framework
  Combine algorithms for robust coverage over full dynamic range
Apply algorithm variants to different instruments
Compare experiences
Learn!
Aim to define
  Common baseline algorithm
  Common calibration correction function
  Common monitoring framework

## Slide 12
Focus Groups (3 of 6)
    MW Radiometer Vicarious Calibration Focus Group (5 Possible Members led by Shengli Wu and Siena)
The motivation for the group is to identify specific regions by which can act as long term stable targets for calibration at different temperatures.
Goals
  Determine targets that will loosen strict collocation requirements between reference measurements or simulation and observations, and lower risks related to low sampling and surface emissivity variations.
  Provide information that can be used to determine “reference” sensors, and improve calibration itself. Gave examples for MW imager cross-calibration (XO) with respect to MWRI.

## Slide 13
Focus Groups (4 of 6)
    Radiative Transfer Model (RTM) Facilitated MW Radiometer Inter-calibration Focus Group (6 Possible Members led by Ninghai Sun)
      Encompasses methods that compare observed and simulated MW measurements with boundary and internal conditions defined by numerical weather prediction (NWP), radiosonde and/or Global Navigation Satellite System (GNSS) Radio Occultation (RO) products
Not discussed

## Slide 14
Focus Groups (5 of 6)
    MW Radiometer Lunar Calibration Focus Group (4 Members led by Tiger Yang)
      Uses the Moon as a source for MW radiometer calibration and geolocation assessment
Microwave Lunar RTM model development
  Theoretical model development and inter-comparison
  RTM model validation with satellite observations
Lunar radiance measurements based on the satellite observations
  Lunar satellite observation calibration
  Sensor related uncertainty in Lunar radiance measurements
Lunar observation applications
  Antenna beam pointing/Geolocation accuracy evaluation
  Instrument long-term gain stability evaluation
  Inter-sensor calibration
Goals
  A validated Lunar RTM for MW sounding instrument calibration
  General algorithm for on-orbit lunar intrusion correction
  Website for Lunar data and code exchange within this GSICS Focus Group

## Slide 15
Focus Groups (6 of 6)
    MW Radiometer Applications Focus Group (10 Members led by Chengzhi Zou)
      Includes climate user and NWP community collaboration
Vision is to support MW radiometry applications in weather and climate. Includes passive and active MW sensors, while weather applications include NWP and inter-calibration, cross-calibration and calibration. Goals Work with the NWP community. Develop bias correction and calibration/inter-calibration/recalibration for Fundamental Climate Data Record (FCDR) and Thematic Climate Data Record (TCDR) data sets Develop strategies to assess data quality of FCDR and RCDR and develop strategies for validation and comparisons.

## Slide 16: Annual Meeting Breakout Session Synopsis and Key Take-aways
Scheduling web meetings
  Regular slot – Check with GRWG Chair for possible options
  Quarterly MWSG meetings to review progress of focus groups
  Focus Group meetings – Leaders are free to choose time slot. They are recommended to invite the entire MW Subgroup and not just limit meeting attendance to the Focus Group members
  All web meetings to be announced to gsics-dev@googlegroups.com
Radiometer Technology and Testing group is tasked to hold a technical workshop
Documentation of Lunar models and observations is critical! Tiger offered to create a sharing place,
  E.g. GSICS Wiki or GitHub.

## Slide 17: Potential Action Items 2024
Action Item: A.GMW. | Description | Status
A.GMW.8o.1 | Siena to provide the GSICS MW Subgroup Membership to all Focus Group Leaders | OPEN
A.GMW.8o.2 | Tiger Yang to Create a sharing space in GitHub for code and document exchange, Tiger Yang | OPEN
A.GMW.8o.3 | Flavio and Shengli to set up quarterly progress review meetings for MWSG focus groups. | OPEN
A.GMW.8o.4 | Niutao Liu/Tiger to Compare the Fudan lunar model with CMLRTM provided by Tiger | OPEN
A.GMW.8o.5 | Niutao Liu/Thomas Muller to compare the Fudan lunar model with TPM model, | OPEN
A.GMW.8o.6 | Juyang Hu/Martin/Tiger to Collect 1-year calibrated lunar samples from FY3 MWTS/MWHS and compare with the Model and ATMS lunar observations | OPEN
A.GMW.8o.7 | Yang Guo to Check the information in FY3 MWTS/MWHS level-1 dataset for lunar informations | OPEN

## Slide 18: Thank you