## Slide 1: VIS/NIR subgroup report 2024 annual meeting
March 15, 2024

## Slide 2: Introduction of the GSICS lunar subgroup
This year the GSICS EP approved the GSICS lunar subgroup
The lunar group will not just discuss the VIS/NIR spectra, but all other spectra that look at the moon, for example IR and microwave
The lunar and VIS/NIR group will continue to work closely together in the future
The lunar and VIS/NIR will continue to share the 2nd Thursday monthly web meetings

## Slide 3: VIS/NIR calibration strategy
The VIS/NIR group does not have a single strategy for stability monitoring and sensor inter-calibration
  Once the CLARREO (2026), TRUTHS (2030), and Libra SW hyperspectral SI traceable observations are available direct transfer (ray-matching, invariant targets, lunar) of the reference calibration can be used
  Can use HAOC, EMIT, DESIS, etc to prepare
Consistent multiple independent calibration approaches provide and validate the stability monitoring and sensor inter-calibration coefficients
Need VIS/NIR subleads to promote calibration strategy
  Write a detailed ATBD of how other agencies can apply method
  Determine best practices
  Define GSICS product

## Slide 4: VIS/NIR sensor references
For reflective solar band imagers
  Aqua-MODIS from 2002 to 2018
  NOAA-20 VIIRS from 2018 to present
    VIIRS has both a NOAA and NASA instrument calibration teams and their L1b calibration agrees mostly within 0.2% and the calibration is well documented
  NOAA-21 VIIRS sensor performance is similar to NOAA-20 VIIRS
For the solar spectra
  TSIS-1 HSRS solar spectra
    Very high spectral resolution anchored to the TSIS-1 solar observations
  Recommend sensor calibration teams that measure reflectances (use of solar diffusers) to use the HSRS spectra for radiance observations
  The future NASA reprocessing of the VIIRS L1b product will use the TSIS-1 HSRS spectra

## Slide 5: Future Web Meetings
VIS/NIR meetings are held the 2nd Thursday in the month and are 2 hours.
We would have from 2-4 presentations
The monthly web meetings allow for long discussions for a deep understanding of the concept and formulate solution and best practices.
The following topics have been identified
  Hyanbul Lee (KMA) to discuss the lunar cal, and the ray-matching and DCC calibration methods to adress the seasonal variation
  Scott Hu to talk about the PIP intercalibration method,
  Kuzuki Kodera, to discuss improvements in the ray-matching of low radiances.
  CLARREO and TRUTHS GSICS recommended inter-calibration satellites, Earth targets
  Ali Mousivand to discuss Earth invariant target approach improvements with surface spectral reflectance, BRDF, atmospheric correction
  Rayleigh scattering approach to work with the UV group
If you would like to present at a future web meeting, please email me your title, anything related to VIS/NIR calibration approaches, sensors, etc. is welcome

## Slide 6: VIS/NIR group 2023 and 2024 web meetings
We had 6 monthly web meetings
The February monthly web meeting was very useful to develop the VIS/NIR and lunar agendas for the GSICS annual meeting
  We will continue to devote future February meeting to find out list of presenters, in person attendance, and goals of the subgroup for the next year
July 2023: The ACRI agency presented a new way to monitor sensor DCC stability by using the PDF inflection due to sparse sampling
October 2023: AVHRR PATMOS calibration approach and end of life Metop AVHRR studies

## Slide 7: Vis/NIR Session Summary — Lunar
Moon Measurements
air-LUSI near-future release of 2022 dataset: Fiducial Reference Measurements
PACE OCI
  possibility to use data for spectral interpolation of lunar model outputs
Update on CMA lunar data acquisition program
  including a large collection taken by the High-Accuracy On-board Calibrator (HAOC)
Lunar Modeling
Brief review of results from GSICS lunar model comparison exercise
LIME report
  newly available online operational capabilities: LIME Toolbox
Update on LSICS development status
  discussion in GDWG session on WMO conventions applied to LSICS
LESSR v2 development: significant advances in lunar modeling reported
Instrument Lunar Calibration
MODIS, VIIRS
  impact of MODIS orbit drifts: lower phase angles to be observed
KMA AMI lunar cal