## Slide 1: GVIS/NIR Report
David Doelling, NASA
Tom Stone present the lunar portion of the GVIS/NIR report

## Slide 2: 2021 GSICS recommendations
Migrate from Aqua-MODIS to N20-VIIRS visible reference instrument
  the NOAA and NASA N20-VIIRS L1B reflectances are within 0.2% for most visible channel
  Yesterday we had a comparison of the NPP-VIIRS NOAA and NASA calibrations, the differences are larger, we will have further meetings to discuss
  GSICS quarterly and yesterday’s Lyapustin Libya-4 presentation presented the Aqua-MODIS and N20-VIIRS calibration differences
Utilize the TSIS-1 HSRS solar spectra

## Slide 3: Coordination with CLARREO group
CLARREO first year of operation will be dedicated to intercalibrating NOAA-20 VIIRS and CERES
After the first year, CLARREO will have opportunities to inter-calibrate other sensors and Earth invariant targets
  launch late 2023
  first year operation 2024
  possible extension through 2030
We had a lightning round of GSICS agency presentations of how they will be using CLARREO observations during a monthly web meeting
We will coordinate a combine CLARREO and GSICS meeting for the 2025 annual meeting once we have a year of CLARREO observations to look at
Also had TRUTHS and CSRB present

## Slide 4: GSICS VIS/NIR breakout meeting, March 17
Name | Agency | UTC | Title
Seb Wagner | EUMETSAT | 1200 | Presentation of DCC product format
Dave Doelling | NASA | 1210 | Discussion of DCC paper, VIS/NIR priorities, and future web meetings
Sirish Uprety | NOAA | 1220 | Suomi NPP VIIRS Calibration Comparison between NOAA and NASA versions and impacts on L1b products
Alexei Lyapustin | NASA | 1240 | MODIS and VIIRS stability based on Libya-4 using the MAIAC framework
Raj Bhatt | NASA | 1300 | GSICS DCC ATBD discussion
Yves Govaerts | Rayference | 1320 | Harmonization of PICS and Moon calibration methods
Break |  | 1340 | 
Dave Smith | RAL | 1350 | SLSTR lunar calibration results
Tom Stone | USGS | 1410 | Discussion on lunar calibration comparison between instruments
Seb Wagner | EUMETSAT | 1430 | Lunar discussion

## Slide 5: VIS/NIR goals
DCC visible channel (<1µm) GSICS correction product
  ATBD (Raj Bhatt presentation)
  Paper with agency results
  DCC product format, tool (Seb Wagner presentation)
Near Future GSICS VIS/NIR products
  DCC SWIR channel calibration coefficient product, Raj Bhatt-lead
  Begin compiling agency ray-matching methodologies
  Begin compiling agency (desert) PICS methodologies (Alexei Lyapustin presentation)
  Combining multiple calibration coefficients strategy (Yves Govaerts presentation)
Future GSICS VIS/NIR products (let me know if you are interested in leading a topic)
  Ray-matching (SNOs)
  PICS
  Use Reference sensor cloud properties to predict TOA sensor channel reflectances
    Liquid water clouds (JMA, Platnick MODIS/VIIRS cloud retrieval continuity)
  Rayleigh scattering calibration
  Sunglint
  Vicarious ground-based instrument calibration
  Stars
  other

## Slide 6: Future Web Meetings
We had 8 monthly web meetings
DCC ATBD, paper, tool, and product (July)
Dedicated Ray-matching meeting
Dedicated PICS (desert)
Lightning Mapper calibration
Status of visible sensors
If you would like to present or propose a topic please email me

## Slide 7: Future Web Meetings
Name | Agency | Title
Steffen Dransfeld | ESA | SLSTR calibration in VIS/SWIR complementing the existing PICS analysis with results from a currently ongoing 'mini'-roundrobin between CNES and RAL
Valentina Boccia | ESA | Sentinel2A-2B intercalibration
Georgia Doxani | ESA | result of the second intercomparison exercise of atmospheric correction ACIX-II
Yeeun Lee | Ewha Womans University | Radiance biases based on ray-matching for sensors onboard GK-2 series inter-comparison results (shorter than 500 nm) of AMI, GEMS and GOCI-2 onboard GK-2A and B.
Michael Medford | Planet | Evaluating Radiometry within a Heterogenous Satellite Fleet via Continuous Moon Monitoring
Ling Wang | CMA | Performance of FY-3E MERSI_LL onboard calibrator for the reflective solar bands
Jing Wang | CMA | In-orbit Radiometric calibration progress of Fengyun-4B GHI
Kazuki KODERA | JMA | Validation results for AHI by ray-matching method with VIIRSs
If you would like to present at future VIS/NIR monthly web meetings, please email me your title