## Slide 1
Moving from MODIS to VIIRS: evolutions of EUMETSAT implementation of the GSICS DCC algorithm
S. Wagner
With the support from R. Shanbhag*, V. Debaecker*, A. Mousivand
GSICS Annual Meeting – 27.02-03.02 2023
* Telespazio support
GSICS Annual Meeting – 27.02 – 03.03 2022

## Slide 2: EUMETSAT concept for GSICS VNIR product generation
Data extraction
DCC
Data input – Ground segment
Data reader + blend processor
Intermediate data
Data processing
DCC
GSICS VIS/NIR product
DCC
GSICS DCC product
Intermediate products
Data extraction Lunar Cal
…
Data processing
Lunar Cal
…
Moon
GSICS Lunar product
EUMETSAT GSICS data server

## Slide 3: Legacy system and evolutions
Current EUMETSAT GSICS products for VNIR:
Based on DCC only  GSICS DCC ATBD
Automated stand-alone system running every day (over a 30-day sliding window)
Software coded in Perl / IDL / C++
Missions / channels in scope: MSG/SEVIRI VIS0.6 at (0, 0), (41.5E, 0) and (45.5E,0)
Reference instrument: MODIS Aqua
GPPA status = demonstration
New system being developed = MICMICS
Brand-new multi-mission / multi-function framework running every day (over a 30-day sliding window)  should it be adjusted with the change to NOAA-20/VIIRS?
Software coded in Python
Missions / channels in scope: geostationary imagers + polar imagers / all channels up to ~1 m (and beyond to try…)
Reference instrument: NOAA-20 VIIRS

## Slide 4: MICMICS: Mission Integrated Calibration Monitoring & Inter-Calibration System
Instruments
Instruments
Lunar Calibration
Desert Calibration
DCC Calibration
Lunar Inter-Calibration
Inter-Calibration Blender
DCC Inter- Calibration
Rayleigh Calibration System
Rayleigh Inter-Calibration System
Imager-Hyperspectral Inter-Calibration
NWP Calibration
Imager-Imager Inter-Calibration
ICBS
IHICS
IIICS
NWPC
Ray-Matching Inter-Calibration System
NWP Inter-Calibration
NWPIC
DCC Extraction Module
Lunar Extraction Module
DECS
DCCICS
DCCCS
LCS
LICS
RAYMICS
RAYCS
RAYICS
DCCXTRM
LXTRM
MICMICS
CPMs
VIS/NIR channels
MSG SEVIRI VIS/NIR
S3
SLSTR & OLCI VIS/NIR
MTG LI VIS
EPS AVHRR VIS/NIR
EPS-SG 3MI VIS/NIR
MTG FCI VIS/NIR
Thermal channels
MSG SEVIRI IR
MTG FCI IR
S3 SLSTR IR
EPS AVHRR IR
EPS-SG VII IR
EPS-SG MWI/ICI MW
CO2M
CLIM & MAP
EPS-SG VII VIS/NIR
Pre-Colocation Tool
Colocation Tool
Subsetter Tool
Data-Fusion Tool
SUBTL
DFTL
PCOLT
COLT

## Slide 5: MICMICS: Mission Integrated Calibration Monitoring & Inter-Calibration System
Instruments
Instruments
Lunar Calibration
Desert Calibration
DCC Calibration
Lunar Inter-Calibration
Inter-Calibration Blender
DCC Inter- Calibration
Rayleigh Calibration System
Rayleigh Inter-Calibration System
Imager-Hyperspectral Inter-Calibration
NWP Calibration
Imager-Imager Inter-Calibration
ICBS
IHICS
IIICS
NWPC
Ray-Matching Inter-Calibration System
NWP Inter-Calibration
NWPIC
DCC Extraction Module
Lunar Extraction Module
DECS
DCCICS
DCCCS
LCS
LICS
RAYMICS
RAYCS
RAYICS
DCCXTRM
LXTRM
MICMICS
CPMs
VIS/NIR channels
MSG SEVIRI VIS/NIR
S3
SLSTR & OLCI VIS/NIR
MTG LI VIS
EPS AVHRR VIS/NIR
EPS-SG 3MI VIS/NIR
MTG FCI VIS/NIR
Thermal channels
MSG SEVIRI IR
MTG FCI IR
S3 SLSTR IR
EPS AVHRR IR
EPS-SG VII IR
EPS-SG MWI/ICI MW
CO2M
CLIM & MAP
EPS-SG VII VIS/NIR
Pre-Colocation Tool
Colocation Tool
Subsetter Tool
Data-Fusion Tool
SUBTL
DFTL
PCOLT
COLT

## Slide 6: MICMICS DCCICS workflow
Data subsetter
Subsets of L1C products over ROI
Level 1C products
Calibration Output Database
DCCXTRM
(DCC extraction)
11m band available ?
Yes
DCCICS
GSICS DCC products
Inter-Calibration Blender
GEO imagers such as SEVIRI, FCI
Polar radiometers such as AVHRR, SLSTR, METimage

## Slide 7: MICMICS DCCICS workflow
Data subsetter
Subsets of L1C products over ROI
Level 1C products
Calibration Output Database
DCCXTRM
(DCC extraction)
Data fusion
(Remapping of IR sensor to monitored instrument grid)
11m band available ?
No
Data-fused products over ROI
DCCICS
GSICS DCC products
Inter-Calibration Blender
OLCI
SLSTR
SLSTR
GEO imagers such as LI
Polar radiometers such as OLCI, 3MI

## Slide 8: Set-up for MSG/SEVIRI
Reference channels
Reference radiance: as per the GSICS ATBD (for Lon 45.5E, same as for Lon 41.5E)
For SWIR, no reference value from VIIRS  based on typical radiance for SEVIRI
Homogeneity test done on all channels (not only on VIS0.6)
SEVIRI channel | VIIRS reference band
VIS0.6 | M5
VIS0.8 | M7
NIR1.6 | M10 (only for SBAF – no ref value)
HRV | M5

## Slide 9: Some preliminary results for SEVIRI
Meteosat-9 / SEVIRI (45.5E)
Meteosat-11 / SEVIRI

## Slide 10: Generating LEO/LEO DCC products
Some specific aspects need to be considered for LEO sensors:
  Equatorial crossing time  impact on the availability of convective cells / DCC pixels
  Number of satellite over passes :
    Impact on the availability of convective cells / DCC pixels
    Definition of the accumulation time window to derive a product
  Possibility to have multiple inter-calibration areas to consolidate the results  GEO areas
Current status in MICMICS:
  DCCICS intermediate products + GSICS LEO/LEO products under validation (S3 OLCI/SLSTR)
  Reference bands for OLCI + SLSTR to be confirmed

## Slide 11: Future developments / evolutions
System:
  Decommissioning of the current system in favour of MICMICS  Current demo DCC product for SEVIRI VIS0.6 versus MODIS Aqua will be discontinued
Products:
  GEO/LEO
    Activation of the DCCICS workflow for MTG-I1 / FCI + LI + commissioning activities
    Reprocessing of the MSG SEVIRI data to derive consistent time series over the MSG life time
  LEO/LEO
    Finalise the current validation activity
    Reprocessing of the S3 OLCI + SLSTR data to derive consistent time series over the S3 life time
    Activation of the DCCICS workflow for Metop/AVHRR
    Prepare EPS-SG METimage / 3MI
  GPPA: plan to enter the GPPA with new (enhanced) products.

## Slide 12
Thank you!
Questions are welcome.