GSICS Product Acceptance Form

Version 1.2

GSICS Coordination Center

May 2010

Please remit completed form and supporting documents to:

Bob Iacovazzi, Jr.

GSICS Coordination Center, Deputy Director

E-Mail: Bob.Iacovazzi@noaa.gov

Address: NOAA Science Center, Room 712, Camp Springs, MD, USA  20746

Phone: 1-301-763-8346 x358

GSICS Product Acceptance Form

Document ID: GSICS_GCC_GPAF_V01.2

Change History

| Version | Date (MM/DD/YYYY) | Point of Contact | Change |
| --- | --- | --- | --- |
| 1.0 | 30/11/2009 | Bob Iacovazzi, GCC | Baseline |
| 1.1 | 29/03/2010 | Bob Iacovazzi, GCC | Changed the ordering of the product form elements to better align with the GPPA workflow plan. |
| 1.2 | 04/05/2010 | Bob Iacovazzi GCC | Clarifications and grammatical edits |

Form Overview.

The GSICS Procedure for Product Acceptance (GPPA) is the

- GSICS product developers pathway to obtain a “Stamp of Approval” for a potential product;

- GSICS data users window to GSICS product quality and “fitness for purpose”;

- GSICS governing body reference for judging GSICS product fitness.

The GPPA was inspired by the need to find a mechanism to assess GSICS product quality, as well as by the Quality Assurance Framework for Earth Observations (QA4EO) spearheaded by the Committee on Earth Observation Satellites (CEOS) Working Group on Cal/Val (WGCV).  To aid in understanding of the GPPA, the most recent version of the procedure and its workflow milestones can be found at the GSICS Wiki at the following URL: https://cs.star.nesdis.noaa.gov/GSICS/GppaWorkflow.

The GSICS Product Acceptance Form (GPAF) is designed to help the GSICS product developers and governing body evaluate and track product quality through the product acceptance procedure.  Furthermore, it allows a data user to clearly understand what product quality measures are in place once a product has been accepted as a GSICS product.  Finally, the GPAF can be used as a product quality maintenance tool, since product quality assurance is a living process requiring updates to product quality indicators and their associated documentation.

Directions.

Fill out blanks in the form as directed from the GPPA Workflow found at https://cs.star.nesdis.noaa.gov/GSICS/GppaWorkflow.  If a supporting document can be found on-line, then giving a link to the document is acceptable.  If a supporting document cannot be found on-line, then electronic copies of the document can be attached along with the submission of the GPAF.  Remit the GPAF electronically to the e-mail address given on the cover page of this document.

Also, for further ideas about implementing the GPPA, please see the Quality Assurance Framework for Earth Observations web site at http://qa4eo.org/.

SECTION I.  Product Provider Information

| I.1. Proposed Product Name | ISRO_GSICS_GEO_LEO |
| --- | --- |
| I.2. Submitting Organization Name | Indian Space Research Organisation (ISRO) |
| I.3. Point of Contact of Product Provider |  |
| I.3.A. Name | Dr Pradeep Thapliyal |
| I.3.B. E-Mail Address | pkthapliyal@sac.isro.gov.in |
| I.3.C. Physical Address | ASD/AOSG/EPSA, Space Applications Centre (ISRO), Ahmedabad -380015 (INDIA) |
| I.3.D. Phone | +91-79-2691-6048 |
| 1.3.E. FAX (Optional) | +91-79-2691-6075 |
| 1.3.F. URL (Optional) |  |

SECTION II.  Product Information

II.1.  Brief Product Description (1 page or less)

These products provide inter-calibration of infrared channels onboard Indian geostationary satellites using hyperspectral observations from the state-of-the-art Infrared Atmospheric Sounding Interferometer (IASI) onboard Low Earth Orbiting (LEO) satellite MetOp-A. These products are derived using standard GSICS algorithm. The goal of the inter-calibration is to make INSAT-3D Imager and Sounder measurements traceable to IASI.

The INSAT-3D satellite was launched by India Space Research Organisation (ISRO) on 26 August 2013 in a geostationary orbit located at 82E over Indian Ocean. INSAT-3D is similar to GOES series of satellites and has two instruments, namely Imager and Sounder, for continuous meteorological observations over Indian Ocean region. The imager makes full disk observations every 30 minutes in 6 channels, whereas the Sounder makes observations in 18 infrared channels (plus a visible channel for cloud detection during daytime) at the interval of an hour. The Imager has spatial resolutions of 1 km for visible (VIS) and shortwave infrared (SWIR) channels, 4 km for mid-wave infrared (MIR) and split window thermal infrared (TIR1 & TIR2) and 8 km for the water vapour absorption channel (WV) at nadir. The Sounder makes observations at a spatial resolution of 10 km at nadir.

II.2. What is the product scope within GSICS? (Describe the general significance and purpose of the product to the GSICS mission.)

These products aim to make INSAT-3D measurements traceable to a common reference IASI that will help in creating a multi-satellite climate data records (CDR). This will enable to create a long time series of global observations by combining the observations from various satellites to study the climate related issues. This will also enable to monitor the sensor performance with time in terms of bias and uncertainties in the measurements and thus improve the quality of retrieved geophysical products.

II.3. What are the general product function and performance specifications? (These are the high-level design requirements of the product, which include what the product will do and how well it will do it.)

These products include GSICS correction coefficients that will be applied on the entire data set to make them consistent and traceable to a single reference satellite IASI. Near-real time inter-calibration products will also help in the assessment of the sensor performance and indicate if there is any bias in the measurement. These biases may cause error in the products; therefore, it would help in improving the overall product quality.

SECTION III.  Product Documentation

III.1  Product Development

Product providers, evaluators, and users all need to know the detailed physical basis of the product, and the basic structure of the product data files.  The documentation created for this section will be evidence of fulfillment of this goal.

III.1.A  Product Output Adherence to GSICS Standards

This documents that the product output is designed to meet GSICS accepted file naming and format conventions.

III.1.A.1. Product is designed to have data output files that meet GSICS file naming conventions documented on the GSICS Wiki at https://cs.star.nesdis.noaa.gov/GSICS/FilenameConvention?

| ( | Yes | Please write a sample file name below: W_IN-ISRO-Ahmedabad,SATCAL+NRTC+GEOLEOIR,INSAT3D+IMAGER-MetopA+IASI_C_DELI_20141002000000_demo_01.nc |
| --- | --- | --- |
|  | No | When is this to be completed and available? |
|  | Not /Applicable | What is the justification? |

III.1.A.2. Product is designed to have data output files that meet GSICS file format conventions documented on the GSICS Wiki at https://cs.star.nesdis.noaa.gov/GSICS/NetcdfConvention?

| ( | Yes | Please electronically submit a sample data file to be scanned by the GCC for adherence to the GSICS file format convention. |
| --- | --- | --- |
|  | No | When is this to be completed and available? |
|  | Not /Applicable | What is the justification? |

III.1.B  Algorithm Theoretical Basis Document (ATBD)

Discussion of physical principles supporting the product.  In its preliminary draft, this could be in the form of references to journal article(s), or stand-alone technical information. Needs to include an algorithm flowchart, including data I/O and logic, and process element descriptions.

| Is the ATBD completed? |
| --- |
| ( | Yes | Document found (( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.1.C  Plan to Establish Measurement Traceability to Reference Standards

Describes the traceability chain to reference standards (preferably international measurement standards).  If the measurement reference standard is not traceable to international standards, this clearly needs to be stated and justified.

| Is the measurement traceability plan completed? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2 Product Implementation

Procedures that meet current "best practices" in regards to establishing analysis software, harnessing radiative transfer models, and making calibration/validation measurements that are fundamental to implementing theory to create products.

III.2.A Harnessing Radiative Transfer Models

III.2.A.1. Model Description

| Does the model contain a detailed model description? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.A.2. Model Users’ Guide.

| Does the model come with a users’ guide? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.A.3. Model Input Description.

| Is there a description of data or input atmospheric soundings and boundary conditions used by the model? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.A.4.  Model Verification and Validation.

| Is there documents that report model verification results or test studies? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.B Making Measurements to Support Cal/Val  (For example, measurements made to characterize a calibration target, such as monitoring platinum resistance thermometer temperatures of an external blackbody in thermal vacuum or making sea surface temperature measurements for SST validation.)

During the cal/val process, supporting measurements are sometimes made to assess or ensure the quality of the calibration activity. To properly record these measurements, in addition to documenting the data, a measurement procedure outline needs to be written that gives a description of the instruments involved, as well as information needed to know how the measurement(s) was taken and under what conditions.

| Are there documents available that outline the process of taking measurements that support cal/val, as well as summarize the results of these measurements? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.C Establishing Analysis Software

Software documentation - consists of flow charts, module descriptions, revision descriptions, and programmer contact information.

| Is the software documentation complete? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.D  Version Control Plan

A configuration management plan, or version control strategy, for documents, software, models, and measurements is a key activity in preserving product institutional memory and communicating product release characteristics to users?

III.2.D.1.  Documents

| Is there a version control plan for documents? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.D.2.  Software

| Is there a version control plan for software? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.D.3.  Models

| Is there a version control plan for models? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.2.D.4.  Measurements

| Is there a version control plan for supporting cal/val measurements? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.3  Product Quality Assessment and Operations/Distribution

Product quality assessment documents the estimated product uncertainty, and its sources, in the product.  Product operations and distribution describes the process of product creation and dissemination to users.

III.3.A Product Quality Documents

These documents describe and quantify, as much as possible, the one-sigma uncertainties related to each product error source, as well as the product root-sum-square uncertainty.  These documents also give results of product validation studies, and a clear description of the quality indicator – preferably traceable to SI standards - to be assigned to the product.

| Are there product quality document(s)? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.3.B Operations/Distributions Plan

Outlines how the data or results are to be stored and shared through GSICS network computers.  Statements about the level of access need to be included here.

| Is there an Operations/Distribution Plan? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

III.3.C Data User’s Guide

Documents detailed data format, quality flag and parameter descriptions.  It must identify how data format meets GSICS standards, and the limitations of product use.

| Is there a Data Users Guide? |
| --- |
|  | Yes | Document found ( ) GPAF Package ( ) Web Site ( ) FTP Site |
|  |  | Web or FTP Site Location: |
|  | No | When is it to be completed and available? |
|  |  | Document will be found ( ) GPAF Package, or ( ) Web Site / ( ) FTP Site with the following address: |
|  | Not /Applicable | What is the justification? |

# Comments

Please clarify which satellite(s) the products will cover.

Two products: 1) re-analysis product for the entire data set (which satellite?), 2) near real-time product.  Right?

Please confirm it is Metop-A/IASI, although it was mentioned previously.