## Slide 2: Lunar Extended Satellite Simulation Solar Reflectance (LESSSR)
A new lunar irradiance model based on SCIAMACHY and RELAB
Matthijs Krijger

## Slide 3: SCIAMACHY on ENVISAT

## Slide 4: The instrument
Imaging spectrometer
Spatial dimensions through scan mirror(s):
  IFoV: 0.045 degrees by 1.8 degrees
Spectral dimension through 8-channel spectrometer, 8192 wavelengths:
  214 nm to 1773 nm
  1934 nm to 2044 nm
  2259 nm to 2386 nm
Nadir, Limb, sub-solar, solar occultation and lunar occultation views
Many in-flight calibration and monitoring modes
Data provided by ESA

## Slide 5: SCIAMACHY viewing modes

## Slide 6: SCIAMACHY viewing modes

## Slide 7: Lunar phase angle coverage
Dedicated moon campaigns

## Slide 8: Lunar libration angle coverage

## Slide 9: SCIAMACHY Lunar Mode
Moon
IFOV
Moon motion

## Slide 10: SCIAMACHY Solar Mode

## Slide 11: SCIAMACHY Solar Transmission Degradation
Diffusor
1 Mirror
2 Mirror
WLS

## Slide 12: Contamination changes refraction

## Slide 13: SCIAMACHY INSTRUMENTAL
Alog(R_measured) =
alog(R_lunar)
+ f(time,time^2,time^3)
+ f(ASM,ASM^2) [removed]
+ f(ESM)
+ f(ASM_solar)
+f(polarization) [added,2nd step]

## Slide 14: Lunar Extended Satellite Simulation Solar Reflectance model
Alog(R_lunar)= P0
+P1 g^0.5 + P2 g + P3 g^1.5
+ P4 Φ + P5 φ + P6 θ
+ P7*exp(-g*P8)+P9*exp(-g*P10)
+P11*cos((g-P12)*P13)
g: absolute phase angle
Φ,φ,θ : solar_longitude,libration_longitude,_latitude

## Slide 15: Step1
Wavelength [nm]
Reflectance as measured by SCIAMACHY

## Slide 16: Step2

## Slide 17: RELAB: Bidirectional reflectance spectra for lunar soils Lunar Soil Characterization Consortium (LSCC)
All spectra were obtained at i=30 degrees, e=0 degrees.
Particle sizes

## Slide 18: RELAB

## Slide 19
Take largest particles per sample only & normalize
Much more info then just Apollo sampe

## Slide 20: FIT (PCA) RELAB to SCIA
RELAB removes gaps, SCIA noise and residual instrumental effects

## Slide 21: LESSSR FIT (full range)
Replace SCIAMACHY derived reflectances with RELAB fit [at full 5nm grid 300-2600nm]
  Removes residual noise
  Removes gaps spectra
  Removes need post-model-fit
Replace RELAB fit 250-305nm with SCIAMACHY
Fit LESSSR model (lunar geometries)

## Slide 23: Validation

## Slide 24: GIRO

## Slide 25: SEVIRI

## Slide 26: GOME2
550nm

## Slide 29
Use as correction factor?

## Slide 30: Solar longitude

## Slide 31: Solar Longitude impact
Gome2
SCIAMACHY
Validate – yes
Calibrate - no

## Slide 32: Conclusion
Lunar reflectance model
  250nm – 2600nm with 5nm resolution
  -80 to 20 phase angle validated
  Accuracy: <1.5% 500nm-1600nm (~5% beyond)
  Complete without need of post-model fits

## Slide 33
Thank you