## Slide 1: Results from the GSICS Lunar Model Comparison Exercise
Tom Stone – USGS (ROLO)
with contributions from
Sébastien Wagner – EUMETSAT (GIRO)
Hugh Kieffer – Celestial Reasonings (SLIM)
Javier Gatón Herguedas – Univ. de Valladolid (LIME)
Thijs Krijger – Earth Space Solutions (LESSSR)
Toru Kouyama – AIST (SP)
Steve Miller – Colorado State Univ. (MT2009)

## Slide 2: Introduction
To conduct lunar calibrations, models are used to generate radiometric reference values for comparison to measurements made by sensors.
Several new lunar models have been developed in recent years, some with the intent to provide the lunar calibration reference for operational satellite agencies.
The accuracy of the models needs to be tested, but there has been a lack of reliable “ground truth” for the Moon that can be used to evaluate them.
The GSICS lunar calibration community formulated an exercise with the objective to examine the performance of different lunar models relative to each other.
concept presented at the GSICS 2021 Annual Meeting (virtual) VisNIR session
several follow-on VisNIR SG webmeetings, to define components of the exercise
Methodology: compare model outputs generated for a common set of inputs
specified as photometric geometry points (phase and libration angles) and spectral responses — no corresponding observation times/locations

## Slide 3: The common inputs
The meeting discussions produced a set of test input parameters, to cover practical ranges of observation geometry (phase angles and librations) and spectral bands.
phase angles: 3°, 5°, 7°, 10°, 15°, 25°, 40°, 55°, 70°, 90°, both before and after Full Moon
libration grid: viewer longitude = 0°, ±4°, ±8°, ±12°, viewer latitude = 0°, ±4°, ±8°
All geometry combinations gives 700 total points
  112 are not possible: the phase angle cannot be smaller than the angular difference between the sub-solar and sub-viewer points on the Moon
spectral bands: 8 typical remote sensing channels
  442, 550, 670, 765, 870, 1380, 1640, 2350 nm
spectral response functions: synthetic (EUMETSAT)
  20 nm FWHM, flat-topped, Gaussian-edged
The final input geometry grid and spectral response files were sent to the lunar modeling community 24 April 2023.

## Slide 4: The models
Model outputs were contributed by 7 lunar modelers.
Models listed in roughly chronological order of development, with contact names and affiliations:
ROLO (2003), PoC: Tom Stone, USGS
CLIMES (Miller-Turner, 2009), PoC: Steve Miller, Colorado State Univ.
Spectral Profiler (SP, 2016), PoC: Toru Kouyama, AIST (Japan)
GIRO (2018), PoC: Seb Wagner, EUMETSAT
SLIM (2019), PoC: Hugh Kieffer, Celestial Reasonings
LIME (2019), PoC: Marc Bouvet, ESA
LESSSR (2020), PoC: Seb Wagner, EUMETSAT
Model description slides were provided by the model developers for presentation to the GSICS 2021 Annual Meeting. Updated versions follow:

## Slide 19: Presentation of Model Comparison Results
Model outputs generated by the 7 contributors were read into a common format data structure for collating and preparation of graphics.
The challenge — how to present results having multiple independent dimensions:
spectral (8 bands)
phase angle (20 samples)
viewer longitude libration (7 samples)
viewer latitude libration (5 samples)
the models (7 instances)
The goal: to allow differences in the model outputs to be identified quickly and clearly using visual graphics.
Analysis and assessments to be raised in the follow-on discussion and future work
Comments and suggestions on these results displays are welcome !!!

## Slide 20: Spectra comparison for selected phase angles
Note: SP model generated 6 bands:
550, 670, 765, 870, 1380, 1640 nm

## Slide 21: Spectra comparison for selected phase angles

## Slide 22: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 23: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 24: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 25: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 26: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 27: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 28: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 29: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 30: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 31: Model-generated irradiances relative to ROLO
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 32: Model Output Comparisons — Variations with Phase Angle
all results shown are for zero viewer librations: φ = θ = 0
phase angle plots for individual spectral bands
waxing / waning differences

## Slide 33: Irradiances vs. phase angle for selected spectral bands

## Slide 34: Irradiances relative to ROLO vs. phase angle
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 35: Irradiances relative to ROLO vs. phase angle
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 36: Irradiances relative to ROLO vs. phase angle
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 37: Irradiances relative to ROLO vs. phase angle
Irradiance Ratio = ((model / ROLO) − 1) x 100%

## Slide 38: Waning/waxing irradiance ratio vs. phase angle

## Slide 39: Waning/waxing irradiance ratio vs. phase angle

## Slide 40: Waning/waxing irradiance ratio vs. phase angle

## Slide 41: Model Output Comparisons — Variations with Librations
comparisons shown as irradiance ratio to zero libration: EM(λ,g,Φ,φ,θ) / EM(λ,g,Φ,0,0)
  to visualize the libration specifications in the models
additional degrees of freedom → many plots
  displays limited to selected bands and/or phase angles
MT model has no libration-dependent terms, therefore no MT results shown
latitude libration plots (zero viewer longitude) constrained by accessible points
  mostly affects small phase angles

## Slide 54
That’s all folks !
Thanks for your attention !
Comments? Questions?