## Slide 1
Administrative Support for LSICS
4th Joint GSICS/IVOS Lunar Calibration Workshop,
4 – 8 December 2023, Darmstadt, Germany
Xiangqian Wu1, Fangfang Yu2, and Bikash Basnet3
1NOAA/NESDIS/STAR, College Park, MD, USA
2University of Maryland, College Park, MD, USA
3Global Science & Technology, Inc., Greenbelt, MD, USA
The scientific results and conclusions, as well as any views or opinions expressed herein, are those of the authors and do not necessarily reflect those of NOAA or the Department of Commerce

## Slide 2: Background
Lunar irradiance model is a crucial component in lunar calibration.
  (Measured Irradiance) / (Model Irradiance).
The model based on the RObotic Lunar Observatory (ROLO, 2005) has been the only one used until recently.
  Thanks to EUMETSAT who provided GSICS Implementation of ROLO (GIRO) in 2014, which made ROLO practically available, including to international partners.
  Increased applications for more instruments also confirmed its limitations.
    Absolute error, i.e., too dark for some channels, which hinders its use in absolute calibration; and
    Relative error, e.g., variation of bias in time (esp.  > 1 µm), which hinders its use in cross calibration (double differencing) and trending.

## Slide 3: Recent Development
H. Kieffer (2022): Multiple-instrument-based spectral irradiance of the Moon
  Best Paper for Photo-Optical Instrumentation and Design, JARS 2022.
  Significant improvement to ROLO/GIRO.
T. Stone (2023): Proposed Framework for Implementing a New GSICS Lunar Model
  Presented with H. Kieffer to the 2023 GSICS Annual Meeting.
NOAA embraced the initiative.
  Modular design, with well defined interfaces, drawn from community wisdom, is suitable for comparing existing models, which facilitates their future improvements. A tool.
    Interactions may also lead to the development of a model incorporating all the best data and knowledge – wishful thinking.
  For that reason, NOAA advocates that the project be open source.
  T. Stone and F. Yu will co-lead the Lunar Spectral Irradiance Calibration System (LSICS).
    In addition to calibration, modeled lunar irradiance may find other applications in the future such as moon-light based remote sensing.
  NOAA will provide administrative and implementation support for LSICS.
    B. Basnet will discuss NOAA’s implementation support later.

## Slide 4: Consensus Among Developers
Who are the developers consenting on LSICS definitions of modules and interfaces?
  SLIM and ROLO/GIRO developers have been actively engaged.
  Will developers make LIME and LESSR compatible with LSICS?
  Will stand-alone models developed from Lijiang and LUSI data? Compatible with LSICS?
SELENE/KAGUYA SP, ARCSTONE, SITSats, …
  Compared to ground-based measurements, space-based measurements are often superior in some aspects (uncertainty, spatial/spectral resolution, etc.) but are insufficient to model libration.
  How do they contribute to LSICS, and how should the LSICS design take that into consideration?

## Slide 5: Implementation
Will be developed in Python
  Not IDL/MatLab/... For portability (license).
  Not FORTRAN/C/… for user-friendliness instead of efficiency.
Will be archived and distributed via GitHub.
Ways to implement:
  From detailed algorithm or “pseudo code”: One example is the Lunar Observation Angle Set (LOAS), which is intended as one of the LSICS modules.
  From existing non-Python code: One example is the SLIMpy, which is based on SLIM in IDL.
  From existing code in Python (such as LIME): Not yet, but could it be an option? What will be the responsibilities of implementer?

## Slide 6: Other Issues
License:
  Why do we need it and, therefore, what should it consider or look like?
What else?

## Slide 7: Summary
I will collect inputs and summarize later.