## Slide 1
Thermal Infrared and Microwave Session
Chair: Tim Hewison (EUMETSAT)
4th GSICS/IVOS Lunar Calibration Workshop

## Slide 2: Thermal Infrared and Microwave Session
Session Scope: Status of use of Moon for calibration of instruments at IR and MW channels (and other astronomical targets)
Goals for this session
Consider application of lunar calibration for IR/MW sensors
Capability v Requirements
Possible development of common tools/model

## Slide 3: Agenda – Thermal Infrared and Microwave session
09:00 | Tim Hewison | EUMETSAT | Introduction to the session | 4a | 00:10
09:10 | Martin Burgdorf | Universität Hamburg | Venus as an Alternative to the Moon for Infrared Imagers | 4b | 00:25
09:25 | Kay Wohlfarth | TU Dortmund | An advanced thermal roughness model for airless planetary bodies - applications to the Moon and Mercury | 4c | 00:25
09:50 | Thomas Müller | Max-Planck-Institut für extraterrestrische Physik | Modelling the Microwave Radiation of the Moon | 4d | 00:25
10:15 | Hu (Tiger) Yang | University of Maryland | Lunar Microwave Radiative Transfer Model Validation with NOAA-20 and NOAA-21 Two-Dimension Moon Scan Observations | 4e | 00:25
10:40 | All | All | Discussion | 4f | 00:30
11:10 | Coffee break |  |  |  | 00:20
11:30 | Thomas Müller | Max-Planck-Institut für extraterrestrische Physik | The Moon at thermal infrared wavelengths: Comparison between NOAA/MetOp-A/MetOp-B, TIROS-N HIRS measurements and thermophysical model predictions | 4g | 00:25
11:55 | Bojan Sic | Noveltis | Potential of the Moon as a calibration target for IASI instruments | 4h | 00:25
12:20 | Martin Burgdorf | Universität Hamburg | Inter-Calibration of CrIS on SNPP and NOAA-20 Using Lunar Observations | 4i | 00:25
12:45 | Lunch break - EUMETSAT canteen, to be paid by participants |  |  |  | 01:00
13:45 | Diogo Rio Fernandes / Fatima Kahil | OroraTech | Towards a constellation of thermal infrared sensors for wildfire detection: inter-calibration of FOREST-2 with Sentinel-3 SLSTR using the Moon | 4j | 00:25
14:10 | Jack Xiong | NASA GSFC | MODIS and VIIRS Thermal Emissive Bands Lunar Calibration and Calibration Inter-comparisons | 4k | 00:25
14:35 | All | All | Discussion | 4l | 00:30

## Slide 4: Lunar Radiometric Discussion Topics
Current status of lunar models
  Short-comings
  Uncertainty levels – now and potential
  Requirements for different applications
Possible Counterpart of GIRO/LSICS model/framework for IR/MW?
  GIRO-counterpart = Communal model of lunar disk-integrated brightness temperature
  LSICS-counterpart = Common framework to drive model(s)
  Over range of wavelengths/frequencies
  Incorporating Emissivity + Skin/Profile Temperature models (disk-average)
  Possible integration into LSICS? - What inputs are needed? E.g. solid angle
Potential of Spatially-resolved Models
  Emissivity + Skin/Profile Temperature
  – classified by surface type map

## Slide 5: Lunar Geometric Discussion Topics
MW Pointing alignment/verification
FOV Mapping
Lunar eclipses:
  Potential interest? E.g. non-saturated IR observations
  How to treat in model?

## Slide 6: Non-Lunar Topics
Current status & Potential of Planets/Stars
  Radiometric applications
  Geometric applications
  Spectral?
  Limitations – LEO satellites?
  Uncertainty levels – now and potential
  Requirements for different applications

## Slide 7: General Discussion Topics
Data sharing
  Are more observations needed to develop models?
  Have these observations already been made?
  Can we process and share them?
  Inputs from Martin Burgdorf:
    SEVIRI level 1.0 can only be obtained from the EUM archive by special permission for three months.
    Himawari raw data can only be processed with a special program that is to my knowledge not publicly available.
    Data from GIIRS on FY-4A were processed with an old pipeline that introduces artefacts into the spectra. Observations of the Moon with GIIRS on FY-4B do not appear in the archive, probably because they are classified as useless because of saturation. This is true for a few pointings, but they eliminate whole files with most pointings having probably perfectly valid spectra.

## Slide 8: Agenda – Thermal Infrared and Microwave session
09:00 | Tim Hewison | EUMETSAT | Introduction to the session | 4a | 00:10
09:10 | Martin Burgdorf | Universität Hamburg | Venus as an Alternative to the Moon for Infrared Imagers | 4b | 00:25
09:25 | Kay Wohlfarth | TU Dortmund | An advanced thermal roughness model for airless planetary bodies - applications to the Moon and Mercury | 4c | 00:25
09:50 | Thomas Müller | Max-Planck-Institut für extraterrestrische Physik | Modelling the Microwave Radiation of the Moon | 4d | 00:25
10:15 | Hu (Tiger) Yang | University of Maryland | Lunar Microwave Radiative Transfer Model Validation with NOAA-20 and NOAA-21 Two-Dimension Moon Scan Observations | 4e | 00:25
10:40 | All | All | Discussion | 4f | 00:30
11:10 | Coffee break |  |  |  | 00:20
11:30 | Thomas Müller | Max-Planck-Institut für extraterrestrische Physik | The Moon at thermal infrared wavelengths: Comparison between NOAA/MetOp-A/MetOp-B, TIROS-N HIRS measurements and thermophysical model predictions | 4g | 00:25
11:55 | Bojan Sic | Noveltis | Potential of the Moon as a calibration target for IASI instruments | 4h | 00:25
12:20 | Martin Burgdorf | Universität Hamburg | Inter-Calibration of CrIS on SNPP and NOAA-20 Using Lunar Observations | 4i | 00:25
12:45 | Lunch break - EUMETSAT canteen, to be paid by participants |  |  |  | 01:00
13:45 | Diogo Rio Fernandes / Fatima Kahil | OroraTech | Towards a constellation of thermal infrared sensors for wildfire detection: inter-calibration of FOREST-2 with Sentinel-3 SLSTR using the Moon | 4j | 00:25
14:10 | Jack Xiong | NASA GSFC | MODIS and VIIRS Thermal Emissive Bands Lunar Calibration and Calibration Inter-comparisons | 4k | 00:25
14:35 | All | All | Discussion | 4l | 00:30

## Slide 9
Thank you!
Questions / comments are welcome.