## Slide 1
Session Summary — Lunar Calibration Systems and Model Development
Chair: Tom Stone
4th GSICS/IVOS Lunar Calibration Workshop

## Slide 2: Session Summary — Lunar Cal Systems and Model Development
Topics for presentations and discussion:
Recent developments of lunar models: LIME, LESSR, SLIM
Results of the GSICS lunar model comparison exercise
Design and development of the LSICS
General outcomes of the session:
Model development is proceeding within several GSICS agencies and other entities (not all active developments presented here)
Comparison of model outputs reveals differences in development approaches
Progress made on specifications for LSICS
  more to do, but can give progress report to GSICS Annual meeting in March

## Slide 3: Session Summary — Lunar Cal Systems and Model Development
Models development — conclusions
What is the vision — what do we want to achieve by development of lunar models ?
  Given a set of absolute lunar irradiance measurements with reliable uncertainties, all the models should predict those irradiances when operated at the observation params
    This validates the lunar calibration reference
    Intention is for LSICS to become the validated GSICS reference
Need to keep separate the tools for generating models (“derivators”) from the systems for operating the models to generate irradiance outputs (“applicators”) ← is this jargon?
  LSICS is intended to become the GSICS-endorsed “applicator”
  Model developers are encouraged to build LSICS modules using std interfaces (TBD)
Open issue: keeping a “pure” identification of irradiances produced by LSICS
Recommendation: model developers should provide detailed functional descriptions, and GSICS lunar community should review and validate (separate from peer-review publication)

## Slide 4: Session Summary — Lunar Cal Systems and Model Development
Model comparisons — conclusions
Need uncertainties on the model outputs to really evaluate the differences
  a large task — needs to start with measurement uncertainties and use techniques that can propagate these and evaluate uncertainties in the model outputs
The solar spectrum used in models influences the irradiance outputs
  Do comparisons in reflectance space ?
    The model irradiance outputs are the reference values
  Specify the GSICS recommended solar spectrum, TSIS-1 HSRS, for model runs ?
    The models should be run the way that the developers intended
Do comparisons as a function of time ?
  the models do not include time-dependence (except possibly solar variability)
  currently lunar cal is mostly used for trending, so pertinent, but future is absolute cal
Recommendation: future comparisons should use more spectral bands — revisit selection
Recommendation: air-LUSI data should be made available for validation of models

## Slide 5: Session Summary — Lunar Cal Systems and Model Development
LSICS development — conclusions
LSICS is a needed replacement for the GIRO
LSICS is solely an “applicator” system — observation parameters input, irradiance output
  back-compatibility with GIRO I/O files is highly desired
Access to the LSICS “… and then the lawyers got involved.”
  hosting, version control, and licensing were discussed but not settled
LSICS is to have a built-in capability to plug in different lunar models
  modular structure needs to make this straightforward, flexible → standard interfaces
Need a method to indicate that LSICS runs are the official GSICS version
  an issue with releasing code as open access
  possibly install hash in output products and intermediate files — implementation TBD
LSICS specifications
  classify variables as required or nice to have, consider changes to variable names

## Slide 6: Session Summary — Lunar Cal Systems and Model Development
LSICS development — decisions, recommendations and actions
Decision: LSICS will be developed as a GSICS deliverable tool
Decision: LSICS will be written in python
Decision: LSICS outputs will include uncertainties (will require extra development time)
Recommendation: LSICS should maintain GIRO compatibility for input and output files
Recommendation: LSICS should output disk reflectance as an intermediate product
Recommendation: LSICS should implement the GSICS-endorsed solar spectrum
Recommendation: LSICS should implement a capability to account for solar variability
Action: Tom to report scope of LSICS to GSICS EP at March 2024 Annual Meeting
Action: GDWG (Masaya) to find WMO/GSICS guidance on version control, report at 2024 mtg
Action: EUMETSAT and NOAA to continue developing specifications, provide for review
Action: (NOAA) study revising variable names in I/O and intermediate files, review (due date?)
Action: (who?) find method for flagging that LSICS products came from official LSICS runs

## Slide 7: Session Summary — Lunar Cal Systems and Model Development
Notes

## Slide 8
Thank you!
Questions / comments are welcome.