## Slide 1
Discussion
Chair: S. Wagner / T. Stone
4th GSICS/IVOS Lunar Calibration Workshop

## Slide 2: Discussion points
Data exchange:
  In support to model derivation
  From monitored mission (GLOD version 2?)
How to increase the visibility of the activities done in this group?
What about having a cross-cutting GSICS sub-group focused on lunar activities?
Best practises

## Slide 3
Instrument Monitoring Using Lunar Calibration
Chair: Sébastien Wagner
4th GSICS/IVOS Lunar Calibration Workshop

## Slide 4: Summary
Presentations on:
  SP model and how it is applied to GOSAT-2/CAI-2
    Plus potential usage for other assessments (MTF)
    Providing information in spectral domain, instead of interpolating (discussion during the OCO presentations)
  Series of presentations on LEO and GEO sensors, including high resolution (Jilin-1) and new sensors (MTG/FCI and LI)
  Massive amount of acquisitions by Himawari 8 and 9 (resp. 30000 and 4000 obs within usual phase interval)
  Presentations on the OCO-2 and 3 lunar acquisitions  new in the context of the Lunar Calibration Workshop

## Slide 5: Summary
How to establish the observables is key
  Accurate oversampling factor determination
  Solid angles supported by the detectors
  But also how to handle the question of the straylight while integrating
  Discussions already pointed out to some potential issues
    Discussion on the VIIRS observables and the (1+ cos phi)/2 term
    Impact of the jitter, pointing accurary, slit orientation wrt to moon transit direction
    Need for the group to work on defining best practices

## Slide 6: Summary
Question of the models
  Accuracy of the models + potential corrections mentioned several times
  New models coming in the picture for mission monitoring
    Not only GIRO or local implementations of the ROLO
    LESSSR
    LIME
  Need to develop polarisation models
  Question of the applicator (discussion on the LESSSR implementation)
  Results showing biases between observed lunar irradiance and models to be looked at more carefully, in particular after the results of the first model inter-comparison (in reference to the discussion after the presentation on OLCI)
  GIRO to be realigned with ROLO
  Solar irradiance spectrum (update to TSIS)
  Models could be operated at high resolution, after smoothing adequately the lunar reflectance spectrum

## Slide 7: Summary
Discussion on the “recovery” of the solar diffuser for NOAA-20 VIIRS
  Observed for more instruments, at the same time (MODIS, VIIRS, …)
  Was it observed for other instruments?
  Impact of space weather

## Slide 8
Actions / Recommendations / Decisions
4th GSICS/IVOS Lunar Calibration Workshop

## Slide 9
A.GVNIR.2020.16f.1: EUMETSAT (S. Wagner) to liaise with USGS (T. Stone) to realign the GIRO with respect to the last version of the ROLO model  Renewed in A.GVNIR.2023.2a.1
A.GVNIR.2020.16f.2: EUMETSAT (S. Wagner) to propose letter of recommendation by GSICS to NASA to highlight the benefits to continue the Air-LUSI / campaigns and Mauna Loa-LUSI to improve lunar calibration  How can we reformulate to support LUSI activities? Recommendations go to EP
Same for moon photometer measurements  Action: Lunar subgroup chair to formulation recommendation to support the activity

## Slide 10: Review of main recommendations (out of 8)
R.GVNIR.2020.16f.2: EUMETSAT (S. Wagner) to investigate the possibility to revisit the mechanism to share the GIRO model, whilst respecting the existing license agreement  To be renewed…
R.GVNIR.2020.17c.1: the solar irradiance spectrum used in the lunar irradiance models or for the instrument calibration should be documented and referenced when discussing lunar calibration results  in line with VNIR subgroup discussions on reference solar irradiance spectral / TSIS is now the reference for GSICS  to be implemented (LIME + GIRO)

## Slide 11: Review of main recommendations (out of 8)
R.GVNIR.2020.18f.1: CMA is invited to share in upcoming GSICS and/or Lunar Calibration meetings its experience on the use of lunar observations acquired by their IR sounders  IR is a new topic!
R.GVNIR.2020.18g.1 : the Microwave + Infrared group is encouraged to pursue current effort and report within the context of GSICS regular meetings  need to keep the ball rolling within GSICS!
R.GVNIR.2020.19d.1: NOAA is encouraged to pursue its initiative on comparing approaches for post-launch assessment of MTF using lunar imagery. This initiative, in collaboration with other agencies would lead to the definition of best practices for MTF assessment using the Moon  Idea = GSICS recommendation / white paper on best practices

## Slide 12
Actions / Recommendations / Decisions
4th GSICS/IVOS Lunar Calibration Workshop

## Slide 13: Any other business
Next iterations:
  Model inter-comparison
  GSICS annual meeting  report on the workshop outcome
  When do we want to meet again?

## Slide 14
Thank you!
Questions / comments are welcome.