## Slide 1
Thermal Infrared and Microwave Session Summary
Rapporteur: Tim Hewison (EUMETSAT)
4th GSICS/IVOS Lunar Calibration Workshop

## Slide 2: Thermal Infrared and Microwave Session
Session Scope: Status of use of Moon for calibration of instruments at IR and MW channels (and other astronomical targets)
Goals for this session
Consider application of lunar calibration for IR/MW sensors
Capability v Requirements
Possible development of common tools/model

## Slide 3: Agenda – Thermal Infrared and Microwave session
09:00 | Tim Hewison | EUMETSAT | Introduction to the session | 4a | 00:10
09:10 | Martin Burgdorf | Universität Hamburg | Venus as an Alternative to the Moon for Infrared Imagers | 4b | 00:25
09:25 | Kay Wohlfarth | TU Dortmund | An advanced thermal roughness model for airless planetary bodies - applications to the Moon and Mercury | 4c | 00:25
09:50 | Thomas Müller | Max-Planck-Institut für extraterrestrische Physik | Modelling the Microwave Radiation of the Moon | 4d | 00:25
10:15 | Hu (Tiger) Yang | University of Maryland | Lunar Microwave Radiative Transfer Model Validation with NOAA-20 and NOAA-21 Two-Dimension Moon Scan Observations | 4e | 00:25
10:40 | All | All | Discussion | 4f | 00:30
11:10 | Coffee break |  |  |  | 00:20
11:30 | Thomas Müller | Max-Planck-Institut für extraterrestrische Physik | The Moon at thermal infrared wavelengths: Comparison between NOAA/MetOp-A/MetOp-B, TIROS-N HIRS measurements and thermophysical model predictions | 4g | 00:25
11:55 | Bojan Sic | Noveltis | Potential of the Moon as a calibration target for IASI instruments | 4h | 00:25
12:20 | Martin Burgdorf | Universität Hamburg | Inter-Calibration of CrIS on SNPP and NOAA-20 Using Lunar Observations | 4i | 00:25
12:45 | Lunch break - EUMETSAT canteen, to be paid by participants |  |  |  | 01:00
13:45 | Diogo Rio Fernandes / Fatima Kahil | OroraTech | Towards a constellation of thermal infrared sensors for wildfire detection: inter-calibration of FOREST-2 with Sentinel-3 SLSTR using the Moon | 4j | 00:25
14:10 | Jack Xiong | NASA GSFC | MODIS and VIIRS Thermal Emissive Bands Lunar Calibration and Calibration Inter-comparisons | 4k | 00:25
14:35 | All | All | Discussion | 4l | 00:30

## Slide 4: Applications
Inter-calibration transfer target
  Req: stability between observations, same geometry/phase – or lunar model
    Observation Sequences in successive orbits may relax requirement
  Managing saturation
Inter-band calibration
  Req: Spectral model
Long-term calibration tracking
  Req: Compensation for Earth-Sun distance + Moon Phase + Libration?
  Req: Precise navigation
FOV/Antenna Pattern mapping
  May need manoeuvres
Viewing dark-side of Venus in syzygy may provide alternative target

## Slide 5: Modelling Moon in TIR/MW
Thermo-Physical Models (TPM) available for Moon
  (and other celestrial bodies)
  can predict radiance maps in thermal IR
  or use observed thermal emissions
  e.g. From Gaofen-4 or LRO/Diviner, coupled with emissivity model
    And be integrated to give disk-integrated values
  Could be extended to microwave
    By adding temperature profiles
    Or with addition of empirical emissivity phase angle model
  Can also provide disk-integrated radiances – TIR and MW
  Uncertainties on absolute radiance ~2-3% in MW 89-183GHz ~3-5%/ ~2.5K in TIR
    Relative uncertainties are much better
Outstanding issues:
  Emissivity model – including anisotropy
  Libration influence?
  Opposition effect – small in 3-4µm band, assumed small in MW - TBC
  Validation is key – especially challenging in 3-4µm band, in MW <89GHz and >183GHz

## Slide 6: Observation of Moon in TIR/MW
Spacecraft manoeuvres highly beneficial for lunar calibration
  Targeted observations – same phase angle/distances – direct inter-cal
  2-D mapping
  Easier for small satellites!
Saturation is a major issue in many TIR observations
  Strategies presented to overcome
Accurate Pointing/PSF/Antenna Pattern important
  Can be major application of lunar observations
Integrating irradiance
  Or exploit radiance models on selected pixels

## Slide 7: Review of Actions/Recommendations
Action: Fangfang Yu (NOAA) to invite Diogo Rio Fernandes (OroraTech) to GSICS annual meeting to present inter-calibration of SAFIRE thermal IR imagers
Recommendation: Jack Xiong (NASA) to report on outcome of the analysis of the ABI lunar data in thermal infrared
Action: Jack Xiong (NASA) to report back on result of comparison of comparison of TPMs with MODIS/VIIRS
Action: Tiger Hu (UMD) to share AMSU and ATMS Moon observations with Thomas Müller

## Slide 8: Ways forward
Encourage exchange of observations and models
  New datasets available
  IR: CrIS (Yong Chen), IASI (CNES+EUM), Akatsuki Venus Orbiter (JAXA)
  MW: ATMS (Tiger Hu)
  Observation processing techniques
First: Contribution to Best Practice guidelines
  Collaborative efforts
Later: Review papers
  Collaborative efforts
  Status of modelling
    In TIR and MW
    Validation with observations
Application of LSICS applicator
  need to include history of model radiances to account for hysteresis in microwave signal

## Slide 9
Thank you!
Questions / comments are welcome.