## Slide 1: Hot Summary of 2013 GSICS Users’ Workshop
Tim Hewison, Fangfang Yu, Bob Iacovazzi and Fred Wu

## Slide 2: Introduction to GSICS
NOAA leadership and supports of the GSICS
Introduction to GSICS
  Overview, principles, products and impacts
GSCIS GEO-LEO IR correction algorithm,
  bias monitoring, re-analysis, near real-time corrections, guidelines
  most recent development and plans
GSICS data management review
  Demonstration of GSICS Servers and Bias Plotting Tool
  Q: Can we plot time series of bias after correction?
  A: Should be zero. Residual uncertainties are plotted

## Slide 3: Update on GSICS Activities
GCC activities, including:
  Support to other agencies
  Communication with users
  Introduction to GSICS posters
CIMSS retro-processing of GEO-LEO IR inter-cal
  data before NESDIS routine processing
  Revealed changes in EUMETSAT radiance definition
  Plan to investigate impact on L2/3 products

## Slide 4: Future Satellite Inter-Calibration
GOES-R ABI Cal/Val
  Importance of independent analysis of pre-flight test data
  Plans to use GSICS algorithm to compare with other instruments during post-launch tests
NPP/VIIRS-MODIS inter-comparison
  Potential to use VIIRS as inter-cal reference in future
  Concern over rapid SRF changes since pre-launch testing
  Comparison using SNO and Desert sites
  Importance of reprocessing for consistent calibration
  Can provide NOAA updated instrument info to support monitoring
CrIS-IASI/AIRS comparisons
  Potential to use CrIS as inter-cal transfer reference
  SNO between IASI/CrIS + direct I/C VIIRS vs. CrIS; mean <0.1-0.2K difference; inconsistency SRF correction for B3;
  Q: concern with incontinuous CrIS spectral coverage; desire of future instrument design

## Slide 5: Users’ Feedback and Requests
Proba-V
  Mission of Proba-V
  to fill the data gap between SPOT-Vegetation and Sentinel-3
  No on-board calibration, so need vicarious + inter-cal
  Q: what GSICS can help with Proba-V? A: help with the new method, especially the lunar calibration. GSICS are developing ATBD for lunar inter-cal to ROLO
  Q: suggest also working with CEOS/IOVS progress for vicarious methods, which Proba-V is already a member
  Q: FOV spatial resolutions
Climate trends from SSU
  Correcting problem of modulation cell pressure loss
  Trend debate highlights need to include uncertainties in overlap periods – esp in handling cell pressure correction in time series
  and importance of documentation and ancillary data
  Use of L1C data to build more confidence of trending

## Slide 6: Users’ Feedback and Requests 2
MICROS as inter-calibration tool
  Powerful potential tool for satellite inter-calibration
  Problems of changes to CRTM used as transfer ref.
  Q: Can we consolidate results with direct differences from other GSICS Products – e.g. GEO-LEO IR?
  Q: NOAA16/AVHRR bias is temperature dependent
AATSR-IASI inter-calibration
  Addressing question of whether AVHRR can be made climate ready
  By inter-calibraiton against AATSR/IASI
  AATSR 11µm channel very close to IASI. 12µm channel has strong radiance-dependence (not SRF shift)
  Potential to retrieve SRF by inverting spectral convolution
  Identified stable and unstable months, depending on ENVISAT orbit
  AATSR can be used as stable reference until 2011 only
PATMOS-X Update
  Changing to MODIS Collection 6
  Change to L2b subsetted data for SNO
  Better agreement Aqua-Terra MODIS
  Online Monitoring available
  Progressing sun-glint method on webmeeting

## Slide 7: Users’ Feedback and Requests 3
Potential GEO products/users
  A simple output format such as ASCII
    May be possible to generate from bias plotting tool
  Option of Tb based correction
    Also possible from bias plotting tool
  Name convention
    Already implemented
  Detector-level coefficients?
    Only where these can be distinguished in L1b/C ata
  Include the average correction
    Possible from bias plotting toll
  Calibration anomaly should be reported by satellite providers, not the users
    Bias monitoring needs to be near real-time
    Executive panel to decide to expand the GSICS scope
  Success application of GSICS: SRF correction/shift improves the data quality
  Application of GSICS: bias monitoring for calibration change
  Expect to play important role for GOES-R on-orbit cal/val test
  GSICS correction improve the some Sounder products.

## Slide 8: Discussions
GDWG and all the other presentations will be online
Calibration anomaly warming system
  Collaborations using NWP for bias monitoring;
Requests for intermediate datasets
  Collocated hyperspectral radiance and convolved pseudo channels, and the SNO records
  Possible as rolling archive, although resources may not allow development of clean data format
Suggest formation of new GSICS Sub-groups
  UV (with input from NASA Langley TEMPO group)
  Synthetic Observation (NWP +RTM +RAOBSs + …)