## Slide 1: Inter-calibration of Himawari-8/AHI using CrIS as a reference
Masaya Takahashi
Japan Meteorological Agency

## Slide 2
Acknowledgement
  JMA is grateful to NOAA for our collaboration on AHI/ABI Cal/Val activities
Contents
Himawari-8/AHI Overview
AHI Specification
Observing Mode
Inter-calibration of Himawari-8/AHI IR bands
Method
Results
Summary and Future Plans

## Slide 3: Advanced Himawari Imager (AHI) on Himawari-8
Band | Central Wavelength [μm] | Spatial Resolution [km] | # of Detectors* | Levels of digital count [bit]
1 | 0.47 | 1 | 676 (3) | 11
2 | 0.51 | 1 | 676 (3) | 11
3 | 0.64 | 0.5 | 1460 (3) | 11
4 | 0.86 | 1 | 676 (6) | 11
5 | 1.6 | 2 | 372 (6) | 11
6 | 2.3 | 2 | 372 (6) | 11
# of redundant detector columns per side
Band | Central Wavelength [μm] | Spatial Resolution [km] | # of Detectors* | Levels of digital count [bit]
7 | 3.9 | 2 | 332 (6) | 14
8 | 6.2 | 2 | 332 (6) | 11
9 | 6.9 | 2 | 332 (6) | 11
10 | 7.3 | 2 | 332 (6) | 12
11 | 8.6 | 2 | 332 (6) | 12
12 | 9.6 | 2 | 332 (6) | 12
13 | 10.4 | 2 | 408 (6) | 12
14 | 11.2 | 2 | 408 (6) | 12
15 | 12.4 | 2 | 408 (6) | 12
16 | 13.3 | 2 | 408 (6) | 11

## Slide 4
Full Disk Observation
every 10 min.
Region 1
2000 x 1000km
(NE Japan)
Every 2.5 min.
Region 2
2000 x 1000km
(SW Japan)
Every 2.5 min.
Region 3
1000 x 1000 km
(Target Area)
Every 2.5 min.
Region 4
1000 x 500 km
(Landmark Area)
Every 30 sec.
Region 5
1000 x 500 km
(Landmark Area)
Every 30 sec.
Preliminary fixed area
Flexible observation area
Full Disk / Regional Observation in 10 minutes Repeat Cycle
Lunar observation: performed using Landmark Area (Region 5)

## Slide 5
Band [µm] | Solar Diffuser | Black Body | GSICS (IR) | GSICS (DCC) | GSICS (Moon) | RT simulation | Ray matching | GEO-GEO
Band1 [0.47] | Y |  |  | (Y) | (Y) | Y | Y | Y
Band2 [0.51] | Y |  |  | (Y) | (Y) | Y | Y | Y
Band3 [0.64] | Y |  |  | (Y) | (Y) | Y | Y | Y
Band4 [0.86] | Y |  |  | (Y) | (Y) | Y | Y | Y
Band5 [1.6] | Y |  |  | (Y) | (Y) | Y | Y | Y
Band6 [2.3] | Y |  |  | (Y) | (Y) | Y | Y | Y
Band7 [3.9] |  | Y | Y |  |  |  |  | Y
Band8 [6.2] |  | Y | Y |  |  |  |  | Y
Band9 [6.9] |  | Y | Y |  |  |  |  | Y
Band10 [7.3] |  | Y | Y |  |  |  |  | Y
Band11 [8.6] |  | Y | Y |  |  |  |  | Y
Band12 [9.6] |  | Y | Y |  |  |  |  | Y
Band13 [10.4] |  | Y | Y |  |  |  |  | Y
Band14 [11.2] |  | Y | Y |  |  |  |  | Y
Band15 [12.4] |  | Y | Y |  |  |  |  | Y
Band16 [13.3] |  | Y | Y |  |  |  |  | Y
(Y) : under implementation
Himawari-8/AHI Radiometric Calibration Methods
Inter-calibration of VIS/NIR bands using VIIRS
-> Poster presentation

## Slide 6
Diurnal variation in commissioning phase data at the earliest stage
GSICS approach revealed diurnal variation of IR calibration performance due to a bug of ground processing software
GSICS Approach Helped AHI Commissioning Phase Activity
[UTC]
TB bias [K]
3.9μm
6.2μm
6.9μm
7.3μm
8.6μm
9.6μm
10.4μm
11.2μm
12.4μm
13.3μm
3.9μm
6.2μm
6.9μm
7.3μm
8.6μm
9.6μm
10.4μm
11.2μm
12.4μm
13.3μm

## Slide 7: Inter-calibration using LEO Hyper-spectral Sounders as References
Reference instruments
Metop-[A,B]/IASI, Aqua/AIRS, S-NPP/CrIS
GEO/LEO collocation based on SNO approach
Temporal/Spatial/Geometric thresholds
Averaging GEO pixels to be equivalent to LEO FoV size (~12km)
Generation of GEO imager “super-channel”
Convolution of LEO spectra with GEO spectral response
Spectral gap (e.g. AHI 3.9 μm and CrIS):
compensated using “gap-filling” optimization method
Regression of GEO and LEO in radiance
Derivation of radiance correction (i.e. GSICS Correction)
Converted to TB for easy understanding
AHI-CrIS Collocation conditions | 
Time difference | 5 minutes
Viewing angle diff. | ¦cos(VZACrIS)/cos(VZAAHI) - 1¦ < 1 or 3%
Environment uniformity | Stdv. of AHI (18x18 pixels) < thresholds (band/scene dependent)
http://gsicswiki.net/

## Slide 8
Spectral “Gap-filling” of CrIS to Generate AHI Super-channel
CrIS covers about 40% of AHI Band 7 (3.9μm)
Most spectral range of AHI Band 11 (9.6 μm): not covered by CrIS
#7
#11
#10
#9 #8
#16 #15 #14 #13 #12
CrIS
AIRS
IASI

## Slide 9
Formulation
  a
  For each GEO channel and each hyper sounder observing point
  Log radiance estimated to prevent radiance from being negative
Simulated radiances for 8 model profiles
  Tropic, US standard, Mid-latitude winter and summer profiles
  Thick cloud at 500 hPa and 200 hPa for Tropics and US std.
Coefficients (c0, ck) computation
  Solving least square problem by applying valid hyper sounder observations and corresponding simulated radiances
No NWP fields, no RT computation in operation
Himawari-8/AHI Band 7 (3.9μm)
S-NPP/CrIS (Valid, Missing channels)
Spectral “Gap-filling” method
(Tahara and Kato, 2009)
Estimated radiance of missing channel i
Simulated radiance of channel i for model profile k
Computation of GEO super-channel
Is: GEO super channel
wi: weight for LEO channel i

## Slide 10: TB Biases Converted from Radiance Regression
TB biases w.r.t. S-NPP/CrIS
(Data from 1-29 June 2016 are used)
B07 (3.9μm)
B08 (6.2μm)
B09 (6.9μm)
B10 (7.3μm)
B11 (8.6μm)
B12 (9.6μm)
B13 (10.4μm)
B14 (11.2μm)
B15 (12.4μm)
B16 (13.3μm)
TB Bias [K]
TB [K]

## Slide 11
Band 7 (3.9μm)
Band 8 (6.2 μm)
Band 9 (6.9 μm)
Band 10 (7.3 μm)
Band 11 (8.6 μm)
Band 12 (9.6 μm)
Band 13 (10.4 μm)
Band 14 (11.2 μm)
Band 15 (12.4 μm)
Band 16 (13.3 μm)
TB Bias [K]
-1.5 0.5 0.5 1.5
TB Bias [K]
-1.5 0.5 0.5 1.5
TB Bias [K]
-1.5 0.5 0.5 1.5
TB Bias [K]
-1.5 0.5 0.5 1.5
TB Bias [K]
-1.5 0.5 0.5 1.5
TB Bias [K]
-1.5 0.5 0.5 1.5
TB Bias [K]
-1.0 0.5 0.5 1.0
TB Bias [K]
-1.0 0.5 0.5 1.0
TB Bias [K]
-1.0 0.5 0.5 1.0
TB Bias [K]
-1.0 0.5 0.5 1.0
Standard scene: typical scene defined as 1976 US Standard Atmosphere at nadir, at night, in clear sky, over the sea with SST=288.15K and a wind speed= 7m/s
Due to CrIS spectral coverage
~40 % of CrIS spectral coverage
Time series of AHI TB biases w.r.t S-NPP/CrIS at standard scene

## Slide 12
Impacts of “Gap-filling” method on inter-calibration results (AHI 3.9μm)
CrIS (valid, missing ch)
AIRS (valid, no-good, missing ch)
IASI-A (valid ch)
Gap-filling method efficiently reduces the inter-calibration uncertainty

## Slide 13
Impacts of “Gap-filling” method on inter-calibration results (AHI 8.6μm)
CrIS (valid, missing ch)
AIRS (valid, no-good, missing ch)
IASI-A (valid ch)
Gap-filling does not work in case of too big gap

## Slide 14
Time series of Tb biases between hyper sounders and Himawari-8/AHI Band 12 (9.6μm)
w.r.t. S-NPP/CrIS w.r.t. Aqua/AIRS w.r.t. Metop-A/IASI
at 290K at 290K at 290K
Similar results in all hyper sounders
AHI Tb biases: stable w.r.t. CrIS at cold scenes compared with others
at 250K at 250K at 250K
at 220K at 220K at 220K
TB Bias Stability at different scenes

## Slide 15
  Reference sensors:
Metop-A/IASI
Metop-B/IASI
Aqua/AIRS
S-NPP/CrIS
MTSAT-2:
Diurnal variation of Tb biases during midnight
Himawari-8
No significant diurnal variation
Time Dependence of Tb Biases
Multiple references:
very important to validate diurnal calibration biases
3.9μm
6.2μm
6.9μm
7.3μm
8.6μm
9.6μm
10.4μm
11.2μm
12.4μm
13.3μm
3.7μm
6.8μm
11.0μm
12.0μm
Statistics in February 2016

## Slide 16: Summary and Future Plan
Method
Metop-[A,B]/IASI, Aqua/AIRS and S-NPP/CrIS as references
Based on SNO approach
Spectral “gap-filling” method is applied if the reference sensor does not cover spectral range of GEO channel
Results
All IR bands are very stable, Tb biases < 0.2K at standard scene
No significant diurnal calibration biases
Multiple references: important/useful to validate them
Future Plans
Inter-calibration results will be included in L1B equivalent data (i.e. Himawari Standard Data) once the product gets GSICS stamp
Generation of “Prime GSICS Correction” (blending multiple references results)
Inter-calibration of Himawari-8/AHI IR bands

## Slide 17
Thanks for Your Attention

## Slide 18
qn: pre-launch test value
mn: updated using blackbody observation for each full-disk observation
bn: updated using deep space observation for each swath
IR on-board Calibration
Robs: Observed radiance
C: Raw digital count
qn, mn, bn: Coefficients
n: Detector ID
q, f : Incidence angle to SM
F(q, f), G(q, f), H(q, f): Parameters on scan mirror emissivity
RMns, RMew: NS/EW scan mirror radiance