## Slide 1: OMI-TROPOMI Overview
Mission Status and outlook to future activities
Presented on behalf of TROPOMI and OMI Science teams
Deborah C Stein Zweers, KNMI
deborah.steinzweers@knmi.nl

## Slide 2: Summary & Take Home messages
OMI and TROPOMI missions are operating well
  Both OMI and TROPOMI are beyond mission lifetimes
    OMI remains stable and functioning despite advanced mission “age”
    TROPOMI is stable and providing high quality science data for Level 1 and more than 12 Level 2 operational data products, plus additional research products
      Erwin Loots will give more details about the instrument & calibration, next presentation
  Level 1 processing for OMI & TROPOMI harmonized to facilitate combined datasets
    OMI: Nov 2004 to present – More than 20 years of data!
    TROPOMI: May 2018 to present – Nearly 7 years, overlap with OMI
    Time resolution OMI combined with improved spatial resolution TROPOMI allows for much deeper understanding seasonal and interannual effects for emissions etc.

## Slide 3: KNMI partners with ESA & EU missions across domains

## Slide 4
KNMI – Royal Netherlands Meteorological Institute: R&D Satellite Observations Department

## Slide 5
Operational Scientific Data: Striking a balance between producing the highest quality data but releasing to the users as quickly as possible  Iterative Improvements
Visible and Open Data: Ensuring broad use of our data, with more users and increasingly diverse users, we always learn more & can improve our data
  We actively approach user communities by offering TROPOMI training, workshops
  One of the few benefits of COVID-crises was increased & broad usage of data
  Interactions with data warehouses and non-scientific users (ex. NGOs and startups)
Standardized Comparison: Use of scientific community standards for the development of our quality monitoring (QA/QC) tools and visualizations
Open source tooling: several keys tools have been developed for monitoring quality, regridding the L2  L3 for site-based routine validation and mapping
  These tools and the visualization and reporting (L1, L2 & VAL) produced by them are all publicly available and accessible online
Operating principles
Notes: Mention the reporting

## Slide 6: OMI Mission Status Summary
Collection 4: mission reprocessing activity underway to ensure consistent datasets with improved irradiance, radiance inputs
  Data products are available via https://disc.gsfc.nasa.gov/
  All data to be released in by Q1 2026
OMI is still stable however as the instrument drifts in orbit solar power will be insufficient at some point in near-future
After a series of extensions, mission lifetime ending 2026?

## Slide 7: OMI Mission – Overlap with TROPOMI
Opportunity to study TROPOMI time-dependent features in more detail: example aerosol index

## Slide 8
Monitoring atmospheric composition, for:
  Air quality
  Climate change
  Ozone layer
TROPOMI details:
  Single instrument satellite onboard
  Sentinel 5-Precursor platform (S5P)
  Launched 13 October 2017
    Polar-orbiting satellite
  Overpass time ~13:30 LT
  Data are free and open
  https://www.tropomi.eu &
  https://dataspace.copernicus.eu/
  https://maps.s5p-pal.com/
Focus on TROPOMI:
TROPOspheric Monitoring Instrument

## Slide 9
The role of TROPOMI is ever-increasing to serve as an anchor point for comparison with:
  Geostationary missions
  Sentinel-5 morning
  Ground-based sites
  Field campaigns & mobile measurements
  New! With higher spatial resolution small satellite footprints
TROPOMI as a base map
Notes: One of the few remaining afternoon orbit instruments -

## Slide 10
In-flight
Calibration
Algorithm Evolution
L1B and L2
Quality Control
L1B and L2
Routine
Geophysical
Validation
Processor Maintenance Tooling & Data Access
Communication
TROPOMI: Mission Performance Center Core Elements
Notes: Communication – backup response for complex queries of TROPOMI questions

## Slide 11
Atmospheric Mission Performance Center, a broad umbrella to facilitate expansion beyond TROPOMI borders including new Copernicus small sat missions
KNMI is the prime contractor for ATM-MPC Consortium working with ESA
Level 1 & Calibration activities: KNMI and SRON, DLR L1 validation
Level 2 Algorithm Evolution & Maintenance: DLR, KNMI, BIRA, SRON
Routine Validation and Tooling: BIRA, NILU, AUTH MPIC, IUP-Bremen, S&T
Outside the ATM-MPC we rely on interaction with the Ground Segment: DLR, ESA
TROPOMI Mission Performance
Notes: Consortium that has been working together since 2016; similar ESL structure for L1, L2, and VAL purposes
It is good to mention in the last bullet that we interact directly with CAMS, but that this is outside the scope of this presentation; to make it clear what we do focus

## Slide 12
Pre-launch on-ground calibration.
Commissioning Phase testing.
Operational Monitoring tasks.
  Instrument and Engineering
Characterization of instrument over time.
Delivery of Calibration Key Data to correct for time-dependent features.
  Analyses of the irradiance and radiance degradation.
Support of the Level 2 teams.
https://mps.tropomi.eu/dashboard
In-flight calibration and Level 0-1b

## Slide 13: Use of L01b for in-flight calibration
L01b processor
Data reduction
Quick look generation
ICAL processor
Multi-orbit (calibration) analysis
IDAF
Complex calibration algorithms
Off-line analysis
In-orbit calibration
Trending / monitoring data generation
Dynamic Calibration Key Data generation
Additional trending / monitoring data generation
Trending / monitoring / calibration database for entire mission
Website / Visualisation
Auxiliary Calibration Key Data updates
Calibration key data updates

## Slide 14: In-flight calibration reporting
Daily, weekly & monthly reporting: instrument performance, measurement quality, and trending

## Slide 15: TROPOMI Data Timeliness
Near-real-time (NRTI) stream, in data granules (part of an orbit)
  NRTI is available within 3 hours after data acquisition and intended for quick access & rapid use operational processing. However,
  NRTI data may sometimes be incomplete and has a slightly lower data quality as compared to the other data streams.
Non-Time Critical or Offline (OFFL) stream, in orbits
  Most data users should use the offline data, available within a few days after acquisition, which has the highest data quality and coverage.
Reprocessing stream (RPRO), in orbits
  For time series / trend analysis, the latest version of the reprocessed data should be used to avoid shifts due to data version updates.
  RPRO starts 30 April 2018 and can be combined with OFFL data starting July 2022 to the present date for a fully consistent data record
    Except SO2, but that is being reprocessed right now (March 2025)
OFFL + RPRO

## Slide 16
Completed full mission: All L2 data are produced based on a mission consistent L1 data set with correction for instrument features and time-dependent changes; Facilitates detailed time series analyses; Compatible with forward stream non-time critical data stream OFFL
  Roughly 950K data files were produced for a total volume of 1.6 PB of data
TROPOMI Reprocessing:
CO – N. Hemis & S. Hemis
CH4

## Slide 17: Measuring AQ & SLCPs Directly with TROPOMI
Tropospheric Monitoring Instrument (TROPOMI) is an air quality mission that is also relevant for understanding our changing climate
  Daily afternoon measurements (~13:30 LT)
What is being measured directly:
  Tropospheric Ozone Column & profile
  UV Surface Radiation / Dose
  Aerosol Index, Ocean Color & properties*
  NO2, SO2, HCHO, CHOCHO*
  Clouds & Aerosol Layer Height
  (SIF) Fluorescence*
  CO, CH4
Index
SIF Fluores
*Research data products
Notes: In many parts of the world ground monitoring stations are sparse, satellite data can help to fill in the gaps

## Slide 18
Steady work of algorithm and processer improvements
Iteratively tied quality monitoring
11 Operational Data algorithms + 4 support data products
Created with 3 different processors
Progress of development is tracked & planned with roadmap approach
Diagnostic data sets are prepared and analyzed before new algorithms are put into production
Rigorous testing internally & with PDGS
Close interaction with validation team data product coordinators
Level 1-2 Algorithm & Processors

## Slide 19
We monitor data quality of our products based on operationally produced daily extracts of detailed quality information
PyCAMA: detailed analysis software, publicly available used internally, externally and by operations ground segment
We report L2-QC both weekly & monthly; detailed automated daily reports are also available
https://mpc-l2.tropomi.eu/
https://mpc-l2.tropomi.eu/timeseries.html
Level 2 Quality Control Monitoring

## Slide 20
The routine validation performed by the Validation Teams using the ATM-MPC VDAF system set a new standard for future missions.
Standardized, rigorous validation techniques applied to an automated validation server
Ingests high-quality, ground-based and sonde data for most data products, around the globe with varying timeliness
Provides user-interactive visualization and analysis functionality
https://mpc-vdaf.tropomi.eu/
ATM-MPC Routine Validation

## Slide 21
Comprehensive explanation of methods and data used
https://mpc-vdaf.tropomi.eu/index.php/methane
ATM-MPC Routine Validation

## Slide 22: Motivation: How can TROPOMI be best used now?
Well suited to combine with many missions: past, current & future
Copernicus Data Ecosystem Space as common access point
TROPOMI satellite data can be starting point for identifying:
  Which air pollutants are most prominent for my region/city?
  What is the seasonal cycling of these species?
  What is my city footprint? Urban vs. Background, trends, etc.
  Is long-range transport occurring? Dust and smoke plumes
  What if I look at relationships between gases and aerosols to identify types of sources?

## Slide 23: Thanks for your attention!

## Slide 24: EXTRA SLIDES

## Slide 25: Monitoring Emissions
Majuba power plant
It is fast: one model run per assimilation step of 1 day
No a priori information needed: unknown sources will become visible.
Full error estimation of new emission inventory
Used for daily NOx, NH3, CH4 emissions
This type of emissions calculation can be linked to CO2 emissions for known point sources (ex. Power plants)
DECSO Daily Estimates Constrained by Satellite Observations
By Ronald van der A, Bas Mijling, Jieying Ding - KNMI
Tropospheric NO2 22 Sep 2021

## Slide 26: Making Links: AQ-relevant Short-Lived Climate Pollutants (SLCP)
Some species have a large AQ and Climate Impact
Tropospheric Ozone
Black Carbon Aerosol (soot & smoke)
Methane (CH4)
From: Climate & Clean Air Coalition

## Slide 27: Global monitoring of TROPOMI detectable Methane sources

## Slide 28
Comprehensive explanation of methods and data used
https://mpc-vdaf.tropomi.eu/index.php/methane
ATM-MPC Routine Validation

## Slide 29
Interactive User Visualization capability with report generation options
https://mpc-vdaf-server.tropomi.eu/ch4
ATM-MPC Routine Validation

## Slide 30: The many layers of TROPOMI

## Slide 31: Air Quality is just the beginning…
What can TROPOMI + other satellites do?
Compelling visuals: Describe AQ changes over time and in space, from global to city-level for a variety of trace gas species relevant for understanding health impacts
  Demonstrate policy-driven AQ improvements, ex. Before/after scrubber installation, effects of car-free days;
  Pinpoint structural & incidental Hotspots, ex. CH4 gas leaks
Can be used to calculate satellite-based emissions with additional model and source information
  Emissions help to better enter the realm of policy & AQ standards
Complement & Contextualize ground-based measurements including low-cost sensor networks
Climate Change pieces of the puzzle: Methane (CH4), and NO2 data can be use as a proxy for CO2
Further insights about carbon cycling and link to the biosphere with measurements of Solar-Induced Fluorescence (SIF) indicative of vegetative productivity

## Slide 32: S5P-PAL system – TROPOMI mapping & data
maps.s5p-pal.com

## Slide 33: Download some files from the Copernicus Browser: https://browser.dataspace.copernicus.eu
Use the "search" tab to find data files by selecting the variable (here: aerosol index, AER_AI)
And set the time range
Click on "Search"

## Slide 34: Links to Documentation? www.tropomi.eu

## Slide 35: Sentinel 5P/TROPOMI Technical Library https://sentiwiki.copernicus.eu/web/s5p-products#S5PProducts-L2S5P-Products-L2
Documents needed to understand the data
README / PRF
File structure
Data Quality filtering
Known Features
Version History
ATBD: Technical Algorithm Explanation
PUM: Detailed file structure user manual

## Slide 36: Sentinel 5P/TROPOMI Technical Library https://sentiwiki.copernicus.eu/web/s5p-products#S5PProducts-L2S5P-Products-L2
Recommendations for how to use the data

## Slide 37
Data Quality Value
qa_value:
> 0.75 : cloud-free, good quality
> 0.50 : also cloudy, good quality

## Slide 38: S5P-PAL system – TROPOMI mapping & data